NATIONAL ANNEX

TO

CYS EN 1994-1-1: 2004 (Including Corrigendum AC:2009) Eurocode 4: Design of Composite steel and concrete structures

Part 1-1: General rules and rules for Buildings

Prepared by: CYS TC 18 Eurocodes Committee

Cyprus Organisation of Standardisation

INTRODUCTION

This National Annex has been prepared by the CYS TC 18 Standardisation Technical Committee of the Cyprus Organisation of Standardisation.

# SCOPE

This National Annex is to be used together with CYS EN 1994-1-1:2004 (including Corrigendum AC:2009). Any reference in the rest of text to CYS EN 1994-1:2004 means the above document.

This National Annex gives:

Nationally determined parameters for the following clauses of CYS EN 1994-1-1: 2004 where National choice is allowed (see Section NA 2):

2.4.1.1  (1)

2.4.1.2  (5) P

2.4.1.2  (6) P

2.4.1.2  (7) P

3.1  (4)

3.5  (2)

6.4.3. (1)(h)

6.6.3.1  (1)

6.6.3.1  (3)

6.6.4.1  (3)

6.8.2  (1)

6.8.2  (2)

9.1.1  (2) P

9.6  (2)

9.7.3  (4) P

9.7.3  (8) P

9.7.3  (9)

B.2.5  (1)

B.3.6  (5)

Decisions on the use of the Informative Annex A, B and C (see section NA3).

References to non-contradictory complementary information to assist the user to apply CYS EN 1994-1-1: 2004 (see Section NA 4).

# NATIONALLY DETERMINED PARAMETERS

## Clause 2.4.1.1 Design values of action:

The  value defined for symbol γp (partial safety factor for pre-stress by controlled imposed deformation) for both favourable and unfavourable effect, γp  is set to 1.0.

## Clause 2.4.1.2 (5) P: Design values of materials or product properties

The value defined for symbol γv (partial factor for shear connection), γv  is set to 1.25.

## Clause 2.4.1.2 (6) P: Design values of materials or product properties

The value defined for symbol γvs (partial factor for longitudinal shear in composite slabs), γvs is set to 1.25.

## Clause 2.4.1.2 (7) : Design values of materials or product properties

The value defined for symbol γmf,s (partial factors for fatique verification of headed studs in buildings) γmf,s is set to 1.0. For γmf the value set is that given in EN 1993 and it’s National Annex.

## Clause 3.1(4) Concrete

The values defined for shrinkage of concrete for composite structures for buildings, are those given in Annex C.

- in dry environments (whether outside or within buildings but excluding concrete- filled members):

325 x 10-6 for normal concrete

500 x 10-6 for lightweight concrete;

- in other environments and in filled members:

200 x 10-6 for normal concrete

300 x 10-6 for lightweight concrete.

## Clause 3.5(2) Profiled steel sheeting for composite slabs in buildings

The minimum value defined for the nominal thickness of steel sheets to be used is 0.70 mm.

## Clause 6.4.3.1 (h) Simplified verification for buildings without direct calculations

| Table 6.1. (CYS) defines the maximum depth of uncased steel members.Steel Member | Nominal Steel Grade |
| --- | --- |
|  | S 235 | S 275 | S 355 | S 420 and S 460 |
| IPE | 600 | 550 | 400 | 270 |
| HE | 800 | 700 | 650 | 500 |

## Clause 6.6.3.1 (1) Headed stud connectors in solid slab and concrete encasement – Design Resistance

The value defined for symbol γv (partial factor), γv  is set to 1.25.

## Clause 6.6.3.1 (3) Headed stud connectors in solid slab and concrete encasement – Design Resistance

No further information for buildings is provided.

## Clause 6.6.4.1 (3) Sheeting with ribs parallel to the supporting beams

The means to achieve appropriate anchorage is defined in 6.6.5.4. EN1994.

## Clause 6.8.2 (1) Partial factor for fatique assessment for buildings

The value defined for symbol γmf (partial factor for fatique strength), γmf  is set to 1.0, shall be used.

## Clause 6.8.2 (2) Partial factor for fatique assessment for buildings

No further information for partial factor γf for different kinds of fatique loading is provided.

## Clause 9.1.1 (2) Composite slabs with profiled steel sheeting for buildings – General

The value defined for the upper limit on the ratio br / bs (sheets with narrowly spaced webs, see figure 9.2), is set to 0.6.

Figure 9.2 (CYS): Sheet and slab dimensions

## Clause 9.6 (2) Verification of profiled steel sheeting as shuttering for serviceability limit

The defined value for symbol δs,max (the deflection δs, of the sheeting under its own weight plus the weight of wet concrete)is set not to exceed L/180.

## Clause 9.7.3 (4) longitudinal shear for slabs without anchorage

The value defined for symbol γvs  (partial safety factor for the ultimate limit state), for the m-k method γvs is set to 1.25.

## Clause 9.7.3 (8) Longitudinal shear for slabs without anchorage

The defined value for symbol γvs for the partial connection method, (partial safety factor for the ultimate limit state), γvs  is set to 1.25.

## NA 2.20 Clause 9.7.3 (9) Longitudinal shear for slabs without anchorage

The defined value for symbol μ (nominal factor), is set to 0.5..

## Clause B.2.5 (1) Test evaluation

The defined value for symbol γv (partial safety factor for shear connection), γv is set to1.25.

## Clause B 3.6 (5) Determination of the design values for τu,Rd

The defined value for symbol γvs (partial safety coefficient), γvs is set to1.25.

# Guidance on using Informative Annexes A, B and C

## Annex A

Annex A may be used for stiffness of joint components in buildings.

## Annex B

Annex B may be used for standard test (test on shear connectors and testing of composite floor slabs).

Note: These standard testing procedures are included in the absence of Guidelines for ETA. When such Guidelines have been developed this Annex may be withdrawn.

## Annex C

Annex C may be used for shrinkage of concrete for composite structures for buildings.

## NA 4 References to Non-Contradictory Complementary Information

None.