NATIONAL ANNEX

TO

CYS EN 1999-1-2:2007/AC:2009 Eurocode 9: Design of aluminium structures

Part1-2: Structural fire design

PUBLIC ENQUIRY STAGE

04/06/2019-04/08/2019

Prepared by: CYS/TC18

Cyprus Organisation of Standardisation

INTRODUCTION

This National Annex has been prepared by the CYS/TC18 Committee of the Cyprus Organisation of Standardisation.

# SCOPE

This National Annex is to be used together with CYS EN 1999-1-2:2007

This National Annex gives:

Nationally determined parameters for the following clauses of CYS EN 1999-1-2:2007 where National choice is allowed (see Section NA 2)

2.3 (1)

2.3 (2)

2.4.2 (3)

4.2.2.1 (1)

4.2.2.3 (5)

4.2.2.4 (5)

Decisions on the use of the Informative Annexes A and B (see Section NA 3)

References to non-contradictory complementary information to assist the user to apply CYS EN 1999-1-2:2007.  In this National Annex such information is provided for the following clauses in CYS EN 1999-1-2:2007 (see Section NA 4).

# NATIONALLY DETERMINED PARAMETERS

## Clause 2.3 (1) Design values of material properties

For mechanical properties of aluminium, the partial safety factor for the fire situation is defined to be M,fi = 1,0.

## Clause 2.3 (2) Design values of material properties (thermal material properties)

For thermal properties of aluminium, the partial safety factor for the fire situation is defined to be M,fi = 1,0.

## Clause 2.4.2 (3) Member analysis

For the values of G, Q,1, (fi and ξ see CYS EN 1990.

## Clause 4.2.2.1 (1) Classification of cross-sections

No further provisions are given.

## Clause 4.2.2.3 (5)  Beams

No further provisions are given.

## Clause 4.2.2.4 (5) Columns

No further provisions are given.

# DECISION ON USE OF THE INFORMATIVE ANNEXES A AND B

## Annex A

Annex A may be used

## Annex B

Annex B may be used

# REFERENCES TO NON-CONTRADICTORY COMPLEMENTARY INFORMATION

None