CEN/TC 250

Date:  2020-03

prEN 1993-1-1:2020

CEN/TC 250

Secretariat:   BSI

Eurocode 3 — Design of steel structures — Part 1-1: General rules and rules for buildings

Eurocode 3 — Bemessung und Konstruktion von Stahlbauten — Teil 1-1: Allgemeine Bemessungsregeln und Regeln für den Hochbau

Eurocode 3 — Calcul des structures en acier — Partie 1-1 : Règles générales et règles pour les bâtiments

ICS:

Descriptors:

Contents

Page

European foreword	4

Introduction	5

1	Scope	8

1.1	Scope of EN 1993-1-1	8

1.2	Assumptions	8

2	Normative references	8

3	Terms, definitions and symbols	9

3.1	Terms and definitions	9

3.2	Symbols and abbreviations	10

3.2.1	Latin upper-case symbols	10

3.2.2	Latin lower-case symbols	15

3.2.3	Greek upper-case symbols	18

3.2.4	Greek lower-case symbols	18

3.3	Conventions for member axes	21

4	Basis of design	22

4.1	General rules	22

4.1.1	Basic requirements	22

4.1.2	Structural reliability	22

4.1.3	Robustness	22

4.1.4	Design service life for buildings	22

4.1.5	Durability	22

4.2	Principles of limit state design	23

4.3	Basic variables	23

4.3.1	Actions and environmental influences	23

4.3.2	Material and product properties and geometrical data	23

4.4	Verification by the partial factor method	23

4.4.1	Design values of actions	23

4.4.2	Design values of material properties	23

4.4.3	Design values of geometrical data	24

4.4.4	Tolerances	24

4.4.5	Design resistances	25

4.5	Design assisted by testing	25

5	Materials	25

5.1	General	25

5.2	Structural steel	26

5.2.1	Material properties	26

5.2.2	Ductility requirements	27

5.2.3	Fracture toughness	28

5.2.4	Through-thickness properties	28

5.2.5	Values of other material properties	29

5.3	Connecting devices	29

5.3.1	Fasteners	29

5.3.2	Welding consumables	29

5.4	Other prefabricated products in buildings	29

6	Durability	29

7	Structural analysis	30

7.1	Structural modelling for analysis	30

7.1.1	Basic assumptions	30

7.1.2	Joint modelling	30

7.2	Global analysis	30

7.2.1	Consideration of second order effects	30

7.2.2	Methods of analysis for ultimate limit state design checks	33

7.3	Imperfections	36

7.3.1	Basis	36

7.3.2	Sway imperfections for global analysis of frames	36

7.3.3	Equivalent bow imperfection for global and member analysis	38

7.3.4	Combination of sway and equivalent bow imperfections for global analysis of frames	39

7.3.5	Imperfections for analysis of bracing systems	40

7.3.6	Imperfection based on elastic critical buckling modes	42

7.4	Methods of analysis considering material non-linearities	43

7.4.1	General	43

7.4.2	Elastic global analysis	44

7.4.3	Plastic global analysis	44

7.5	Classification of cross-sections	45

7.5.1	Basis	45

7.5.2	Classification	45

7.6	Cross-section requirements for plastic global analysis	46

8	Ultimate limit states	50

8.1	Partial factors	50

8.2	Resistance of cross-sections	51

8.2.1	General	51

8.2.2	Section properties	52

8.2.3	Tension	55

8.2.4	Compression	56

8.2.5	Bending	57

8.2.6	Shear	57

8.2.7	Torsion	60

8.2.8	Combined bending and shear	62

8.2.9	Combined bending and axial force	63

8.2.10	Combined bending, shear and axial force	67

8.2.11	Resistance to transverse forces	67

8.3	Buckling resistance of members	70

8.3.1	Uniform members in compression	70

8.3.2	Uniform members in bending	75

8.3.3	Uniform members in bending and axial compression	82

8.3.4	General method for lateral and lateral torsional buckling of structural components	87

8.3.5	Lateral torsional buckling of members with plastic hinges in buildings	88

8.4	Uniform built-up compression members	90

8.4.1	Assumptions and constructional details	90

8.4.2	Design forces for components	92

8.4.3	Resistance of components of laced compression members	93

8.4.4	Resistance of components of battened compression members	93

8.4.5	Closely spaced built-up members	94

9	Serviceability limit states	95

9.1	General	95

9.2	Deformations and dynamic effects for buildings	96

10	Fatigue	96

Annex A (normative)  Selection of Execution Class	98

A.1	Use of this Annex	98

A.2	Scope and field of application	98

A.3	Execution Class	98

A.4	Selection process	98

A.5	Execution class and partial factors	99

Annex B  (normative)  Design of semi-compact sections	100

B.1	Scope and field of application	100

B.2	Elasto-plastic section modulus	100

B.3	Resistance of cross-sections	101

B.4	Buckling resistance of members	102

Annex C  (normative)  Additional rules for uniform members with mono-symmetric cross-sections and for members in bending, axial compression and torsion	103

C.1	Additional rules for uniform members with mono-symmetric cross-section	103

C.2	Additional rules for uniform members in bending, axial compression and torsion	104

Annex D  (normative)  Continuous restraint of beams in buildings	107

D.1	Scope and field of application	107

D.2	Continuous lateral restraints	107

D.3	Continuous torsional restraints	108

Annex E (informative)  Basis for the calibration of partial factors	110

E.1	Use of this informative annex	110

E.2	Scope and field of application	110

E.3	Calibration	110

Bibliography	113

European foreword

This document (prEN 1993-1-1:2020) has been prepared by Technical Committee CEN/TC 250 “Structural Codes”, the secretariat of which is held by BSI. CEN/TC 250 is responsible for all Structural Eurocodes and has been assigned responsibility for structural and geotechnical design matters by CEN.

This document is currently submitted to the CEN Enquiry.

This document will supersede EN 1993-1-1:2005 and its amendments and corrigenda.

The first generation of EN Eurocodes was published between 2002 and 2007. This document forms part of the second generation of the Eurocodes, which have been prepared under Mandate M/515 issued to CEN by the European Commission and the European Free Trade Association.

The Eurocodes have been drafted to be used in conjunction with relevant execution, material, product and test standards, and to identify requirements for execution, materials, products and testing that are relied upon by the Eurocodes.

The Eurocodes recognize the responsibility of each Member State and have safeguarded their right to determine values related to regulatory safety matters at national level through the use of National Annexes.

Introduction

0.1 Introduction to the Eurocodes

The Structural Eurocodes comprise the following standards generally consisting of a number of Parts:

—	EN 1990 Eurocode: Basis of structural and geotechnical design

—	EN 1991 Eurocode 1: Actions on structures

—	EN 1992 Eurocode 2: Design of concrete structures

—	EN 1993 Eurocode 3: Design of steel structures

—	EN 1994 Eurocode 4: Design of composite steel and concrete structures

—	EN 1995 Eurocode 5: Design of timber structures

—	EN 1996 Eurocode 6: Design of masonry structures

—	EN 1997 Eurocode 7: Geotechnical design

—	EN 1998 Eurocode 8: Design of structures for earthquake resistance

—	EN 1999 Eurocode 9: Design of aluminium structures

—	New parts are under development, e.g. Eurocode for design of structural glass

0.2 Introduction to EN 1993 (all parts)

EN 1993 (all parts) applies to the design of buildings and civil engineering works in steel. It complies with the principles and requirements for the safety and serviceability of structures, the basis of their design and verification that are given in EN 1990 – Basis of structural design.

EN 1993 (all parts) is concerned only with requirements for resistance, serviceability, durability and fire resistance of steel structures. Other requirements, e.g. concerning thermal or sound insulation, are not covered.

EN 1993 is subdivided in various parts:

EN 1993-1, Design of Steel Structures — Part 1: General rules and rules for buildings;

EN 1993-2, Design of Steel Structures — Part 2: Steel bridges;

EN 1993-3, Design of Steel Structures — Part 3: Towers, masts and chimneys;

EN 1993-4, Design of Steel Structures — Part 4: Silos and tanks;

EN 1993-5, Design of Steel Structures — Part 5: Piling;

EN 1993-6, Design of Steel Structures — Part 6: Crane supporting structures;

EN 1993-7, Design of steel structures — Part 7: Design of sandwich panels.

EN 1993-1 in itself does not exist as a physical document, but comprises the following 14 separate parts, the basic part being EN 1993-1-1:

EN 1993-1-1, Design of Steel Structures — Part 1-1: General rules and rules for buildings;

EN 1993-1-2, Design of Steel Structures — Part 1-2: Structural fire design;

EN 1993-1-3, Design of Steel Structures — Part 1-3: Cold-formed members and sheeting;

NOTE	Cold formed hollow sections supplied according to EN 10219 are covered in EN 1993-1-1.

EN 1993-1-4, Design of Steel Structures — Part 1-4: Stainless steels;

EN 1993-1-5, Design of Steel Structures — Part 1-5: Plated structural elements;

EN 1993-1-6, Design of Steel Structures — Part 1-6: Strength and stability of shell structures;

EN 1993-1-7, Design of Steel Structures — Part 1-7: Strength and stability of planar plated structures transversely loaded;

EN 1993-1-8, Design of Steel Structures — Part 1-8: Design of joints;

EN 1993-1-9, Design of Steel Structures — Part 1-9: Fatigue strength of steel structures;

EN 1993-1-10, Design of Steel Structures — Part 1-10: Selection of steel for fracture toughness and through-thickness properties;

EN 1993-1-11, Design of Steel Structures — Part 1-11: Design of structures with tension components made of steel;

EN 1993-1-12, Design of Steel Structures — Part 1-12: Additional rules for steel grades up to S960;

EN 1993-1-13, Design of Steel Structures — Part 1-13: Beams with large web openings;

EN 1993-1-14, Design of Steel Structures — Part 1-14: Design assisted by finite element analysis.

All subsequent parts EN 1993-1-2 to EN 1993-1-14 treat general topics that are independent from the structural type such as structural fire design, cold-formed members and sheeting, stainless steels, plated structural elements, etc.

All subsequent parts numbered EN 1993-2 to EN 1993-7 treat topics relevant for a specific structural type such as steel bridges, towers, masts and chimneys, silos and tanks, piling, crane supporting structures, etc. EN 1993-2 to EN 1993-7 refer to the generic rules in EN 1993-1 and supplement, modify or supersede them.

0.3 Introduction to EN 1993-1-1

EN 1993-1-1 gives general design rules for steel structures. It also includes supplementary design rules for steel buildings. The focus in EN 1993-1-1 is on design methods and design rules for individual members (beams, columns and beam-columns) and skeletal structures (frames) regarding resistance and stability.

0.4 Verbal forms used in the Eurocodes

The verb “shall" expresses a requirement strictly to be followed and from which no deviation is permitted in order to comply with the Eurocodes.

The verb “should” expresses a highly recommended choice or course of action. Subject to national regulation and/or any relevant contractual provisions, alternative approaches could be used/adopted where technically justified.

The verb “may" expresses a course of action permissible within the limits of the Eurocodes.

The verb “can" expresses possibility and capability; it is used for statements of fact and clarification of concepts.

0.5 National Annex for EN 1993-1-1

National choice is allowed in this standard where explicitly stated within notes. National choice includes the selection of values for Nationally Determined Parameters (NDPs).

The national standard implementing EN 1993-1-1 can have a National Annex containing all national choices to be used for the design of buildings and civil engineering works to be constructed in the relevant country.

When no national choice is given, the default choice given in this standard is to be used.

When no national choice is made and no default is given in this standard, the choice can be specified by a relevant authority or, where not specified, agreed for a specific project by appropriate parties.

National choice is allowed in EN 1993-1-1 through the following clauses:

—	4.4.3 (2)

—	5.1 (2)

—	5.2.1 (1)

—	5.2.2 (1)

—	5.2.3 (1)P

—	7.2.1 (4)

—	7.2.2 (9)

—	7.3.3.1 (2)

—	7.3.3.2 (1)

—	7.4.1(3)

—	8.1 (1)

—	8.3.2.3 (1)

—	8.3.2.4 (1)B

—	8.3.2.4 (3)B

—	8.3.3 (2)

—	8.3.4 (1)

—	9.2 (2)B

—	A.3 (2)

—	A.3 (3)

—	A.3 (4)

National choice is allowed in EN 1993-1-1 on the application of the following informative annexes:

—	Annex E (informative) – Basis for the calibration of partial factors

The National Annex can contain, directly or by reference, non-contradictory complementary information for ease of implementation, provided it does not alter any provisions of the Eurocodes.

# Scope

## Scope of EN 1993-1-1

(1) EN 1993-1-1 gives basic design rules for steel structures.

(2) It also gives supplementary provisions for the structural design of steel buildings. These supplementary provisions are indicated by the letter “B” after the paragraph number, thus (  )B.

## Assumptions

(1) The assumptions of EN 1990 apply to EN 1993-1-1.

(2) EN 1993 is intended to be used in conjunction with EN 1990, EN 1991 (all parts), the parts of EN 1992 to EN 1999 where steel structures or steel components are referred to within those documents, EN 1090-2, EN 1090-4 and ENs, EADs and ETAs for construction products relevant to steel structures.

# Normative references

The following documents are referred to in the text in such a way that some or all of their content constitutes requirements of this document. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments) applies.

NOTE	See the Bibliography for a list of other documents cited that are not normative references, including those referenced as recommendations (i.e. through ‘should’ clauses) and permissions (i.e. through ‘may’ clauses).

EN 1090-2, Execution of steel structures and aluminium structures - Part 2: Technical requirements for steel structures

EN 1090-4, Execution of steel structures and aluminium structures - Part 4: Technical requirements for cold-formed structural steel elements and cold-formed structures for roof, ceiling, floor and wall applications

EN 1990:—), Eurocode — Basis of structural and geotechnical design

EN 1991 (all parts), Eurocode 1 — Actions on structures

# Terms, definitions and symbols

## Terms and definitions

For the purposes of this document, the terms and definitions given in EN 1990 and the following apply.

3.1.1

frame

whole or a portion of a structure, comprising an assembly of directly connected structural elements, designed to act together to resist load

Note 1 to entry:	This term refers to both moment-resisting frames and triangulated frames; it covers both plane frames and three-dimensional frames.

3.1.2

sub-frame

frame that forms part of a larger frame, but is treated as an isolated frame in a structural analysis

3.1.3

semi-continuous framing

framing in which the structural properties of the members and joints need explicit consideration in the global analysis

3.1.4

continuous framing

framing in which only the structural properties of the members need to be considered in the global analysis

3.1.5

simple framing

framing in which the joints are not designed to resist moments

3.1.6

system length

distance in a given plane between two adjacent points at which a member is braced against lateral displacement in this plane, or between one such point and the end of the member

3.1.7

buckling length

system length of an otherwise similar member with pinned ends, which has the same critical buckling load as a given member or segment of member

3.1.8

equivalent member

simply supported single span member of uniform cross-section with constant compressive axial force used for buckling verification

Note 1 to entry:	Its length, cross-section and axial force are equal to the appropriate buckling length, cross-section and axial force at the investigated position in the structure.

3.1.9

shear lag effect

non-uniform stress distribution in wide flanges due to shear deformation

3.1.10

capacity design

design method for achieving the plastic deformation capacity of a member by providing additional strength in its connections and in other parts connected to it

3.1.11

uniform built-up member

built-up member made of parallel chords with nominally constant cross-section along their whole length, connected by regularly spaced lacings or battens

3.1.12

uniform member

member with a nominally constant cross-section along its whole length

## Symbols and abbreviations

For the purposes of this document, the following symbols apply.

### Latin upper-case symbols

| A | cross-sectional area |
| --- | --- |
| Ac | area of the equivalent compression flange |
| Ach | cross-sectional area of one chord of a built-up column |
| Ad | cross-sectional area of one diagonal of a built-up column |
| Aeff | effective area of a cross-section |
| Af | area of one flange |
| Ai | cross-sectional area for the calculation of the characteristic resistance to an axial force |
| Anet | net area of a cross-section |
| Ap | cross-sectional area of one post (or transverse element) of a built-up column |
| At | area of the tension flange |
| At,net | net area of the tension flange |
| Av | shear area |
| Aw | area of a web |
| A0 | original cross-sectional area |
| BEd | design value of the bimoment |
| BRd | design value of the bimoment resistance |
| BRk | characteristic value of the bimoment resistance |
| CD | rotational stiffness provided by stabilizing continuum and connections |
| CD,A | rotational stiffness of the connection between the beam and the stabilizing continuum |
| CD,B | rotational stiffness deduced from an analysis of the distortional deformations of the beam cross sections |
| CD,C | rotational stiffness provided by the stabilizing continuum to the beam assuming a stiff connection to the member |
| Cmy, Cmz, CmLT | equivalent uniform moment factors |
| E | modulus of elasticity |
| EIηcr,m″ | absolute value of the bending moment due to ηcr,m at the critical cross-section m |
| Fcr,ns | minimum elastic critical flexural buckling load for either the in-plane or out-of-plane member (non-sway) buckling mode |
| Fcr,sw | elastic critical in-plane flexural buckling load for a global (sway) buckling mode |
| Fd | design value of the load on the structure |
| Fz,Ed | design value of transverse force |
| Fz,Rd | design value of the resistance to transverse force |
| G | shear modulus |
| Gk | characteristic value of the effect of permanent actions |
| H | height of the structure |
| HEd | total design horizontal load |
| Hf | fictitious horizontal load |
| Hst | storey height |
| I | moment of inertia |
| Ib | in-plane moment of inertia of a batten |
| Ich | in-plane moment of inertia of a chord |
| Ieff | effective moment of inertia of a built-up member |
| IT | torsion constant |
| Iw | warping constant |
| Iy, Iz | moment of inertia about y-y axis and z-z axis, respectively |
| Iz,fl | moment of inertia about z-z axis of two flanges |
| I1 | equivalent moment of inertia of a battened built-up member |
| Kst | lateral rigidity of a storey |
| Kv | factor for considering the type of verification in evaluating torsional restraints |
| Kθ | factor for considering the moment distribution in evaluating torsional restraints |
| L | length (member length, span length, etc.) |
| Lc | length between two consecutive lateral restraints |
| Lch | buckling length of chord in a built-up member |
| Lcr | buckling length |
| Ld | length of a diagonal in a built-up member |
| Lst | stable length of segment |
| Ly | effective length for the resistance to transverse force |
| Mb,Rd | design value of the buckling resistance of a member in bending |
| MB,V,Rd | design value of the reduced resistance to bending moment making allowance for the presence of shear force and bimoment |
| Mc,B,Rd | design value of the reduced resistance to bending moment making allowance for the presence of bimoment |
| Mcr | elastic critical moment for lateral torsional buckling |
| Mc,Rd | design value of the resistance to bending moment about one principal axis of a cross-section |
| MEd | design bending moment |
| MEdI. | design value of the maximum first order moment in the middle of a built-up member |
| Mel,Rd | design value of the elastic moment resistance |
| Mep,Rd | design value of the elasto-plastic bending moment resistance |
| Mh | hogging moment at member ends |
| MN,ep,Rd | design value of the elasto-plastic bending moment resistance making allowance for the presence of axial force |
| MN,Rd | sign value of the reduced resistance to bending moment making allowance for the presence of axial force |
| Mpl,Rd | design value of the plastic moment resistance |
| MRk | characteristic value of the resistance to bending moment |
| MRk,m | characteristic value of the moment resistance of the critical cross-section m |
| MV,Rd | design value of the reduced plastic resistance to bending moment making allowance for the presence of shear force |
| My,Ed | design value of the bending moment about y-y axis |
| My,Rd | design value of the resistance to bending moment about y-y axis |
| My,Rk | characteristic value of the resistance to bending moment about y-y axis |
| Mz,Ed | design value of the bending moment about z-z axis |
| Mz,Rd | design value of the resistance to bending moment about z-z axis |
| Mz,Rk | characteristic value of the resistance to bending moment about z-z axis |
| M0 | sagging moment at mid-span of a member |
| N | number of stress cycles during the design service life |
| Nb,Rd | design value of the buckling resistance of a member in compression |
| Nc,Rd | design value of the resistance to axial force of the cross-section for uniform |
| Nch,Ed | design value of the axial force in a chord, in the middle of a built-up member |
| Ncr | elastic critical axial force for the relevant buckling mode based on the gross cross-sectional properties |
| Ncr,c,z | elastic critical axial force for flexural buckling of the equivalent compression flange |
| Ncr,m | elastic critical axial force in the cross-section m |
| Ncr,T | elastic critical axial force for torsional buckling |
| Ncr,TF | elastic critical axial force for torsional-flexural buckling |
| Ncr,V | effective critical axial force of a built-up member including the effect of its shear stiffness |
| Ncr,y, Ncr,z | elastic critical axial force for flexural buckling about y-y axis and z-z axis, respectively |
| NEd | design value of the compression axial force |
| NEd,m | design value of the compression axial force at a section m |
| Nf,Ed | design axial force in the compressed flange of a stabilized member at a plastic hinge location |
| Nnet,Rd | design value of the plastic resistance to axial force of the net cross-section |
| Npl,Rd | design value of the plastic resistance to axial force of the gross cross-section |
| NRd | design value of the resistance to axial force |
| NRk | characteristic value of the resistance to axial force |
| NRk,m | characteristic value of the resistance to axial force at the cross-section m |
| Nt,Rd | design value of the resistance to tension axial force |
| Nu,Rd | design value of the ultimate resistance to axial force of the net cross-section at holes for fasteners |
| Pk | characteristic value of the effect of pre-stressing imposed during erection |
| Qm | local force applied at each stabilized member at the plastic hinge locations |
| ReH | yield strength taken from the relevant product standard |
| Rd | design value of resistance |
| Rk | characteristic value of resistance |
| Rm | ultimate strength taken from the relevant product standard |
| S | first moment of area |
| Sv | shear stiffness of a built-up member from the lacing or battened panel |
| Sv | shear stiffness provided by sheeting |
| TEd | design value of total internal torsional moment |
| Tt,Ed | design value of internal St. Venant torsional moment |
| TRd | design value of the resistance to torsional moment |
| Tw,Ed | design value of internal warping torsional moment |
| Vc,Rd | design value of the resistance to shear force |
| VEd | design value of the shear force |
| VEdI | design value of the first order shear force in a built-up member |
| Vpl,Rd | design value of the plastic resistance to shear force |
| Vpl,T,Rd | design value of the reduced plastic shear resistance making allowance for the presence of a torsional moment |
| WB,pl | plastic section modulus for the plastic resistance to bimoment |
| Weff | effective section modulus |
| Weff,min | minimum effective section modulus |
| Wel | elastic section modulus |
| Wel,min | minimum elastic section modulus |
| Wel,y, Wel,z | elastic section modulus for bending about y-y axis and z-z axis, respectively |
| Wep | elasto-plastic section modulus for Class 3 section |
| Wep,y, Wep,z | elasto-plastic section modulus for bending about y-y axis and z-z axis, respectively |
| Wpl | plastic section modulus |
| Wpl,y, Wpl,z | plastic section modulus for bending about y-y axis and z-z axis, respectively |
| Xd | design value of a basic variable |
| Xk | characteristic value of a basic variable |
| Xk,i | characteristic value of material property |
| Xk,th | target characteristic value of a basic variable |
| Xm | mean value of a basic variable |
| Xn | nominal value of a basic variable |
| Xrep | representative value of material properties |
| X5% | upper reference value |
| X0,12% | lower reference value |
| ZEd | required design Z-value resulting from the magnitude of strains from restrained metal shrinkage under the weld beads |
| ZRd | available design Z-value |

### Latin lower-case symbols

| a | ratio of web area to gross section area |
| --- | --- |
| ad | design value of geometrical parameters |
| af | ratio of section area of the smaller sides to gross section area for rectangular hollow sections |
| aw | ratio of section area of the larger sides to gross section area for rectangular hollow sections |
| b | width of a cross-section |
| c | width or depth of a part of a cross-section |
| d | external diameter of a circular hollow section |
| dch | distance along a chord of a built-up member between two consecutive lacings or battens |
| de | equivalent diameter for circular and elliptical hollow sections |
| dw | web depth between fillets or weld toes |
| dz | distance of intermediate lateral supports from the shear centre of the cross-section |
| d0 | diameter of bolt hole |
| eN | shift of the centroid of the effective area Aeff relative to the centroid of the gross cross-section |
| eN,y | shift of the centroid of the effective area Aeff relative to the centroid of the gross cross-section, resulting in a bending moment about y-y axis |
| eN,z | shift of the centroid of the effective area Aeff relative to the centroid of the gross cross-section, resulting in a bending moment about z-z axis |
| e0 | equivalent bow imperfection |
| e0,LT | equivalent bow imperfection for lateral torsional buckling |
| e0,m | equivalent bow imperfection at the critical cross-section m |
| fm | factor that accounts for the effect of the bending moment distribution between discrete lateral restraints |
| fy | yield strength |
| fy,red | reduced yield strength |
| fu | ultimate strength |
| h | depth of a cross-section |
| hw | depth of a web |
| h0 | distance of centrelines of chords of a built-up column |
| i | radius of gyration about the relevant axis, determined using the properties of the gross cross-section |
| imin | minimum radius of gyration of single angles |
| iy, iz | radius of gyration for bending about y-y axis and z-z axis respectively |
| ip | polar radius of gyration |
| i0 | minimum radius of gyration of the cross-section of a star-battened built-up member |
| k | correction factor for ultimate resistance of the net cross-section |
| kσ | plate buckling factor |
| kc | correction factor for moment distribution |
| kij | interaction factors (generic symbol for kyy, kyz, kzy and kzz) |
| ksw | amplification factor for taking into account second order sway effects due to vertical loads |
| kw | interaction factor for uniform members in bending, axial compression and torsion covering the effect of bi-moment |
| kyy, kyz, kzy, kzz | interaction factors for uniform members in bending and axial compression |
| kzw | interaction factor for uniform members in bending, axial compression and torsion covering the effect of bending moment about z-z |
| kα | interaction factor for uniform members in bending, axial compression and torsion covering the effect of bending moment about y-y |
| kσ | plate buckling factor |
| k0 | limiting value for αcr,ns |
| m | number of columns in a row or members to be restrained |
| n | ratio of design axial force to design plastic resistance to axial force of the gross cross-section |
| np | number of planes of lacing or batten |
| ny | ratio of design axial force to design value of the buckling resistance of a member in compression for buckling about y-y axis |
| nz | ratio of design axial force to design value of the buckling resistance of a member in compression for buckling about z-z axis |
| n1 | number of holes extending in any diagonal or zig-zag line progressively across the member or part of the member |
| n2 | number of holes in a section where the holes are not staggered. |
| p | spacing of the centres of two consecutive holes measured along the centre of thickness of the material in an angle |
| p2 | spacing of the centres of the same two holes measured perpendicular to the member axis |
| qd | equivalent design load per unit length |
| r | radius of root fillet |
| r1 | radius of root fillet |
| r2 | toe radius |
| s | staggered pitch, the spacing of the centres of two consecutive holes measured parallel to the member axis |
| ss | length of stiff bearing |
| t | thickness |
| tcor | core thickness |
| td | design thickness |
| tf | flange thickness |
| tmc | thickness of metallic coating |
| tnom | nominal sheet thickness |
| tol | minimum tolerance on thickness |
| tw | web thickness |

### Greek upper-case symbols

| ΔAnet | section area to be deducted for a section to take into account the holes |
| --- | --- |
| Δf | horizontal displacement at the top of the storey due to Hf, relative to the bottom of the storey |
| ΔMEd | additional moment from shift of the centroid of the effective area Aeff relative to the centroid of the gross cross-section |
| ΔMy,Ed | moment about y-y axis due to the shift of the centroid |
| ΔMz,Ed | moment about z-z axis due to the shift of the centroid |
| Φ | value to determine the reduction factor χ for flexural buckling |
| ΦLT | value to determine the reduction factor χLT for lateral torsional buckling |

### Greek lower-case symbols

| α | imperfection factor |
| --- | --- |
| αc | portion of a part of a cross-section in compression |
| αcr | minimum force amplifier |
| αcr,ns | factor by which the design loads would have to be increased to cause elastic instability in the in-plane or out-of-plane member (non-sway) buckling mode |
| αcr,op | minimum amplifier for the in-plane design loads to reach the elastic critical buckling load with regard to lateral or lateral torsional buckling |
| αcr,sw | factor by which the design loads would have to be increased to cause elastic instability in a global, in-plane (sway) mode |
| αh | factor describing the moment diagram; h = hogging |
| αH | reduction factor for height H applicable to columns |
| αLT | imperfection factor for lateral torsional buckling |
| αm | reduction factor for the number of columns in a row or members to be restrained |
| αR | resistance-side weighting factor for calibration of partial factors |
| αRk | minimum force amplifier for the axial force configuration in members to reach the characteristic resistance of the most axially stressed cross-section without taking buckling into account |
| αs | factor describing the moment diagram; s = sagging |
| αT | coefficient of linear thermal expansion |
| αTF | imperfection factor for torsional-flexural buckling |
| αult,k | minimum load amplifier of the design loads to reach the characteristic resistance of the most critical cross-section |
| αy | parameter introducing the effect of biaxial bending |
| αz | parameter introducing the effect of biaxial bending |
| β | reference relative bow imperfection |
| βc | modification factor of equivalent compression flange |
| βep,y, βep,z | interpolation factor for bending about y-y axis and z-z axis, respectively |
| βLT | reference relative bow imperfection for lateral torsional buckling |
| γMi | partial factor (generic symbol) |
| γM0 | partial factor for resistance of cross-sections |
| γM1 | partial factor for resistance of members to instability assessed by member checks |
| γM2 | partial factor for resistance of cross-sections in tension to fracture |
| γR | partial factor for the particular resistance |
| δq | in-plane deflection of a bracing system |
| ε | material parameter depending on fy |
| εt | tensile strain |
| η | factor for shear area |
| ηcr(x) | shape of the relevant (first or higher) elastic critical buckling mode |
| ηi | conversion factor |
| ηinit(x) | shape of the equivalent geometrical imperfection |
| θ | angle between axes of chord and lacing |
| λ | relative slenderness |
| λc,z | relative slenderness of the equivalent compression flange |
| λc,z,mod | modified relative slenderness of the equivalent compression flange |
| λm | relative slenderness related to the section m |
| λLT | relative slenderness for lateral torsional buckling |
| λLT,lim | limit of relative slenderness for susceptibility to lateral torsional buckling |
| λLT,0 | plateau length of the lateral torsional buckling curves for rolled and welded sections |
| λop | global relative slenderness of a structural component for out-of-plane buckling |
| λT | relative slenderness for torsional buckling |
| λTF | relative slenderness for torsional-flexural buckling |
| λ1 | reference slenderness to determine the relative slenderness |
| μ | ficiency factor in built-up members |
| ν | Poisson's ratio in elastic range |
| ρ | reduction factor to determine the design value of the reduced plastic resistance to bending moment making allowance for the presence of shear forces |
| σ | stress |
| σcom,Ed | maximum design value of compressive longitudinal stress |
| σeq,Ed | design value of equivalent longitudinal stress |
| σw,Ed | design value of the longitudinal stress due to bimoment BEd |
| σx,Ed | design value of the longitudinal stress |
| σz,Ed | design value of the transverse stress |
| τEd | design value of the shear stress |
| τt,Ed | design value of the shear stress due to St. Venant torsion |
| τw,Ed | design value of the shear stress due to warping torsion |
| ϕ | initial sway imperfection |
| ϕ0 | basic value for initial sway imperfection |
| χ | reduction factor for relevant buckling mode |
| χLT | reduction factor for lateral torsional buckling |
| χm | reduction factor for relevant buckling mode depending on the relative slenderness λm |
| χopχop | reduction factor for the relative slenderness λop |
| χT | reduction factor due to torsional buckling |
| χTF | reduction factor due to torsional-flexural buckling |
| χy | reduction factor due to flexural buckling about y-y axis |
| χz | reduction factor due to flexural buckling about z-z axis |
| ψ | ratio of end moments in a segment of beam, or stress ratio |

## Conventions for member axes

(1) The convention for member axes is:

x-x – along the member

y-y – axis of the cross-section

z-z – axis of the cross-section

(2) For steel members, the conventions used for cross-section axes are:

—	generally:

y-y – cross-section axis parallel to the flanges

z-z – cross-section axis perpendicular to the flanges

—	for angle sections:

y-y – cross-section axis parallel to the smaller leg

z-z – cross-section axis perpendicular to the smaller leg

—	where necessary:

u-u – major principal axis (where this does not coincide with the y-y axis)

v-v – minor principal axis (where this does not coincide with the z-z axis)

(3) The symbols used for dimensions and axes of rolled steel sections are indicated in Figure 3.1.

(4) The convention for subscripts indicating the axes for moments is: “Use the axis about which the moment acts.”

NOTE	All rules in EN 1993 relate to principal axis properties, which are generally defined by the axes y-y and z-z but for sections such as angles are defined by the axes u-u and v-v.

# Figure 3.1 — Dimensions and axes of sections

# Basis of design

## General rules

### Basic requirements

(1)P The design of steel structures shall be in accordance with the general rules given in EN 1990 and the specific design provisions for steel structures given in this Part 1-1 of EN 1993.

(2)P Steel structures designed according to EN 1993 shall be executed according to EN 1090-2 and/or EN 1090-4.

### Structural reliability

(1)P To obtain the reliability of the completed works required according to EN 1990, an appropriate execution class shall be selected in accordance with Annex A for steel structures executed to EN 1090-2 and EN 1090-4.

(2) If different levels of reliability are required, they should be achieved by an appropriate choice of quality management measures in design and execution according to EN 1990, EN 1090-2 and EN 1090-4.

### Robustness

(1) The provisions on robustness given in EN 1990 should be followed.

(2) The general arrangement of the structure and the interaction and connection of its various parts should be such as to give appropriate robustness during construction and use.

### Design service life for buildings

(1)P,B For the specification of the intended design service life of a permanent building, the provisions given in EN 1990 shall be followed.

(2)B For structural elements that cannot be designed for the total design life of the building (e.g. components that need to be replaceable such as bearings), see Clause 6(5)B.

### Durability

(1)P Depending upon the type of action affecting the design service life (see EN 1990), steel structures shall be:

—	designed for the effects of corrosion by means of:

—	suitable surface protection (see EN ISO 12944, EN ISO 1461)

—	the use of weathering steel (see EN 10025-5)

—	the use of stainless steel (see EN 1993-1-4)

—	designed for the effects of fatigue (see Clause 10 and EN 1993-1-9)

—	designed for wearing effects

—	designed for accidental actions (see EN 1991-1-7)

—	inspected and maintained.

(2)P For further consideration of durability, Clause 6 shall be followed.

## Principles of limit state design

(1)P For steel structures, the ultimate limit state and serviceability limit state shall be considered for all aspects of the structure.

(2)P For steel structures, all relevant design situations shall be considered, including relevant phases in the erection stage.

NOTE 	For the selection of design situations, see EN 1990.

## Basic variables

### Actions and environmental influences

(1)P The characteristic values of actions for the design of steel structures, including any regional, climatic and accidental situations, shall be obtained from the relevant Parts of EN 1991.

(2) The actions to be considered during the erection stage may be obtained from EN 1991-1-6.

(3) Where the effects of predicted absolute and differential settlements need to be considered, estimates of imposed deformations should be taken into account.

(4) The effects of uneven settlements, imposed deformations and forms of prestressing imposed during erection should be taken into account using the nominal value of the effect of prestressing Pk as permanent actions and grouping them with other permanent actions Gk to form a single action (Gk + Pk).

(5)  Fatigue actions not defined in EN 1991(all parts) should be determined in accordance with EN 1993-1-9.

### Material and product properties and geometrical data

(1) The material properties for steels and other construction products and the geometrical data to be used for design should be those specified in the relevant EN and EN ISO product standards, or according to a transparent and reproducible assessment that complies with all the requirements of a European Assessment Document (EAD) or European Technical Approval (ETA), unless otherwise indicated in EN 1993-1-1, see Clause 5.

(2) The nominal values of material properties should be adopted as characteristic values in design calculations.

(3) For structural analysis and design, the nominal values of dimensions may be used.

## Verification by the partial factor method

### Design values of actions

(1)P For the design of steel structures, combination of actions and partial factors of actions shall be derived from EN 1990:—), Annex A.

### Design values of material properties

(1)P For the design of steel structures, the design value for a material property shall be obtained by dividing its characteristic value Xk or nominal value Xn by the relevant partial factor for materials, γM.

### Design values of geometrical data

(1) Geometrical data for cross-sections and systems may be taken from EN and EN ISO product standards, EADs, ETAs or component specifications for the execution to EN 1090 and treated as nominal values.

(2) The dimensions of hot rolled profiles may be taken from EN 10365.

NOTE	The standard EN 10365 does not give the fillet radius. However, it can be calculated from the section area and the other dimensions, unless the National Annex gives other provisions.

(3) Design values of geometrical imperfections specified in this standard are equivalent geometrical imperfections that take into account the effects of:

—	geometrical imperfections as governed by geometrical tolerances in product standards or the execution standard;

—	structural imperfections due to fabrication and erection;

—	residual stresses;

—	variation of the yield strength.

(4) The design rules according to EN 1993-1-1 should be applied to steels with nominal material thicknesses t higher than or equal to 3 mm.

(5) The design rules according to EN 1993-1-1 may also be applied to components made of steels with nominal material thicknesses t less than 3 mm but higher than or equal to 1,5 mm provided that the design thickness td based on the steel core thickness tcor is used instead of the nominal thickness t as follows:

| td=tcor | if tol≤5 % | (4.1) |
| --- | --- | --- |
| td=tcor100-tol95 | if tol>5 % |  |

where

tcor=tnom-tmc

| tol | is the minus tolerance of the thickness in % from the relevant EN or EN ISO, EAD or ETA; |
| --- | --- |
| tnom | is the nominal sheet thickness of the original sheet, inclusive of zinc and other metallic coating and not including organic coating; |
| tmc | is the thickness of the metallic coating. |

### Tolerances

(1) The dimensional and mass tolerances of rolled steel sections, structural hollow sections and plates should conform with the relevant EN or EN ISO product standard, EAD or ETA, unless more severe tolerances are specified by the relevant authority or agreed for a specific project by the relevant parties.

(2) The fabrication and erection tolerances of structural components should comply with EN 1090-2 and EN 1090-4.

### Design resistances

(1) For steel structures, Formula (8.20) of EN 1990 applies:

| Rd =RkγR=RXrep;ad;FEdγR |  |
| --- | --- |

(4.2)

where

--

| FEd | denotes the design values of actions, see 4.4.1; |
| --- | --- |
| R{…} | denotes the output of the resistance model; |
| Rk | is the characteristic value of the particular resistance; |
| Xrep | denotes the representative values of the material properties, defined as ηXk unless defined differently for specific rules, the nominal values of the material properties as defined in 5.2.1 are used in EN 1993; |
| ad | denotes the design values of the geometrical parameters, see 4.4.3; |
| γR | is the partial factor for the particular resistance. In EN 1993-1-1, γR will take the value of the appropriate partial factor γMi, see 8.1. |

## Design assisted by testing

(1) Values for resistances Rk or Rd may be determined using design assisted by testing methods.

NOTE	Guidance on design assisted by testing is given in EN 1990:—), Annex D. More specific provisions can be given in other parts of EN 1993.

# Materials

## General

(1)  For the design of steel structures according to EN 1993-1-1 the material for fabrication should conform to the grades in Table 5.1 and 5.2 and the following product standards: EN 10025, EN 10149, EN 10210-1, EN 10210-2, EN 10219-1 and EN 10219-2.

NOTE	Other steel materials and products can be set by the National Annex.

(2)P If other steel materials than those mentioned in (1) are used, their properties (mechanical properties and weldability) shall be known and their mechanical properties shall conform to the conditions given in 5.2.2, 5.2.3 and 5.2.4 when tested in accordance to the relevant EN, ISO or EN ISO testing standards.

## Structural steel

### Material properties

(1) The nominal values of the yield strength fy and the ultimate strength fu for structural steel should be obtained:

a)	either by adopting the values fy = ReH and fu = Rm (as lower bound of the given range) directly from the product standard;

b)	or by using the values given in Table 5.1 for steel conforming to EN 10025, EN 10210-1, EN 10210-1, EN 10219-1 EN 10219-2, and in Table 5.2 for steel conforming to EN 10149, and considering the availability of the material in the thickness range according to the product standard.

NOTE 1	The choice of the approach can be set by the National Annex considering the effects on partial factors and their calibration according to Annex E and EN 1990. In case of option b), the partial factor γM1 needs to be increased.

NOTE 2	Rules for the use of the steels according to Table 5.1 and Table 5.2 can be set by the National Annex.

# Table 5.1 — Nominal values of yield strength fy and ultimate tensile strength fu for structural steels conforming to the following standards: EN 10025, EN 10210-1, EN 10210-2, EN 10219-1 and EN 10219-2

| Steel gradea | Nominal thickness of the element t mm |  |  |  |
| --- | --- | --- | --- | --- |
|  | t ≤ 40 mm |  | 40 mm < t ≤ 80 mm |  |
|  | fy N/mm2 | fu N/mm2 | fy N/mm2 | fu N/mm2 |
| S235 | 235 | 360 | 215 | 360 |
| S275 | 275 | 390 | 245 | 370 |
| S355 | 355 | 490 | 325 | 470 |
| S420 | 420 | 510 | 390 | 490 |
| S460 | 460 | 540 | 410 | 510 |
| S500 | 500 | 580 | 450 | 580 |
| S550 | 550 | 600 | 500 | 600 |
| S600 | 600 | 650 | 550 | 650 |
| S620 | 620 | 700 | 560 | 660 |
| S650 | 650 | 700 | - | - |
| S690 | 690 | 770 | 630 | 710 |
| S700 | 700 | 750 | - | - |
| a Principle symbols in EN 10027-1. |  |  |  |  |

# Table 5.2 — Nominal values of yield strength fy and ultimate tensile strength fu for hot rolled flat products for cold forming, according to EN 10149

| Standards, Grades and quality | Nominal thickness of the element t mm |  |  |  |
| --- | --- | --- | --- | --- |
|  | t ≤ 8 mm |  | 8 mm < t ≤ 20 mm |  |
|  | fy N/mm2 | fu N/mm2 | fy N/mm2 | fu N/mm2 |
| EN 10149-2a |  |  |  |  |
| S 315 MC | 315 | 390 | 315 | 390 |
| S 355 MC | 355 | 430 | 355 | 430 |
| S 420 MC | 420 | 480 | 420 | 480 |
| S 460 MC | 460 | 520 | 460 | 520 |
| S 500 MC | 500 | 550 | 500b | 550b |
| S 550 MC | 550 | 600 | 550b | 600b |
| S 600 MC | 600 | 650 | 600b | 650b |
| S 650 MC | 650 | 700 | 630b | 700b |
| S 700 MC | 700 | 750 | 680b | 750b |
| EN 10149-3a |  |  |  |  |
| S 260 NC | 260 | 370 | 260 | 370 |
| S 315 NC | 315 | 430 | 315 | 430 |
| S 355 NC | 355 | 470 | 355 | 470 |
| S 420 NC | 420 | 530 | 420 | 530 |
| a Verification of the impact energy in accordance with EN 10149-1:2013, Clause 11, option 5 should be specified. b t ≤ 16 mm |  |  |  |  |

### Ductility requirements

(1)P A minimum ductility shall be provided and shall be expressed in terms of limiting values for:

—	the ratio fu/fy;

—	the elongation at failure on a gauge length of 5,65 A0 (where A0 is the original cross-sectional area).

NOTE	The limiting values are given below unless the National Annex gives different limiting values:

a)	For plastic global analysis

  - fu/fy≥1,10

—	;

- —	elongation at failure not less than 15 %.

b)	For elastic global analysis

  - fu/fy≥1,05

—	;

- —	elongation at failure not less than 12 %.

(2) Steels conforming to any of the grades listed in Table 5.1 and Table 5.2 may be assumed to satisfy the minimum ductility requirements for elastic global analysis.

(3) Steels conforming to one of the grades up to and including S460 listed in Table 5.1 and Table 5.2 may be assumed to satisfy the minimum ductility requirements for plastic global analysis.

### Fracture toughness

(1)P Material shall have sufficient fracture toughness to avoid brittle fracture of tension elements at the lowest service temperature expected to occur within the intended design service life of the structure.

NOTE	The lowest service temperature can be set by the National Annex.

(2) Further checks for brittle fracture may be omitted if the conditions given in EN 1993-1-10 are satisfied for the lowest service temperature.

(3) For components under compression, a minimum toughness property should be selected using the appropriate table for quasi-static loading or fatigue loading of EN 1993-1-10.

NOTE	For steels intended to be hot dip galvanized, see EN ISO 1461.

### Through-thickness properties

(1) The target through-thickness properties of the material should be determined by calculating the required design Z-value ZEd for the material according to EN 1993-1-10.

(2) Where material with improved through-thickness properties is required (Zed > 10), a material quality Class should be selected according to EN 10164, i.e. Z 15, Z 25 or Z 35.

(3) The selection of material quality Class should be in accordance with Table 5.3.

NOTE	Through-thickness properties are relevant for plates loaded perpendicular to their plane, e.g. for welded beam to column connections and welded end plates with tension in the through-thickness direction.

# Table 5.3 — Choice of quality Class according to EN 10164

| Target design value ZEd according to EN 1993-1-10 | Quality Class according to EN 10164 (Available design Z-value ZRd) |
| --- | --- |
| Zed ≤ 10 | — |
| 10 < Zed ≤ 20 | Z 15 |
| 20 < Zed ≤ 30 | Z 25 |
| Zed > 30 | Z 35 |

### Values of other material properties

(1) The material properties to be adopted in calculations should be taken as the following mean values for steel:

| — modulus of elasticity | E = 210 000 N/mm2 |
| --- | --- |
| — shear modulus | G=E2 (1+ν)≈81 000 N/mm2 |
| — Poisson’s ratio in elastic range | ν = 0,3 |
| — coefficient of linear thermal expansion | αT = 12 × 10−6 per K (for T ≤ 100 °C) |

(2) The material parameter ε is used in several expressions in EN 1993 (all parts). It is defined as follows:

| ε=235fy |  |
| --- | --- |

(5.1)

where

fy	     is the yield strength in N/mm2.

## Connecting devices

### Fasteners

(1)  For fasteners the provisions given in EN 1993-1-8 should apply.

### Welding consumables

(1)  For welding consumables the provisions given in EN 1993-1-8 should apply.

## Other prefabricated products in buildings

(1)PB	Any semi-finished or finished structural product used in the structural design of buildings shall comply with the relevant EN or EN ISO product standard, EAD or ETA.

# Durability

(1)P  The effects of deterioration of material, corrosion or fatigue where relevant shall be taken into account by the choice of an appropriate corrosion protection system, by appropriate choice of material, (see EN 1993-1-4, EN 1993-1-10), and appropriate detailing, (see EN 1993-1-9) or by structural redundancy.

(2)P Execution of protective treatment shall comply with EN 1090-2.

NOTE	EN 1090-2 lists the factors affecting execution that need to be specified during design.

(3)P For elements that cannot be inspected, an appropriate corrosion allowance shall be included.

(4) Parts susceptible to corrosion, mechanical wear or fatigue should be designed such that inspection, maintenance and reconstruction can be carried out satisfactorily and access is available for in-service inspection and maintenance.

(5)B If a building includes components that need to be replaceable (e.g. bearings), the possibility of their safe replacement should be verified as a transient design situation.

(6)B Corrosion protection does not need to be applied to internal building structures, if the internal relative humidity does not exceed 80 %.

# Structural analysis

## Structural modelling for analysis

### Basic assumptions

(1)P Analysis shall be based upon calculation models of the structure that are appropriate for the limit state under consideration. The method used for the analysis shall be consistent with the design assumptions.

### Joint modelling

(1) Where the effects of the behaviour of the joints on the distribution of internal forces and moments within a structure, and on the overall deformations of the structure, are significant (such as in the case of semi-continuous joints), they should be taken into account, see EN 1993-1-8.

(2) To identify whether the effects of joint behaviour need be taken into account in the analysis, a distinction may be made between three joint models as follows:

—	simple joints, in which the joint may be assumed not to transmit bending moments;

—	continuous joints, in which the joint may be assumed not to allow any relative rotation between connected members, and hence the joint behaviour has no effect on the analysis;

—	semi-continuous joints, in which the joint should be assumed to allow relative rotation and bending moment transfer between connected members, and hence the behaviour of the joint needs to be taken into account in the analysis.

(3) For various types of joints the provisions given in EN 1993-1-8 should apply.

## Global analysis

### Consideration of second order effects

(1) The internal forces and moments may generally be determined using either:

—	first-order analysis, using the initial geometry of the structure or

—	second-order analysis, taking into account the influence of the deformation of the structure.

(2) The effects of the deformed geometry (second-order effects) should be considered if they increase the action effects significantly or modify significantly the structural behaviour.

(3) Second order analysis is not required if the conditions (7.1) and (7.2) are satisfied.

(4) If the condition (7.1) is satisfied, second order effects due to in-plane or out-of-plane member (non-sway) buckling may be neglected for the global analysis.

| αcr,ns=Fcr,nsFd≥k0 |  |
| --- | --- |

(7.1)

where

| Fcr,ns | is the minimum elastic critical flexural buckling load for either the in-plane or out-of-plane member (non-sway) buckling mode. Torsional buckling, torsional-flexural and lateral torsional buckling are not considered; |
| --- | --- |
| Fd | is the design value of the load on the structure; |
| αcr,ns | is the factor by which the design load would have to be increased to cause elastic instability in the in-plane or out-of-plane member (non-sway) buckling mode. |

NOTE 1	The value of k0 is 25 unless the National Annex gives a different value.

NOTE 2	For frames, buckling modes can be classified as sway or non-sway, see Figure 7.1. Sway modes are characterized by significant relative displacements of the member ends, perpendicular to the member.

NOTE 3	For the application of Formula (7.1) to plastic analysis, see 7.4.3.

| (a) Frame with a member buckling mode (non-sway) | (b) Frame with a global buckling mode (sway) |
| --- | --- |

# Figure 7.1 — Buckling modes of frames

(5) If the condition  (7.2) is satisfied, second order effects due to in-plane (sway) buckling may be neglected for the global analysis and first order analysis may (also) be used for the determination of the in-plane (sway) bending moments.

| αcr,sw=Fcr,swFd≥10 |  |
| --- | --- |

(7.2)

where

| Fcr,sw | is the elastic critical in-plane flexural buckling load for a global (sway) buckling mode; |
| --- | --- |
| Fd | is the design value of the load on the structure; |
| αcr,sw | is the factor by which the design load would have to be increased to cause elastic instability in a global, in-plane (sway) mode. |

NOTE 1	When the condition  (7.2) is satisfied, the increase of the internal forces and moments due to sway second order effects is no more than 10% of the internal forces and moments according to first order theory.

NOTE 2	For the application of the conditions (7.1) and (7.2) to plastic analysis, see 7.4.3.

(6) Second order effects due to lateral torsional buckling may be neglected for the global analysis and the verifications in the following cases:

—	for certain types of sections, e.g. structural hollow sections and welded box sections;

—	when only weak-axis bending moments act on members with mono-symmetric or doubly symmetric sections;

—	in case of sufficient restraint to the compression flange, see Annex D;

—	when the limit slenderness for susceptibility to lateral torsional buckling of 8.3.2.3(1) is not exceeded.

(7) The effects of shear lag and plate buckling on the stiffness should be taken into account if they significantly influence the global analysis, see EN 1993-1-5.

(8)  For rolled sections and welded sections with similar dimensions, the effects of shear lag and plate buckling on the stiffness may be neglected.

(9) The effects of the slip in bolt holes and similar deformations of connection devices like studs and anchor bolts should be taken into account if they significantly influence the global analysis.

(10)B Portal frames with rafter slopes not steeper than 1 : 2 (26°) and multi-storey beam-and-column type plane frames in buildings may be checked for in-plane, global (sway) mode failure with first order analysis if the condition (7.2) is satisfied for each storey. αcr,sw may be calculated for a storey using Formula (7.3), see Figure 7.2, provided that the axial compression in the beams or rafters is not significant (see also (11)):

| αcr,sw=Kst HstNEd,i |  |
| --- | --- |

(7.3)

where

is the lateral rigidity of the storey. This may be calculated from a linear elastic analysis using Formula (7.4):

is a fictitious horizontal load applied at the top of the columns of the storey;

is the horizontal displacement at the top of the storey due to Hf, relative to the bottom of the storey;

NEd,i

is the sum of axial forces in the columns within the storey under consideration;

is the height of the storey.

| Kst=HfΔfKst |  |  | is the lateral rigidity of the storey. This may be calculated from a linear elastic analysis using Formula (7.4): |
| --- | --- | --- | --- |
| Hf | is a fictitious horizontal load applied at the top of the columns of the storey; |
| Δf | is the horizontal displacement at the top of the storey due to Hf, relative to the bottom of the storey; |
|  | is the sum of axial forces in the columns within the storey under consideration; |
| Hst | is the height of the storey. |

(7.4)

# Figure 7.2 — Notations for 7.2.1(10)B

(11) For the application of (10)B in the absence of more detailed information, the axial compression in the beams or rafters should be assumed to be significant if:

| NEdNcr≥0,1 |  |
| --- | --- |

(7.5)

where

| NEd | is the design value of the compression force; |
| --- | --- |
| Ncr | is the in-plane elastic critical buckling load of the beam or rafter, considered as hinged at the ends of the system length measured along the beam of rafter. |

### Methods of analysis for ultimate limit state design checks

(1) The method of analysis (first or second order analysis combined with consideration of imperfections) should be compatible with the cross-section and member verification requirements in 8.2 and 8.3.

(2) According to the type of structure and the extent of the global analysis, imperfections and second order effects should be considered using one of the following approaches:

a)	entirely in the global analysis;

b)	partially in the global analysis and partially by verification of the buckling resistance of individual members according to 8.3;

c)	by verification of the buckling resistance of ‘Equivalent Members’ according to 8.3, using appropriate buckling lengths in accordance with the global buckling modes of the structure.

NOTE 1	For torsional and torsional-flexural buckling, see 8.3.1.4.

NOTE 2	Elastic critical buckling formulae are provided in CEN/TR 1993-1-103, Eurocode 3 – Design of steel structures – Part 1-103: Elastic critical buckling of members.

(3) Ultimate limit state design checks may be carried out using methods of analysis named hereafter M0, M1, M2, M3, M4, M5 or EM considering the application limitations defined in (4) to (9), see Figure 7.3 for an overview of the applicability of the methods. More complex methods may be used in place of less complex methods.

NOTE	Methods M0, M1, M2, M3, M4 and M5 are numerically ordered based on the complexity of the analysis. Method M0 is the least complex and method M5 is the most complex.

Key

| LTB | Lateral torsional buckling |
| --- | --- |
| EM | Equivalent member method |
| SI | Sway imperfection |
| MBI | Member bow imperfection (in-plane) |
| MBIT | Member bow imperfection considering lateral torsional buckling (in-plane and out-of-plane) |

# Figure 7.3 — Methods of structural analysis applicable to ultimate limit state design checks

(4) Method M0:

If second order effects may be neglected in the global analysis by satisfying the conditions in 7.2.1(4) and 7.2.1(5), and lateral torsional buckling may be neglected in accordance with 7.2.1(6):

—	the verification of the cross-sectional resistance according to 8.2 may be based on first order internal forces and moments;

—	the verification of the buckling resistance of individual members according to 8.3 may be omitted;

—	imperfections do not need to be included in the global analysis.

(5) Method M1:

If second order effects may be neglected in the global analysis by satisfying the conditions in 7.2.1(4) and 7.2.1(5), but lateral torsional buckling may not be neglected in accordance with 7.2.1(6):

—	the verification of the cross-sectional resistance according to 8.2 may be based on first order internal forces and moments;

—	the out-of-plane verification of the buckling resistance of individual members according to 8.3 is required and may be based on first order internal forces and moments;

—	imperfections do not need to be included in the global analysis.

(6) Method M2:

If second order effects due to member buckling may not be neglected (i.e. the condition in 7.2.1(4) is not satisfied) but second order effects due to in-plane, global (sway) buckling may be neglected (i.e. the condition in 7.2.1(5) is satisfied):

—	the verification of the cross-sectional resistance according to 8.2 may be based on first order internal forces and moments;

—	the in-plane and out-of-plane verification of the buckling resistance of individual members according to 8.3 is required and may be based on first order internal forces and moments considering appropriate buckling lengths for the non-sway mode and corresponding bending moment diagrams;

—	the global analysis may neglect equivalent bow imperfections, but should consider global (sway) imperfections;

(7) Method M3 and M4:

If second order effects due to member buckling may not be neglected (i.e. the condition in 7.2.1(4) is not satisfied) and second order effects due to in plane, global (sway) buckling may not be neglected (i.e. the condition in 7.2.1(5) is not satisfied), verification may be performed in accordance with one of the following methods:

a)	Method M3:

If global (sway) imperfections are included in the global analysis and local bow imperfections may be neglected in the global analysis in accordance with 7.3.4:

—	the verification of the cross-sectional resistance according to 8.2 should use the partial factor γM1 and be based on second order internal forces and moments;

—	the in-plane and out-of-plane verification of the buckling resistance of individual members according to 8.3 is required and should be based on second order internal forces and moments, however, the distribution of the internal forces and moments between the member ends may be determined based on first order theory;

—	the in-plane buckling length for the non-sway mode may be used.

b)	Method M4:

If all in-plane second order effects and both global (sway) imperfections and local bow imperfections are included in the global analysis:

—	the verification of the cross-sectional resistance according to 8.2 should use the partial factor γM1 and be based on second order internal forces and moments;

—	the in-plane verification of the buckling resistance of individual members according to criterion (8.88) may be omitted;

—	the out-of-plane verification of the buckling resistance of individual members according to criterion (8.89) is required and should be based on second order internal forces and moments.

NOTE	The references to criteria (8.88) and (8.89) apply when in-plane bending moments cause bending about the strong cross-sectional axis. Otherwise, the formulae have to be applied accordingly.

(8) Method M5:

If all in-plane and out-of-plane second order effects, including torsional effects, and global (sway) imperfections and in-plane and out-of-plane local bow imperfections (see 7.3.4) are accounted for in the global analysis:

—	the verification of the cross-sectional resistance according to 8.2 should use the partial factor γM1 and be based on second order internal forces and moments;

—	the verification of the buckling resistance of individual members according to 8.3 may be omitted.

NOTE	If relevant, the out-of-plane local bow imperfection can either be from Table 7.1 or Table 7.2, whichever is larger.

(9) Method EM:

If second order effects may not be neglected in the global analysis (see 7.2.1(4) or/and in-plane, global (sway) buckling modes cannot be neglected, see 7.2.1(5)), the ‘Equivalent Member method’ may be used for verification of the buckling resistance of individual members:

—	the verification of the cross-sectional resistance according to 8.2 may be based on first order internal forces and moments;

—	imperfections do not need to be included in the global analysis;

—	the verification of the buckling resistance of individual members according to 8.3 may be carried out using the first order internal forces and moments, considering the system effects (possible sway buckling modes) to determine the appropriate buckling length of each individual member.

(10) The implications of neglecting second order effects in determining the internal forces and moments for Method EM should be considered for the design of associated joints and connected members, including verification of the out-of-plane buckling resistance of individual members.

NOTE	Limitations on the use of Method EM can be set by the National Annex.

(11) Second order effects may be calculated by using an analysis appropriate to the structure (including step-by-step or other iterative procedures). For frames where the first sway buckling mode is predominant, first order elastic analysis may be carried out with subsequent amplification of relevant action effects (e.g. bending moments) by appropriate factors.

(12)B For single storey frames designed on the basis of elastic global analysis, second order sway effects due to vertical loads may be calculated from a first order theory, by increasing the horizontal loads HEd (e.g. horizontal action of wind) and equivalent loads Fd ϕ due to imperfections (see 7.3.2(5)) and other possible sway effects by the factor ksw:

| ksw=11-1αcr,sw |  |
| --- | --- |

(7.6)

provided that αcr,sw ≥ 3,0,

where

αcr,sw	     may be calculated according to (7.3) in 7.2.1(10)B, provided that the roof slope is shallow and that the axial compression in the beams or rafters is not significant as defined in 7.2.1(11)B.

NOTE	For αcr,sw < 3,0 a more accurate second order analysis applies.

(13)B For multi-storey frames, second order sway effects may be calculated by means of the method given in 7.2.2(12)B provided that all storeys have a similar distribution of:

—	vertical loads and

—	horizontal loads and

—	frame stiffness with respect to the applied storey shear forces.

NOTE	For the limitation of the method, see 7.2.2(12)B.

## Imperfections

### Basis

(1) Appropriate allowances should be incorporated in the structural analysis to cover the effects of imperfections, including residual stresses and geometrical imperfections such as lack of verticality, lack of straightness, lack of flatness, lack of fit and eccentricities greater than the essential tolerances given in EN 1090-2 present in joints of the unloaded structure.

(2) Equivalent geometrical imperfections should be used with values which reflect the possible effects of all types of imperfections, unless these effects are included in the resistance formulae for member design, see 7.3.3.

(3) The assumed shape of sway and bow imperfections may be derived from the elastic buckling modes of a structure in the plane of buckling considered.

(4) Both in-plane and out-of-plane buckling including torsional buckling with symmetric and asymmetric buckling shapes should be taken into account in the most unfavourable direction and form.

(5) The following imperfections should be taken into account as relevant:

—	sway imperfections for global analysis of frames (see 7.3.2 and 7.3.4);

—	bow imperfections for global and member analysis (see 7.3.3 and 7.3.4);

—	imperfections for analysis of bracing systems (see 7.3.5);

—	imperfections based on elastic critical buckling modes (see 7.3.6).

### Sway imperfections for global analysis of frames

(1) For frames sensitive to buckling in a sway mode (see 7.2.1(5)), the effect of imperfections should be taken into account in the frame analysis by means of an equivalent imperfection in the form of an initial sway imperfection ϕ (see Figure 7.4).

# Figure 7.4 — Initial sway imperfections

(2) The initial sway imperfection ϕ may be determined from Formula (7.7):

| ϕ=ϕ0 αH αm |  |
| --- | --- |

(7.7)

where

is the basic value:

ϕ0 = 1/400 for verification of elastic resistance of cross-sections and members;

ϕ0 = 1/200 for verification of plastic resistance of cross-sections and members;

is the reduction factor for height H applicable to columns:

| ϕ0 | is the basic value: |  |
| --- | --- | --- |
|  | ϕ0 = 1/400 for verification of elastic resistance of cross-sections and members; ϕ0 = 1/200 for verification of plastic resistance of cross-sections and members; |  |
| αH | is the reduction factor for height H applicable to columns: |  |
| αH=2H |  | but | αH≤1,0 |
| H | is the height of the structure in metres; |  |
| αm | is the reduction factor for the number of columns in a row: ; |  |
| m | is the number of columns in a row including only those columns which carry a vertical load NEd not less than 50 % of the average value of all the columns in the vertical plane considered. |  |

is the height of the structure in metres;

|  |  | αm=0,5 1+1m |  |
| --- | --- | --- | --- |

is the number of columns in a row including only those columns which carry a vertical load NEd not less than 50 % of the average value of all the columns in the vertical plane considered.

(3) The initial sway imperfection ϕ should apply in all relevant horizontal directions, but need only be considered in one direction at a time.

(4)B For building frames, sway imperfections may be disregarded if:

| HEd≥0,15 FEd |  |
| --- | --- |

(7.8)

where

| HEd | is the total design horizontal load; |
| --- | --- |
| Fd | is the total design vertical load. |

(5) The effects of sway imperfection may be replaced by systems of equivalent horizontal forces, introduced for each column, see Figure 7.5.

(6)B Where, in multi-storey beam-and-column building frames, equivalent forces are used, they should be applied at each floor and at roof level.

# Figure 7.5 — Replacement of initial sway imperfection by equivalent horizontal forces

### Equivalent bow imperfection for global and member analysis

#### Flexural buckling

(1) The equivalent bow imperfection, e0, of members for flexural buckling may be determined according to Formula (7.9).

| e0= αε β L |  |
| --- | --- |

(7.9)

where

| L | is the member length; |
| --- | --- |
| α | is the imperfection factor, depending on the relevant buckling curve according to Table 8.2; |
| ε | is the material parameter defined in 5.2.5(2); |
| β | is the reference relative bow imperfection according to Table 7.1. |

# Table 7.1 — Reference relative bow imperfection β

| Buckling about axis | Elastic cross-section verification | Plastic cross-section verification |
| --- | --- | --- |
| y-y | 1/110 | 1/75 |
| z-z | 1/200 | 1/68 |

NOTE	The values of e0 are determined by Formula (7.9) unless the National Annex gives different values.

(2) If the member is verified with reference to the plastic resistance of the cross-section:

—	For buckling about the y-y axis of I- or H-sections, the linear plastic interaction given in 8.2.1(7) should be used. This also applies to circular and rectangular hollow sections.

—	For buckling about the z-z axis of I- or H-sections, the relevant plastic interaction according to 8.2.9 may be used but the design plastic moment resistance Mpl,Rd should be limited to 1,25 Mel,Rd.

(3) The effects of equivalent bow imperfection may be replaced by systems of equivalent horizontal forces, introduced for each member, see Figure 7.6.

# Figure 7.6 — Replacement of equivalent bow imperfection by equivalent forces

(4) For the design of uniform built-up members according to 8.4, the amplitude e0 of the equivalent bow imperfection should be determined from Formula (7.10):

| e0= L500 |  |
| --- | --- |

(7.10)

where

L	     is the length of the built-up member.

#### Lateral torsional buckling

(1) For a second order analysis taking account of lateral torsional buckling of a member in bending, the equivalent bow imperfection for flexural buckling about the weak axis of the cross-section e0,LT may be determined according to Formula (7.11). In general, an additional torsional imperfection may be neglected.

| e0,LT= βLT Lε |  |
| --- | --- |

(7.11)

where

| L | is the member length; |
| --- | --- |
| ε | is the material parameter defined in 5.2.5(2); |
| βLT | is the reference relative bow imperfection for lateral torsional buckling according to Table 7.2. |

# Table 7.2 — Reference relative bow imperfection βLT for lateral torsional buckling

| Cross-section | Condition | Elastic cross-section verification | Plastic cross-section verification |
| --- | --- | --- | --- |
| rolled | h/b ≤ 2,0 | 1/250 | 1/200 |
|  | h/b > 2,0 | 1/200 | 1/150 |
| welded | h/b ≤ 2,0 | 1/200 | 1/150 |
|  | h/b > 2,0 | 1/150 | 1/100 |

NOTE	The values of e0,LT are determined by the Formula (7.11) unless the National Annex gives different values.

### Combination of sway and equivalent bow imperfections for global analysis of frames

(1) When performing the global analysis for determining end forces and end moments to be used in member checks according to 8.3, equivalent bow imperfections may be neglected. However, for frames sensitive to second order effects, equivalent bow imperfections of members additionally to global sway imperfections (see 7.2.2(3)) should be introduced in the structural analysis of the frame for each compressed member if the following conditions are met:

—	at least one moment resistant joint at one member end;

| NEd>0,25 Ncr— | (7.12) |
| --- | --- |

where

Ncr

| NEd | is the design value of the compression force and |
| --- | --- |
|  | is the critical axial force determined for in-plane flexural buckling of the member considered as hinged at its ends. |

NOTE	Equivalent bow imperfections are taken into account in member checks, see 7.2.2 (2).

### Imperfections for analysis of bracing systems

#### Horizontal bracing systems

(1) In the analysis of bracing systems which are required to provide lateral stability within the length of beams or compression members, the effects of imperfections should be included by means of an equivalent geometrical imperfection of the members to be restrained, in the form of an initial bow imperfection calculated from Formula (7.13):

| e0=αm L/500 |  |
| --- | --- |

(7.13)

where

L	     is the span of the bracing system

αm=0,5 1+1m

in which m is the number of members to be restrained.

(2) The effects of the initial bow imperfections of the members to be restrained by a bracing system, may be replaced by an equivalent load, qd, as shown in Figure 7.7, calculated from Formula (7.14):

| qd=NEd8e0+δqL2 |  |
| --- | --- |

(7.14)

where

| NEd | is the design value of the compression force |
| --- | --- |
| δq | is the in-plane deflection of the bracing system due to qd plus any external loads determined from first order analysis. δq may be taken as 0 if second order theory is used. |

(3) Where the bracing system is required to stabilize the compression flange of a beam of constant height, the force NEd in Figure 7.7 may be obtained from Formula (7.15):

| NEd= MEd/h |  |
| --- | --- |

(7.15)

where

| MEd | is the maximum moment in the beam |
| --- | --- |
| h | is the overall depth of the beam. |

(4) Where a beam is subjected to external compression, NEd in Formula (7.15) should include an appropriate part of the compression force.

NOTE	The force NEd is assumed uniform within the span L of the bracing system. For non-uniform forces, this is slightly conservative.

Key

| 1 | bracing system |
| --- | --- |

# Figure 7.7 — Equivalent load acting on the bracing system

#### Vertical bracings

(1)B For the determination of horizontal forces to floor diaphragms, imperfection should be included. Configuration of imperfections as given in Figure 7.8 may be applied, where ϕ is determined by the Formula (7.16) assuming a single storey height Hst.

| ϕ=αmαHϕ0 |  |
| --- | --- |

(7.16)

where

ϕ0=1200

| αm | is the reduction factor defined in 7.3.2(2) according to the number m of stabilized members; |
| --- | --- |
| αH | is the reduction factor defined in 7.3.2(2) where the height H should be taken equal to the storey height Hst. |

# Figure 7.8 — Configuration of imperfections ϕ for horizontal forces on floor diaphragms

(2) At points where beams or compression members are spliced, it should also be verified that the bracing system is able to resist a local force Qm according to Formula (7.17), applied to it by each beam or compression member which is spliced at that point, and to transmit this force to the adjacent points at which that compression member is restrained.

| Qm=αmNEd100 |  |
| --- | --- |

(7.17)

where

| αm | is the reduction factor defined in 7.3.2(2) according to the number m of stabilized members; |
| --- | --- |
| NEd | is the design value of the compression axial force in the stabilized member. |

### Imperfection based on elastic critical buckling modes

(1) As an alternative to 7.3.2 and to 7.3.3.1, the shape of the elastic critical buckling mode ηcr(x) of the frame structure or of the verified member may be used as the unique global and local initial imperfection. The shape of the equivalent geometrical imperfection ηinit(x) may be expressed using Formula (7.18):

| ηinitx=e0,mNcr,mEImη″crηcr(x) |  |
| --- | --- |

(7.18)

where

(7.19)

m

| e0,m=αmλm-0,2MRk,mNRk,m for λ m>0,2m |  |  |  | is an index that denotes the critical cross-section of the frame structure or of the verified member (see Note 4). Index m indicates the belonging to the critical cross-section; |
| --- | --- | --- | --- | --- |
|  |  | is the relative slenderness of the member determined at the critical cross-section m; |
|  |  | is the imperfection factor for the relevant buckling curve, see Table 8.2 and Table 8.3; |
| χm |  | is the reduction factor for the relevant buckling curve of the verified member depending on the relative slenderness , see 8.3.1.3; |
| Ncr,m = αcr NEd,m | is the value of critical axial force in the cross-section m and also the critical axial force for the equivalent member; |
| αcr | is the minimum force amplifier for the axial force configuration NEd in members to reach the elastic critical buckling load of the structure; |
| MRk,m | is the characteristic value of the moment resistance of the critical cross-section m, e.g. Mel,Rk,m or Mpl,Rk,m as relevant; |
| NRk,m | is the characteristic value of resistance to axial force of the critical cross-section; |
|  | is the absolute value of the bending moment due to ηcr,m at the critical cross-section m; |
| ηcr(x) | is the shape of the relevant (first or higher) elastic critical buckling mode. |

is an index that denotes the critical cross-section of the frame structure or of the verified member (see Note 4). Index m indicates the belonging to the critical cross-section;

| λm=NRk,mNcr,m |  |
| --- | --- |

αm	is the imperfection factor for the relevant buckling curve, see Table 8.2 and Table 8.3;

λm

is the value of critical axial force in the cross-section m and also the critical axial force for the equivalent member;

is the minimum force amplifier for the axial force configuration NEd in members to reach the elastic critical buckling load of the structure;

is the characteristic value of the moment resistance of the critical cross-section m, e.g. Mel,Rk,m or Mpl,Rk,m as relevant;

is the characteristic value of resistance to axial force of the critical cross-section;

EImη″cr	is the absolute value of the bending moment due to ηcr,m at the critical cross-section m;

is the shape of the relevant (first or higher) elastic critical buckling mode.

NOTE 1	The imperfection ηinitx in the shape of the elastic critical buckling mode is applicable generally for all members in compression and for frames buckling in their plane. It is especially suitable for members with cross-section characteristics and/or axial force not constant on their length and for frames containing such members.

NOTE 2	For calculating the amplifier αcr, the members of the structure are considered to be loaded by axial forces NEd resulting from the first order elastic analysis of the structure for the design loads.

NOTE 3	The critical cross-section m is the cross-section with the highest utilisation ratio regarding the effect of the axial force and the bending moments due to imperfections. For strongly irregular members, the position of the critical cross-section m might need to be determined using an iterative procedure.

(2) The expression EImηcr,m″ in Formula (7.18) may be replaced by Mη,cr,mIIαcr-1.

where

Mη,cr,mII	     is the bending moment in the cross-section m calculated by using the second order analysis of the structure with the imperfection in the shape of the elastic buckling mode ηcr.

(3) When the global analysis is carried out using the imperfection defined in (1), the cross-sections should be verified according to the criterion given in 8.2.1(7). If the criterion is applied with reference to the plastic resistance, the design value of the moment resistance Mc,Rd should be limited to 1,25 Mel,Rd. for both strong axis and weak axis.

## Methods of analysis considering material non-linearities

### General

(1) The internal forces and moments may be determined using either:

a)	Elastic global analysis (see 7.4.2) or

b)	Plastic global analysis (see 7.4.3).

NOTE	For finite element model (FEM) analysis, see EN 1993-1-14.

(2) Elastic global analysis may be used in all cases.

(3) Plastic global analysis may be used for structures with members made of steel grades up to S460 and where the structure has sufficient rotation capacity at the actual locations of the plastic hinges, whether this is in the members or in the joints.

a)	Where a plastic hinge occurs in a member, the member cross-sections should be doubly symmetric or single symmetric with a plane of symmetry in the same plane as the rotation of the plastic hinge, and it should satisfy the requirements specified in 7.6.

b)	Where a plastic hinge occurs in a joint according to the structural analysis, the joint should be able to sustain the plastic resistance for a sufficient rotation, see EN 1993-1-8.

NOTE	Rules for plastic global analysis based on plastic hinges for steel grades higher than S460 can be set by the National Annex. In that case, relevant rules such as those in 7.4.3 and 8.2.3 can be changed accordingly.

(4)B As a simplified method for a limited plastic redistribution of moments in continuous beams where following an elastic analysis some peak moments exceed the plastic bending resistance by 15 % maximum, the parts in excess of these peak moments may be redistributed in any member, provided, that:

a)	the internal forces and moments in the frame remain in equilibrium with the applied loads, and

b)	all the members in which the moments are reduced are of steel grades up to S460 and have Class 1 or Class 2 cross-sections (see 7.5), and

c)	lateral torsional buckling of the members is prevented, see 8.3.5.

### Elastic global analysis

(1) Elastic global analysis should be based on the assumption that the stress-strain behaviour of the material is linear, whatever the stress level is.

NOTE	For the choice of a semi-continuous joint model, see 7.1.2.

(2) Internal forces and moments may be determined according to elastic global analysis even if the resistance of a cross-section is based on its plastic resistance, see 8.2.

### Plastic global analysis

(1) Plastic global analysis allows for the effects of material non-linearity in calculating the action effects of a structural system. The behaviour should be modelled by either of the two methods depending on the conditions indicated in (4) to (8):

a)	Plastic hinge method: the non-linear material behaviour is concentrated in plastified sections and/or joints as plastic hinges;

b)	Plastic zone method: the partial plastification of members in plastic zones is explicitly considered.

(2) Plastic global analysis may be used if sufficient lateral restraint is provided in the vicinity of sections where a plastic hinge or a plastic zone can develop under the design loads, see 8.3.5.

(3) For steel grades up to S460, the bi-linear stress-strain relationship indicated in Figure 7.9 may be used.

Key

| X | strain |
| --- | --- |
| Y | stress |

# Figure 7.9 — Bi-linear stress-strain relationship

(4) In case of modelling as plastic hinges, see (1) a):

—	Only steel grades up to S460 (including) and steels satisfying the conditions in 5.2.2 a) may be used;

—	Plastic global analysis may only be used where the members (or joints) are capable of sufficient rotation capacity to enable the required redistribution of bending moments to develop, see 7.5 and 7.6.

NOTE	For steel grades higher than S460, see (7) and (8).

(5) In case of modelling as plastic hinges and if second order effects can be neglected (see 7.2.1(4) and 7.2.1(5)), rigid plastic analysis neglecting the elastic behaviour between hinges may be used. In this case joints are classified only by strength, see EN 1993-1-8.

(6) In case of modelling as plastic hinges and if second order effects have to be considered, elastic plastic analysis should be carried out. The effects of deformed geometry of the structure and the structural stability of the frame should be verified according to the principles in 7.2.

(7)When using plastic analysis, the conditions (7.1) and (7.2) should apply for the system before forming the last plastic hinge or should be checked for each individual system along the formation of the different plastic hinges, up to reach the design loads.

NOTE	The maximum resistance of a frame with significantly deformed geometry can occur before all hinges of the first order collapse mechanism have developed.

(8) If steel grades higher than S460 are used, plastic analysis should be performed considering partial plastification in plastic zones according to the plastic zone method given in (1) b).

(9) In case of modelling members with partial plastification in plastic zones, see (1) b):

—	Rules for design with finite element method are given in EN 1993-1-14;

—	Steel grades higher than S460 may be used provided that the stress-strain curves including strain limitations are considered and, if appropriate, also the effects of local plate imperfections according to EN 1993-1-14.

(10) In case of material non-linearities, the action effects in a structure may be determined incrementally based on the design loads for each relevant design situation. In this incremental approach, each permanent or variable action should be increased proportionally.

## Classification of cross-sections

### Basis

(1) Cross-sections should be classified depending on the extent to which their resistance and rotation capacity is limited by their local buckling resistance.

### Classification

(1) For the determination of its resistance, a cross-section should be classified according to one of the four following classes:

—	Class 1 cross-sections are those which can form a plastic hinge with the rotation capacity required from plastic analysis without reduction of the resistance.

—	Class 2 cross-sections are those which can develop their plastic moment resistance, but have limited rotation capacity because of local buckling.

—	Class 3 cross-sections are those in which the stress in the extreme compression fibre of the steel member assuming an elastic distribution of stresses can reach the yield strength, but local buckling is liable to prevent development of the plastic moment resistance.

—	Class 4 cross-sections are those in which local buckling will occur before the attainment of yield strength in any part of the cross-section.

(2) In Class 4 cross-sections, effective widths may be used to make the necessary allowances for reductions in resistance due to the effects of local buckling, see EN 1993-1-5.

(3) Cross-sections should be classified depending on the width to thickness ratio, the yield strength and the stress distribution of the parts subject to compression.

NOTE	The various compression parts in a cross-section (such as a web or flange) can, in general, be in different classes.

(4) Compression parts should include every part of a cross-section which is either totally or partially in compression under the load combination considered.

(5) A cross-section should be classified according to the highest (least favourable) Class of its compression parts. Exceptions are specified in 8.2.1(10) and 8.2.2.4(1).

(6) Alternatively, the classification of a cross-section may be defined by quoting both the flange classification and the web classification.

(7) The maximum width-to-thickness ratios for Class 1, 2, and 3 compression parts should be obtained from Table 7.3. They depend on the material parameter ε defined in 5.2.5(2). A part which fails to satisfy the limits for Class 3 should be taken as Class 4.

(8) For compression parts with longitudinal stiffeners, EN 1993-1-5 should be applied.

(9) Except as given in (10), Class 4 sections may be treated as Class 3 sections if the width to thickness ratios are less than the limiting proportions for Class 3 obtained from Table 7.3 when ε is increased byfyγM0σcom,Ed, where σcom,Ed is the maximum design compressive stress in the part taken from first order or where necessary second order analysis.

(10) However, when verifying the design buckling resistance of a member using 8.3, the limiting proportions for Class 3 should always be obtained from Table 7.3.

(11) Cross-sections with a Class 3 web and Class 1 or 2 flanges may be classified as Class 2 cross-sections with an effective web in accordance with 8.2.2.4.

(12) Where the web is considered to resist shear forces only and is assumed not to contribute to the bending and axial force resistance of the cross-section, the cross-section may be designed as Class 2, 3 or 4 sections, depending only on the flange class.

NOTE	For flange induced web buckling see EN 1993-1-5.

## Cross-section requirements for plastic global analysis

(1) At plastic hinge locations, the cross-section of the member which contains the plastic hinge should have a rotation capacity of not less than the one required at this location.

(2) In a uniform member sufficient rotation capacity may be assumed at a plastic hinge if both the following requirements are satisfied:

a)	the member has Class 1 cross-section at the plastic hinge location (see 7.5.2 for cross-section classification);

b)	where a transverse force that exceeds 10 % of the shear resistance of the cross-section, see 8.2.6, is applied to the web at the plastic hinge location, web stiffeners should be provided within a distance along the member of h/2 from the plastic hinge location, where h is the height of the cross-section.

(3) Where the cross-section of the member varies along its length, the following criteria should be satisfied in addition to those given in (2):

a)	Adjacent to plastic hinge locations, the thickness of the web should not be reduced for a distance each way along the member from the plastic hinge location of at least 2hw, where hw is the clear depth of the web at the plastic hinge location.

b)	Adjacent to plastic hinge locations, the compression flange should be Class 1 for a distance each way along the member from the plastic hinge location of not less than the greater of:

—	2hw, where hw is as defined in (3)a)

- —	the distance to the adjacent point at which the moment in the member has fallen to 80 % of the plastic moment resistance at the point concerned.

c)	Elsewhere in the member the compression flange should be Class 1 or Class 2 and the web should be Class 1, Class 2 or Class 3.

(4) Adjacent to plastic hinge locations, any fastener holes in tension should satisfy 8.2.5(4) for a distance such as defined in (3) b) each way along the member from the plastic hinge location.

(5) For plastic design of a frame, regarding cross-section requirements, the capacity of plastic redistribution of moments may be assumed sufficient if the requirements in (2) to (4) are satisfied for all members where plastic hinges exist, can occur or have occurred under design loads.

(6) The provisions in (2) to (5) may be disregarded if methods of plastic global analysis are used, which consider the real stress and strain behaviour along the member including the combined effect of local, member and global buckling,.

# Table 7.3 — Maximum width-to-thickness ratios for compression parts (sheet 1 of 3)

| Internal compression parts |  |  |  |  |
| --- | --- | --- | --- | --- |
| Key 1 Axis of bending |  |  |  |  |
| Stress distribution in parts (compression positive) |  |  |  |  |
| Class 1 | c/t ≤ 72 ε | c/t ≤ 28 ε | &when αc>0,5: c/t≤126 ε5,5 αc-1&when αc≤0,5: c/t≤36 εαc& |  |
| Class 2 | c/t ≤ 83 ε | c/t ≤ 34 ε | &when αc>0,5: c/t≤188 ε6,53 αc-1&when αc≤0,5: c/t≤41,5 εαc |  |
| Stress distribution in parts (compression positive) |  |  |  |  |
| Class 3 | c/t ≤ 121 ε | c/t ≤ 38 ε | &when ψ>-1: c/t≤38 ε0,608+0,343 ψ+0,049 ψ2&when ψ≤-1a : ct≤60,5 ε (1-ψ) |  |
| For I or H sections with equal flanges, under axial force and bending moment about the main axis parallel to the flanges, the parameter αc that defines the position of the plastic neutral axis may be calculated as follows: If Ned ≥ c tw fy αc = 1,0 If Ned ≤ −c tw fy αc = 0 In other cases: αc=0,51+NEdc tw fy Where NEd is the design axial force taken as positive for compression and negative for tension. |  |  |  |  |
| a ψ ≤ −1 and a compression stress of σcom,Ed = fy applies where the tensile strain εt > fy/E |  |  |  |  |

| Table 7.3 — Maximum width-to-thickness ratios for compression parts (sheet 2 of 3) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Outstand flanges |  |  |  |  |  |  |  |
| Rolled sections |  |  |  | Welded sections |  |  |  |
| Stress distribution in parts (compression positive) |  |  |  |  |  |  |  |
| Class 1 | c/t ≤ 9 ε |  | c/t≤9εαc |  | c/t≤9εαcαc |  |  |
| Class 2 | c/t ≤ 10 ε |  | c/t≤10εαc |  | c/t≤10εαcαc |  |  |
| Stress distribution in parts (compression positive) |  |  |  |  |  |  |  |
| Class 3 | c/t ≤ 14 ε |  | c/t≤21 εkσ For kσ see EN 1993-1-5 |  |  |  |  |

| Table 7.3 — Maximum width-to-thickness ratios for compression parts (sheet 3 of 3) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Refer also to “Outstand flanges” (see sheet 2 of 3) |  | Angles |  |  |  | Does not apply to angles in continuous contact with other components |  |  |  |
| Stress distribution across section (compression positive) |  |  |  |  |  |  |  |  |  |
| Class 3 | ht≤15 ε and b+h2t≤11,5 ε |  |  |  |  |  |  |  |  |
| Circular and elliptical hollow sections |  |  |  |  |  |  |  |  |  |
|  | Section in compression |  |  | Section in bending |  |  | Compression and bending |  |  |
| Class 1 | de/t ≤ 50 ε2 |  |  | de/t ≤ 50 ε2 |  |  | de/t ≤ 50 ε2 |  |  |
| Class 2 | de/t ≤ 70 ε2 |  |  | de/t ≤ 70 ε2 |  |  | de/t ≤ 70 ε2 |  |  |
| Class 3 | de/t ≤ 90 ε2 |  |  | de/t ≤ 140 ε2 |  |  | de/t≤2520 ε25ψ+23 |  |  |
| Equivalent diameter de for circular and elliptical hollow sections |  |  |  |  |  |  |  |  |  |
| For circular hollow sections: |  |  | de = d |  |  |  |  |  |  |
| For elliptical hollow sections: |  |  |  |  |  |  |  |  |  |
| In compression: |  |  | de=h1+1-2,3th0,6hb-1 or, conservatively: de=h2b |  |  |  |  |  |  |
| In bending about the strong axis: |  |  | For h/b≤1,36: de=b2h |  | For h/b>1,36: de=0,4 h2b |  |  |  |  |
| In bending about the weak axis, or compression and bending about the weak axis: |  |  |  |  |  |  |  | de=h2b |  |
| In compression and bending about the strong axis, the equivalent diameter de may be determined by linear interpolation between the equivalent diameter for compression and that for bending based on the parameter αc for Class 1 and Class 2 cross-sections and ψ for Class 3 and Class 4 cross-sections. In compression and biaxial bending, the equivalent diameter de may be taken as the interpolated equivalent diameter for compression and bending about the strong axis, as described above, but with αc and ψ determined using a modified axial force equal to Ned + Mz,Ed A/Wpl,z for Class 1 and Class 2 cross-sections and Ned + Mz,Ed A/Wel,z for Class 3 and Class 4 cross-sections. |  |  |  |  |  |  |  |  |  |

# Ultimate limit states

## Partial factors

(1) The partial factors γMi as defined in 4.4.5(1) should be applied to the characteristic values of the following resistances:

- --

| — | resistance of cross-sections (whatever the class is): | γM0 |
| --- | --- | --- |
| — | resistance of members to instability assessed by member checks: | γM1 |
| — | resistance of cross-sections in tension to fracture: | γM2 |
| — | resistance of joints: | see EN 1993-1-8 |

NOTE 1B	The partial factors γMi for buildings are given below unless the National Annex gives different values:

γM0 = 1,00

γM1 = 1,00

γM2 = 1,25

NOTE 2B	Annex E provides information on the basis for the calibration of the partial factors γMi for buildings.

NOTE 3	For structures other than buildings, values of partial factors γMi are given in other parts of EN 1993 as relevant. For structures not covered by EN 1993-2 to EN 1993-7, the values of partial factors γMi are given in EN 1993-2 unless the National Annex gives different values.

## Resistance of cross-sections

### General

(1)P The design value of an action effect at each cross-section shall not exceed the corresponding design resistance. If several action effects act simultaneously, the combined effect shall not exceed the resistance for that combination.

(2) Shear lag effects and local buckling effects should be determined by considering an effective width according to EN 1993-1-5. Shear buckling effects should also be taken into account according to EN 1993-1-5.

(3) The design values of resistance may be based on the elastic resistance or the plastic resistance and should be determined based on the classification of the cross-section.

(4) Design according to the elastic resistance may be carried out for all cross-sectional classes. For Class 4 cross-sections, the effective cross-sectional properties should be used to determine the elastic resistance.

(5) For elastic design, the yield criterion for the critical point of the cross-section given in criterion (8.1) may be used, unless other interaction criteria apply, see 8.2.8 to 8.2.10, and Annex C.

| σEq,EdfyγM0≤1,0 |  |
| --- | --- |

(8.1)

where

(8.2)

| σx,EdσEq,Ed=σx,Ed2+σz,Ed2-σx,Ed σz,Ed+3τEd2 |  |  | is the design value of the longitudinal normal stress at the point of consideration; |
| --- | --- | --- | --- |
| σz,Ed | is the design value of the transverse normal stress at the point of consideration; |
| τEd | is the design value of the shear stress at the point of consideration. |

σx,Ed	is the design value of the longitudinal normal stress at the point of consideration;

is the design value of the transverse normal stress at the point of consideration;

NOTE	Verification according to (5) can be conservative as it excludes partial plastic stress distribution.

(6) Design according to the plastic resistance should be carried out by establishing a stress distribution which is in equilibrium with the internal forces and moments without exceeding the yield strength. This stress distribution should be compatible with the associated plastic deformations.

(7) As a conservative approximation for all cross-sectional classes, a linear summation of the utilization ratios for each stress resultant may be used. For Class 1, Class 2 or Class 3 cross-sections subjected to the combination of NEd, My,Ed and Mz,Ed this method may be applied by using the criterion (8.3):

| NEdNRd+My,EdMy,Rd+Mz,EdMz,Rd≤1,0 |  |
| --- | --- |

(8.3)

where

NRd, My,Rd and Mz,Rd are the design values of the resistance depending on the cross-sectional classification and including any reduction that may be caused by shear effects, see 8.2.8.

NOTE 1	For members with torsion, see condition (C.6).

NOTE 2	For Class 4 cross-sections, see 8.2.9.3(2).

(8) Where all compression parts of a cross-section are Class 1 or Class 2, the cross-section may be taken as capable of developing its full plastic resistance in bending.

(9) Where all compression parts of a cross-section are Class 3, its resistance should be based on an elastic distribution of stresses across the cross-section. Compressive stresses should be limited to the yield strength at the extreme fibres.

(10) For Class 3 cross-sections, partial plastification may be taken into account.

NOTE	See 8.2.2.6 and Annex B.

(11) For Class 3 cross-sections where yielding first occurs on the tension side of the cross-section, the plastic reserves of the tension zone may be utilized by accounting for partial plastification.

### Section properties

#### Gross cross-section

(1) Properties of the gross cross-section should be determined according to the nominal dimensions. Holes for fasteners may be neglected, but larger openings should be taken into account. Splice materials should not be included.

#### Net area

(1) The net area Anet of a cross-section should be taken as its gross area less appropriate deductions for all holes and other openings, see Formula (8.4).

| Anet=A-ΔAnet |  |
| --- | --- |

(8.4)

where

A	is the gross cross-section area;

ΔAnet	is the section area to be deducted to take into account the holes.

(2) The net area deduction for a hole should be the gross cross-sectional area of the hole in the plane of the cross-section. For countersunk holes, appropriate allowance should be made for the countersunk portion.

(3) Where holes are not staggered, the total area to be deducted should be the maximum sum of the gross cross-sectional areas of the holes in any cross-section perpendicular to the member axis (see failure plane ② in Figure 8.1).

NOTE	The maximum sum denotes the position of the critical fracture line.

(4) Where holes are staggered, the total area ΔAnet to be deducted should be the greater of:

a)	the deduction for staggered holes (failure plane ① in Figure 8.1)

| ΔAnet,1=t n1d0-∑s24p2 |  |
| --- | --- |

(8.5)

b)	the deduction for non-staggered holes given in (3) (failure plane ② in Figure 8.1)

| ΔAnet,2=n2d0t |  |
| --- | --- |

(8.6)

where

| s | is the staggered pitch, the spacing of the centres of two consecutive holes in the chain measured parallel to the member axis; |
| --- | --- |
| p2 | is the spacing of the centres of the same two holes measured perpendicular to the member axis; |
| t | is the thickness; |
| n1 | is the number of holes extending in any diagonal or zig-zag line progressively across the member or part of the member, see failure plane ① in Figure 8.1; |
| n2 | is the number of holes in a section where the holes are not staggered; see failure plane ② in Figure 8.1; |
| d0 | is the diameter of the hole. |

# Figure 8.1 — Staggered holes and critical failure lines 1 and 2

(5) In an angle or other member with holes in more than one plane, the spacing p should be measured along the centre of thickness of the material (see Figure 8.2).

NOTE	Further details on net section verifications of angles are given in EN 1993-1-8.

# Figure 8.2 — Angles with holes in both legs

#### Shear lag effects

(1) Shear lag effects should be considered by calculating an effective width according to EN 1993-1-5.

(2) In Class 4 sections the interaction between shear lag and local buckling should be considered according to EN 1993-1-5.

NOTE	For cold formed members (other than structural hollow sections conforming to EN 10219), see EN 1993-1-3.

#### Effective properties of cross-sections with Class 3 webs and Class 1 or 2 flanges

(1) For cross-sections with a Class 3 web and Class 1 or Class 2 flanges classified as effective Class 2 cross-sections, see 7.5.2(11), the effective cross-sectional properties should be determined replacing the portion of the web in compression by an effective part of 20εtw adjacent to the compression flange and another part of 20εtw adjacent to the plastic neutral axis of the effective cross-section in accordance with Figure 8.3.

Key

| 1 | compression |
| --- | --- |
| 2 | tension |
| 3 | plastic neutral axis |
| 4 | neglect |

# Figure 8.3 — Effective Class 2 web

#### Effective cross-section properties of Class 4 cross-sections

(1) The effective cross-section properties of Class 4 cross-sections should be based on the effective widths of the compression parts.

NOTE	For cold formed sections (other than structural hollow sections conforming to EN 10219), see EN 1993-1-3.

(2) The effective widths of planar compression parts should be determined according to EN 1993-1-5.

(3) Where a Class 4 cross-section is subjected to an axial compression force NEd, the method given in EN 1993-1-5 should be used to determine the possible shift eN of the centroid of the effective area Aeff relative to the centroid of the gross cross-section and the resulting additional moment:

| ΔMEd=NEd eN |  |
| --- | --- |

(8.7)

NOTE	The sign of the additional moment depends on the effect in the combination of internal forces and moments, see 8.2.9.3(2).

(4) For Class 4 circular or elliptical hollow sections conforming to EN 10210-1, EN 10210-2, EN 10219-1 or EN 10219-2, in compression, the effective cross-sectional area Aeff may be determined using the equivalent diameter de according to Table 7.3 (sheet 3 of 3) and the thickness t as:

| Aeff=A90 ε2det | for de/t≤240 ε2 | (8.8) |
| --- | --- | --- |

(5) For Class 4 circular or elliptical hollow sections conforming to EN 10210-1, EN 10210-2, EN 10219-1 or EN 10219-2, in bending, the effective section modulus Weff may be determined using the equivalent diameter de according to Table 7.3 (sheet 3 of 3) and the thickness t as:

| Weff=Wel4140 ε2det | for de/t≤240 ε2 | (8.9) |
| --- | --- | --- |

NOTE	For Class 4 circular or elliptical hollow sections exceeding the limit of de/t specified in (4) and (5), see EN 1993-1-6.

#### Section properties for the characteristic resistance

(1) The characteristic resistance to an axial force NRk and the characteristic moment resistance MRk should be determined using the section properties from Table 8.1, according to the class of the cross-section, as follows:

| NRk=Ai fy |  |
| --- | --- |
| My,Rk=Wy fy |  |
| Mz,Rk=Wz fy |  |

(8.10)

(8.11)

(8.12)

# Table 8.1 — Section properties according to the class of the cross-section

| Class | 1 | 2 | 3 | 4 |
| --- | --- | --- | --- | --- |
| Section area Ai | A | A | A | Aeff |
| Section modulus Wy | Wpl,y | Wpl,y | Wel,ya, b | Weff,yb |
| Section modulus Wz | Wpl,z | Wpl,z | Wel,za, b | Weff,zb |
| a Alternatively, Wep,y or Wep,z may be used, see Annex B. b The elastic section modulus corresponds to the extreme fibre with the maximum elastic stress. |  |  |  |  |

### Tension

(1)P The design value of the tension force NEd at each cross-section shall satisfy the criterion (8.13):

| NEdNt,Rd≤1,0 |  |
| --- | --- |

(8.13)

where

Nt,Rd	     is the design tension resistance. For the gross cross-section, it is given by:

| Nt,Rd=Npl,Rd=A fyγM0 |  |
| --- | --- |

(8.14)

(2) For cross-sections with holes, the design tension resistance Nt,Rd should be taken as the smaller of:

a)	the design plastic resistance of the gross cross-section according to (8.14);

b)	the design ultimate resistance of the net cross-section considering holes:

| Nu,Rd=k Anet fuγM2 |  |  |
| --- | --- | --- |

(8.15)

where

| k = 1,0 | for sections with smooth holes (i.e. holes without notches), for example holes fabricated by drilling or water jet cutting; |
| --- | --- |
| k = 0,9 | for sections with rough holes (i.e. holes with notches), for example holes fabricated by punching or flame cutting; |
| k = 0,9 | for structures subjected to fatigue. |

(3) Where capacity design according to EN 1998 (see 3.1.10) is required, the design plastic resistance Npl,Rd of the gross cross-section should be less than the design ultimate resistance of the net cross-section considering holes Nu,Rd. Steel grades higher than S460 should not be used where capacity design is required.

(4) For category C connections according to EN 1993-1-8, the design tension resistance Nt,Rd of the net cross-section considering holes for fasteners should be taken as Nnet,Rd, from Formula (8.16):

| Nnet,Rd=Anet fyγM0 |  |
| --- | --- |

(8.16)

NOTE	For angles connected by one leg and other asymmetrically connected members in tension, see EN 1993-1-8.

### Compression

(1)P The design value of the compression force NEd at each cross-section shall satisfy:

| NEdNc,Rd≤1,0 |  |
| --- | --- |

(8.17)

(2) The design resistance of the cross-section for uniform compression Nc,Rd should be taken as:

| Nc,Rd=NRkγM0 |  |
| --- | --- |

(8.18)

where

NRk	     is the characteristic resistance to an axial force according to 8.2.2.6.

(3) Fastener holes, except for oversize and slotted holes as defined in EN 1090-2, may be neglected in compression members if they are filled by fasteners.

(4) For asymmetric Class 4 cross-sections, the method given in 8.2.9.3 should be used to take into account the additional moment ΔMEd due to the eccentricity of the centroidal axis of the effective cross-section, see 8.2.2.5(3).

### Bending

(1)P The design value of the bending moment MEd at each cross-section shall satisfy the criterion (8.19):

| MEdMc,Rd≤1,0 |  |
| --- | --- |

(8.19)

where

Mc,Rd	     is determined considering fastener holes, see (4) to (6).

(2) The design bending moment resistance of the cross-section for bending about one principal axis Mc,Rd, should be calculated from Formula (8.20):

| Mc,Rd=MRkγM0 |  |
| --- | --- |

(8.20)

where

MRk	     is the characteristic value of the resistance to bending moment according to 8.2.2.6, for the appropriate axis of bending.

(3) For bending about both axes, the methods given in 8.2.9 should be used.

(4) Holes in the tension flange may be ignored if for the tension flange the condition (8.21) is satisfied:

| At,net k fuγM2≥At fyγM0 |  |
| --- | --- |

(8.21)

where

| k | is defined in 8.2.3(2); |
| --- | --- |
| At,net | is the net area of the tension flange; |
| At | is the area of the tension flange. |

NOTE	The criterion in (4) provides capacity design (see 3.1.9).

(5) Holes in the tension zone of the web may be ignored if the limit given in (4) is satisfied for the complete tension zone comprising the tension flange plus the tension zone of the web.

(6) Fastener holes except for oversize and slotted holes in the compression zone of the cross-section may be neglected provided that they are filled by fasteners.

### Shear

(1)P The design value of the shear force VEd at each cross-section shall satisfy the criterion (8.22):

| VEdVc,Rd≤1,0 |  |
| --- | --- |

(8.22)

where

Vc,Rd is the design shear resistance. For plastic design Vc,Rd is the design plastic shear resistance Vpl,Rd. For elastic design, verification of the cross-section should be made using the yield criterion in (4) and (5).

(2) In the absence of torsion the design plastic shear resistance Vpl,Rd should be calculated from Formula (8.23):

| Vpl,Rd=Avfy3γM0 |  |
| --- | --- |

(8.23)

where

Av	     is the shear area.

(3) Depending on the section, the shear area Av may be taken as follows:

a)	in rolled I and H sections, for load parallel to the web:

A-2btf+tw+2r tf   but not less than ηhwtw

b)	in rolled I and H sections, for load parallel to the flanges:	2btf

c)	in rolled channel sections, for load parallel to the web:	A-2btf+tw+r tf

d)	in T-sections, for load parallel to the web

—	for rolled T-sections:	A-btf+tw+2rtf2

—	for welded T-sections:	twh-tf2

e)	in welded I, H and box sections, for load parallel to the web:	η∑hwtw

f)	in welded I, H, channel and box sections, for load parallel to the flanges: 	A-∑hwtw

g)	in rolled rectangular hollow sections of uniform thickness:

—	for load parallel to the depth:	    A h/(b + h)

—	for load parallel to the width:	    A b/(b + h)

h)	in circular hollow sections and tubes of uniform thickness:	2A/π

i)	in elliptical hollow sections of uniform thickness:

—	for load parallel to the depth:	      2 (h − t) t

—	for load parallel to the width:	      2 (b − t) t

where

--

| A | is the cross-sectional area; |
| --- | --- |
| b | is the overall width; |
| h | is the overall depth; |
| hw | is the depth of the web measured between the flanges, see Figure 3.1; |
| r | is the root radius; |
| tf | is the flange thickness; |
| tw | is the web thickness (if the web thickness is not constant tw should be taken as the minimum thickness); |
| t | is the thickness of the hollow section; |
| η | see EN 1993-1-5. |

NOTE	η can conservatively be taken as 1,0.

(4) For elastic design, the yield criterion (8.24) for the critical point of the cross-section may be used, unless shear buckling verification according to EN 1993-1-5 is required:

| τEdfy3 γM0≤1,0 |  |
| --- | --- |

(8.24)

The design value of the shear stress τEd may be calculated from Formula (8.25):

| τEd=VEd SI t |  |
| --- | --- |

(8.25)

where

| VEd | is the design value of the shear force; |
| --- | --- |
| S | is the first moment of area about the centroidal axis of the portion of the cross-section between the verification point at which the shear stress is calculated and the boundary of the cross-section; |
| I | is the moment of inertia of the whole cross-section; |
| t | is the thickness at the verification point. |

NOTE	Verification according to (4) can be conservative as it excludes partial plastic shear distribution, which is permitted in elastic design.

(5) For I- or H-sections, the design value of the shear stress τEd in the web may be calculated from Formula (8.26):

| τEd=VEdAw | if Af/Aw≥0,6 | (8.26) |
| --- | --- | --- |

where

Aw=hw tw.

| Af | is the area of one flange; |
| --- | --- |
| Aw | is the area of the web: |

(6) The shear buckling resistance for webs without intermediate stiffeners should be determined according to EN 1993-1-5, if the web slenderness is such that the condition (8.27) applies:

| hwtw>72εη |  |
| --- | --- |

(8.27)

For the value of η see EN 1993-1-5. For the criterion (8.27), η = 1,2 may be assumed.

NOTE	For shear buckling resistance, EN 1993-1-5 covers panels supported on four edges only.

(7) For circular or elliptical hollow sections of uniform thickness, the shear buckling resistance should be determined according to EN 1993-1-6 if:

(d-t)/t>100 ε2	—	 for circular hollow sections;

(h-t)/t>100 ε2	—	 for elliptical hollow sections loaded parallel to the depth;

(b-t)/t>100 ε2	—	 for elliptical hollow sections loaded parallel to the width.

(8) Fastener holes should be considered for the verification of the design shear resistance at connection zones in accordance with EN 1993-1-8 but may be neglected elsewhere.

### Torsion

(1) The total torsional moment TEd at any cross-section should be considered as the sum of two internal effects as indicated in Formula (8.28):

| TEd=Tt,Ed+Tw,Ed |  |
| --- | --- |

(8.28)

where

| Tt,Ed | is the design value of the internal St. Venant torsional moment; |
| --- | --- |
| Tw,Ed | is the design value of the internal warping torsional moment. |

(2) The values of Tt,Ed and Tw,Ed at any cross-section may be determined from the total torsional moment TEd by elastic analysis, taking account of the section properties of the member, the conditions of restraint at the supports and the distribution of the actions along the member.

(3) For elastic design of members subject to a torsional moment, the criterion in 8.2.1(5) may be applied. The following stresses due to torsion should be taken into account:

—	the longitudinal stresses σw,Ed due to the bimoment BEd;

—	the shear stresses τt,Ed due to St. Venant torsion Tt,Ed;

—	the shear stresses τw,Ed due to warping torsion Tw,Ed.

(4) As a simplification, in the case of a member with a hollow cross-section, the effects of torsional warping may be neglected. Also as a simplification, in the case of a member with open cross-section, such as I or H, the effects of St. Venant torsion may be neglected.

(5) For a Class 1 or Class 2 cross-section, the verification may refer to its plastic resistance and the torsion effects of the bimoment BEd may be derived from an elastic analysis, see (2).

(6) For determining the plastic moment resistance of a cross-section due to bending and torsion, only torsion effects BEd should be derived from elastic analysis, see (3).

(7) For Class 1 or Class 2 symmetric I-cross-sections in bending about the major axis, the design plastic bending moment resistance Mc,B,Rd reduced by the bimoment BEd may be calculated from Formula (8.29):

| Mc,B,Rd=1-BEdBRdMpl,Rd |  |
| --- | --- |

(8.29)

where

BRd

is the design value of the plastic resistance to bimoment;

| BRd=WB,pl fy γM0 |  | is the design value of the plastic resistance to bimoment; |  |
| --- | --- | --- | --- |
| WB,pl | is the plastic section modulus for the plastic resistance to bimoment. |

is the plastic section modulus for the plastic resistance to bimoment.

NOTE	For doubly symmetric I- and H-sections: WB,pl = 0,25 tf b2(h − tf).

(8) For the verification of the resistance of closed hollow sections, the design shear resistance of the individual parts of the cross-section according to EN 1993-1-5 should be taken into account if shear buckling is relevant.

(9) Where the torsional moment is combined with a shear force, the plastic shear resistance should be reduced from Vpl,Rd to Vpl,T,Rd and the design shear force should satisfy:

| VEdVpl,T,Rd≤1,0 |  |
| --- | --- |

(8.30)

in which Vpl,T,Rd should be taken as:

—	for an I or H section:

| Vpl,T,Rd=1-τt,Ed1,25 fy3 /γM0 Vpl,Rd |  |
| --- | --- |

(8.31)

—	for a channel section:

| Vpl,T,Rd=1-τt,Ed1,25 fy3 /γM0-τw,Edfy3 /γM0 Vpl,Rd |  |
| --- | --- |

(8.32)

—	for a structural hollow section:

| Vpl,T,Rd=1-τt,Edfy3 /γM0 Vpl,Rd |  |
| --- | --- |

(8.33)

### Combined bending and shear

(1) Where bending moment and shear force are present, the effect of shear force on the bending moment resistance of the cross-section should be considered.

(2)P The design value of the bending moment MEd at each cross-section shall satisfy the criterion (8.34):

| MEdMV,Rd ≤1,0 |  |
| --- | --- |

(8.34)

where

MV,Rd	     is the design plastic moment resistance reduced due to the shear force VEd.

(3) The effect of the shear force VEd on the design bending moment resistance Mc,Rd may be neglected if the condition (8.35) is satisfied:

| VEd≤ηVVpl,Rd |  |
| --- | --- |

(8.35)

Where shear buckling reduces the section resistance, see 8.2.6(6), 8.2.6(7) and EN 1993-1-5.

NOTE	The value of ηV is 0,5 unless the National Annex gives a different value depending on the type of section. Modifications of ρ in Formulae (8.37), (8.40) and (8.61) can be given accordingly.

(4) In all other cases, the reduced design bending moment resistance of the cross-section to the combination of bending moment and shear force should be taken as the design bending moment resistance of the cross-section determined using a reduced yield strength fy,red for the cross-sectional area affected by shear:

| fy,red=1-ρfy |  |
| --- | --- |

(8.36)

where

| ρ=2 VEdVc,Rd-12 |  |
| --- | --- |

(8.37)

Vc,Rd	      is taken as Vpl,Rd obtained from 8.2.6(2).

For circular and elliptical hollow sections of uniform thickness, the reduced moment resistance should be taken as the design resistance of the cross-section calculated using the reduced yield strength fy,red from Formula (8.36) for the full cross-section area.

(5) Instead of reducing the yield strength, the plate thickness of the relevant part of the cross section may be reduced.

(6) When torsion is present Vc,Rd should be taken as Vpl,T,Rd from 8.2.7.

(7) For I-sections with Class 1 and Class 2 cross-sections, if torsion is present, the reduced design plastic moment resistance MB,V,Rd should be taken as the design resistance of the cross-section calculated using a reduced yield strength fy,red as follows:

| fy,red=1-ρfyMc,B,RdMc,Rd | for the shear area | (8.38) |
| --- | --- | --- |
| fy,red=fyMc,B,RdMc,Rd | for the rest of the cross-section | (8.39) |

where

Mc,B,Rd	is given in 8.2.7(7). In the absence of warping torsion: Mc,B,Rd = Mc,Rd

| ρ=2 VEdVpl,T,Rd-12 | see 8.2.7, but should be taken as 0 for VEd ≤ ηV Vpl,T,Rd | (8.40) |
| --- | --- | --- |

where

ηV	     is given in 8.2.8(3).

(8) Alternatively, for doubly symmetric I-sections with Class 1 and Class 2 cross-sections under bending about the major axis y-y, the reduced design plastic moment resistance allowing for the shear force and the bimoment may be obtained,  as follows:

| My,B,V,Rd=Wpl,y-ρ Aw24 tw fyγM0My,c,B,RdMy,c,Rd | but My,B,V,Rd≤My,c,B,Rd | (8.41) |
| --- | --- | --- |

where

My,c,Rd	is obtained from 8.2.5(2)

is obtained from 8.2.7(7)

| My,c,RdAw=hw tw |  |  |  | is obtained from 8.2.5(2) |
| --- | --- | --- | --- | --- |
| My,c,B,Rd | is obtained from 8.2.7(7) |

(8.42)

When warping torsion is not present, then: My,c,B,Rd=My,c,Rd

NOTE	For the interaction of bending, shear and transverse loads, see 8.2.11.

### Combined bending and axial force

#### Class 1 and Class 2 cross-sections

(1) Where bending moment and axial force are present, the effect of the axial force on the plastic bending moment resistance should be considered.

(2)P For Class 1 and Class 2 cross sections, the design value of the bending moment MEd at each cross-section shall satisfy the criterion (8.43):

| MEdMN,Rd ≤1,0 |  |
| --- | --- |

(8.43)

where

MN,Rd	     is the design plastic moment resistance reduced due to the axial force NEd.

(3) For a rectangular solid section without fastener holes, MN,Rd should be taken from Formula (8.44):

| MN,Rd=Mpl,Rd1-NEdNpl,Rd2 |  |
| --- | --- |

(8.44)

(4) For doubly symmetric I- and H-sections or other sections with flanges, the effect of the axial force on the plastic bending moment resistance about the y-y axis may be neglected if both the following conditions are satisfied:

| NEd≤0,25 Npl,Rd | and |  |
| --- | --- | --- |
| NEd≤0,5 hw t wfyγM0 |  |  |

(8.45)

and

(8.46)

For doubly symmetric I- and H-sections the effect of the axial force on the plastic bending moment resistance about the z-z axis may be neglected if condition (8.47) is satisfied:

| NEd≤hw tw fyγM0 |  |
| --- | --- |

(8.47)

(5) For doubly symmetric I- and H-sections where holes may be neglected MN,Rd may be taken as:

| MN,y,Rd=Mpl,y,Rd1-n1-0,5 a |  | but MN,y,Rd≤Mpl,y,Rd | (8.48) |
| --- | --- | --- | --- |
| for n ≤ a: | MN,z,Rd=Mpl,z,Rd |  | (8.49) |
| for n > a | MN,z,Rd=Mpl,z,Rd 1-n-a1-a2 |  | (8.50) |

where

n=NEd/Npl,Rd

a=(A – 2btf)/A  but  a≤0,5

(6) For rectangular hollow sections of uniform thickness, where holes may be neglected and for welded box sections with equal flanges and equal webs where holes may be neglected, MN,Rd may be taken as:

| MN,y,Rd=Mpl,y,Rd1-n1-0,5 aw | but MN,y,Rd≤Mpl,y,Rd | (8.51) |
| --- | --- | --- |
| MN,z,Rd=Mpl,z,Rd1-n1-0,5 af | but MN,z,Rd≤Mpl,z,Rd | (8.52) |

where

| aw=(A-2bt)/A | but | aw ≤ 0,5 | for hollow sections; |
| --- | --- | --- | --- |
| aw=(A-2btf)/A | but | aw ≤ 0,5 | for welded box sections; |
| af=(A-2ht)/A | but | af ≤ 0,5 | for hollow sections; |
| af=(A-2htw )/A | but | af ≤ 0,5 | for welded box sections. |

(7) For cross-sections where fastener holes may be neglected, the approximation in Formula (8.53) may be used for circular hollow sections of uniform thickness:

| MN,y,Rd=MN,z,Rd=Mpl,Rd1-n1,7 |  |
| --- | --- |

(8.53)

(8) For cross-sections where fastener holes may be neglected, the approximation in Formulae (8.54) and (8.55) may be used for elliptical hollow sections of uniform thickness:

| MN,y,Rd=Mpl,y,Rd1-n1,7 |  |
| --- | --- |
| MN,z,Rd=Mpl,z,Rd1-n1,71,18 |  |

(8.54)

(8.55)

(9) For bi-axial bending the criterion (8.56) should be satisfied:

(8.56)

in which  and  may be taken as:

—	For I- and H-sections:

—	For rectangular hollow sections:

| My,EdMN,y,Rdαy+Mz,EdMN,z,Rdαz≤1 |  |  | for n ≤ 0,8 |
| --- | --- | --- | --- |
|  | for n > 0,8 |

αyαz

αy=2  ;  αz=5 n but αz≥1

| αy=αz=1,661-1,13 n2 |  |
| --- | --- |
| αy=αz=6 |  |

—	For circular hollow sections:

αy=2;αz=2

—	For elliptical hollow sections:

αy=2; αz=1,7

where

n = Ned / Npl,Rd.

αyαz and  may conservatively be taken as 1,0.

#### Class 3 cross-sections

(1)P In the absence of shear force, the maximum longitudinal stress σx,Ed for Class 3 cross-sections shall satisfy the criterion (8.57):

| σx,Ed≤fyγM0 |  |
| --- | --- |

(8.57)

where

σx,Ed	     is the design value of the longitudinal normal stress due to moment and axial force taking account of fastener holes where relevant, see 8.2.3, 8.2.4 and 8.2.5.

(2) Alternatively, for Class 3 doubly symmetric I or H sections, hollow sections and doubly symmetric welded box sections, where fastener holes may be neglected, the elasto-plastic bending moment capacity may be taken into account. In this case, the rules given in Annex B should be applied.

#### Class 4 cross-sections

(1)P In the absence of shear force, the maximum longitudinal normal stress σx,Ed for Class 4 cross-sections shall satisfy the criterion (8.58):

| σx,Ed≤fyγM0 |  |
| --- | --- |

(8.58)

where

σx,Ed is the design value of the longitudinal normal stress due to bending moment and axial force determined using the effective cross-section properties (see 8.2.2.5), taking account of fastener holes where relevant, see 8.2.3, 8.2.4 and 8.2.5.

(2) Alternatively, the simplified criterion (8.59) may be used:

| NEdNRd+My,Ed+∆MyMy,Rd+Mz,Ed+∆MzMz,Rd≤1,0 |  |
| --- | --- |

(8.59)

where

| NRd | is the design value of the resistance to axial force calculated with the effective area of the cross-section when subjected to uniform compression only, see 8.2.2.6(1); |
| --- | --- |
| My,Rd and Mz,Rd | are the design values of bending resistance calculated with the effective section modulus (corresponding to the fibre with the maximum elastic stress) of the cross-section when subjected only to moment about the strong axis and the weak axis respectively, see 8.2.2.6(1); |
| ΔMy and ΔMz | are the additional bending moments about the strong axis and the weak axis respectively, due to the shift of the centroidal axis when the cross-section is subjected to compression only, see 8.2.2.5(3). |

NOTE	The signs of NEd, My,Ed, Mz,Ed and ΔMi depend on the combination of the respective direct stresses.

### Combined bending, shear and axial force

(1) Where bending moment, shear force and axial force are present, the effect of both shear force and axial force on the bending moment resistance of the cross-section should be taken into account.

(2) The effect of the shear force VEd on the resistances defined for bending and axial force in 8.2.9 may be neglected if the condition  (8.35) is satisfied, except where shear buckling reduces the section resistance, see EN 1993-1-5.

(3) In all other cases, the reduced design bending moment resistance of the cross-section for combined bending moment, shear force and axial force should be determined using a reduced yield strength fy,red from Formula (8.60) for the cross-sectional area affected by shear when determining the combined resistance for bending moment and axial force:

| fy,red=1-ρ fy |  |
| --- | --- |

(8.60)

where

| ρ= 2 VEd Vc,Rd-12 |  |
| --- | --- |

(8.61)

Vc,Rd	     is taken as Vpl,Rd obtained from 8.2.6(2).

For circular and elliptical hollow sections of uniform thickness, the design resistance of the cross-section for combined bending moment and axial force should be determined using a reduced yield strength fy,red from Formula (8.60) for the full cross-section area.

(4) Instead of reducing the yield strength, the plate thickness of the relevant part of the cross section may be reduced.

(5) Where torsion is present, Vc,Rd should be taken as Vpl,T,Rd obtained from 8.2.7.

### Resistance to transverse forces

(1) The resistance of unstiffened webs against the design transverse forces Fz,Ed should be verified using the rules in EN 1993-1-5.

(2)B As simplified approach for a structural member in a building with transverse force applied on one flange only, provided that the condition (8.62) and criterion (8.63) are fulfilled:

| Fz,Ed≤534ε2tw3dwfyγM0 |  |
| --- | --- |
| MEd≤ Mel,y,Rd |  |

(8.62)

(8.63)

the resistance of an unstiffened web to a design transverse force Fz,Ed may be verified using criterion (8.64):

| Fz,Edkw Fz,Rd≤1,0 |  |
| --- | --- |

(8.64)

where

| kw= 1,0 | for | ¦σcom,Ed¦≤0,7fyγM0 | or Fz,Ed applied at the tension flange |
| --- | --- | --- | --- |
| kw= 1,7 -¦σcom,Ed¦fyγM0 | if | VEd≤Fz,Rd | Fz,Ed applied at the flange in compression |
| kw= 3,33·1-¦σcom,Ed¦fyγM0 | if | VEd>Fz,Rd | Fz,Ed applied at the flange in compression |

is the design value of the longitudinal compressive stress σx in the web at the end of fillets or weld toes directly below the transverse force Fz,Ed;

is the web depth between fillets or weld toes, see Figure 8.4;

is the design resistance of an unstiffened web to a transverse force:

| Fz,Rd= Ly tw fyγM0σcom,Ed |  |  | is the design value of the longitudinal compressive stress σx in the web at the end of fillets or weld toes directly below the transverse force Fz,Ed; |
| --- | --- | --- | --- |
| dw | is the web depth between fillets or weld toes, see Figure 8.4; |
| Fz,Rd | is the design resistance of an unstiffened web to a transverse force: |

(8.65)

is the effective length for the resistance to transverse forces determined according to the length of stiff bearing ss, see Figure 8.4.

VEd, MEd	are the design shear force and the design bending moment respectively, in the section where the transverse force Fz,Ed is applied.

| Ly | is the effective length for the resistance to transverse forces determined according to the length of stiff bearing ss, see Figure 8.4. |
| --- | --- |
| VEd, MEd | are the design shear force and the design bending moment respectively, in the section where the transverse force Fz,Ed is applied. |

| Case 1 |  |
| --- | --- |
| Case 2 End zone |  |

Key

| 1 | transverse stiffeners |
| --- | --- |
| 2 | inclination for the calculation of Ly |

# Figure 8.4 — Definition of the lengths Ly, dw and ss

(3) In the presence of longitudinal tensile stress in the flange under the transverse compressive force, the criterion (8.1) should be satisfied with:

| σz,Ed=Fz,EdLy tw |  |
| --- | --- |

(8.66)

## Buckling resistance of members

### Uniform members in compression

#### Buckling resistance

(1) The design value of the compression force NEd should satisfy the criterion (8.67):

| NEdNb,Rd≤1,0 |  |
| --- | --- |

(8.67)

where

| NEd | is the design value of the compression force; |
| --- | --- |
| Nb,Rd | is the design buckling resistance in compression. |

(2) Verification of the buckling resistance in compression may be omitted when the relative slenderness is λ ≤ 0,2 or when the design value of the compression force is 𝑁Ed ≤ 0,04 𝑁cr, see 8.3.1.2.

(3) For members with asymmetric Class 4 cross-sections, the additional moment ΔMEd due to the eccentricity of the centroidal axis of the effective section should be considered, see 8.2.2.5(3). Verification should be in accordance with 8.3.3 or 8.3.4.

(4) The design buckling resistance in compression Nb,Rd should be taken as:

| Nb,Rd=χ NRkγM1 |  |
| --- | --- |

(8.68)

where

λ

| χ | is the buckling reduction factor which should be determined as a function of the relative slenderness of the compression member, for the relevant buckling mode. See 8.3.1.3 for flexural buckling and 8.3.1.4 for torsional or torsional-flexural buckling. |
| --- | --- |
| NRk | is the characteristic value of the resistance to compression according to 8.2.2.6. |

(5) For determining the buckling resistance of members with tapered sections along the member or for non-uniform distribution of the compression force, second order analysis according to 7.2.2 may be performed.

NOTE	For out-of-plane buckling, see also 8.3.4.

(6) In determining A and Aeff holes for fasteners at the column ends may be neglected.

#### Slenderness of compression members

(1) The relative slenderness λ should be taken from Formula (8.69):

| λ=NRkNcr |  |
| --- | --- |

(8.69)

where

Ncr	   is the elastic critical force for the relevant buckling mode based on the gross cross-sectional properties:

λy

λz

λT

λTF

| Ncr = Ncr,y | for elastic flexural buckling about y-y, leading to ; |
| --- | --- |
| Ncr = Ncr,z | for elastic flexural buckling about z-z, leading to ; |
| Ncr = Ncr,T | for torsional buckling, leading to ; |
| Ncr = Ncr,TF | for elastic torsional or torsional-flexural buckling, leading to . |

NOTE	Formulae for the elastic critical forces can be found in the technical report CEN/TR 1993-1-103.

(2) As an alternative, for flexural buckling, the relative slenderness λ may be taken as:

| λ=Lcri1λ1 | for Class 1, 2 and 3 cross-sections | (8.70) |
| --- | --- | --- |
| λ=LcriAeffAλ1 | for Class 4 cross-sections | (8.71) |

where

is the buckling length in the buckling plane considered;

is the radius of gyration about the relevant axis, determined using the properties of the gross cross-section;

| λ1=πEfy=93,9εLcr |  |  | is the buckling length in the buckling plane considered; |
| --- | --- | --- | --- |
| i | is the radius of gyration about the relevant axis, determined using the properties of the gross cross-section; |

(8.72)

where

ε	     is the material parameter defined in 5.2.5(2).

#### Buckling reduction factor for flexural buckling

(1) For flexural buckling of members in axial compression, the value of the buckling reduction factor χ for the appropriate relative slenderness λ should be determined from the relevant buckling curve according to Formula (8.73):

| χ=1Φ+Φ2-λ2 | but χ ≤ 1,0 | (8.73) |
| --- | --- | --- |

where

(8.74)

where

| ϕ=0,51+αλ-0,2+λ2 |  |
| --- | --- |

(2) The imperfection factor α corresponding to the appropriate buckling curve, see Table 8.3, should be obtained from Table 8.2.

# Table 8.2 — Imperfection factors for buckling curves

| Buckling curve | a0 | a | b | c | d |
| --- | --- | --- | --- | --- | --- |
| Imperfection factor α | 0,13 | 0,21 | 0,34 | 0,49 | 0,76 |

# Table 8.3 — Selection of buckling curve for flexural buckling

| Cross-section |  | Limits |  | Buckling about axis | Buckling curve |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | S235 S275 S355 S420 | S460 Up to S700 inclusive |
| Rolled sections |  | h/b > 1,2 | tf ≤ 40 mm | y-y z-z | a b | a0 a |
|  |  |  | tf > 40 mm | y-y z-z | b c | a b |
|  |  | h/b ≤ 1,2 | tf ≤ 100 mm | y-y z-z | b c | a b |
|  |  |  | tf > 100 mm | y-y z-z | d d | c c |
| Welded I-sections |  | tf ≤ 40 mm |  | y-y z-z | b c | b c |
|  |  | tf > 40 mm |  | y-y z-z | c d | c d |
| Hollow sections |  | hot finished |  | any | a | a0 |
|  |  | cold formed |  | any | c | c |
| Welded box sections |  | generally (except as below) |  | any | b | b |
|  |  | thick welds: a > 0,5tf and b/tf < 30, and h/tw < 30 |  | any | c | c |
| U-, T- and solid sections |  |  |  | any | c | c |
| L-sections |  | Rolled sections |  | any | b | a |
|  |  | Welded sections t ≤ 40 mm |  | any | c | c |

(3) Values of the reduction factor χ for the appropriate relative slenderness λ may be obtained from Figure 8.5.

Key

λ

Relative slenderness

Reduction factor χ

# Figure 8.5 — Buckling curves

#### Buckling reduction factors for torsional and torsional-flexural buckling

(1) For members with open cross-sections, the resistance of the member to either torsional or torsional-flexural buckling may be less than its resistance to flexural buckling.

NOTE	This is relevant for members with doubly symmetric cross-sections in combination with intermediate lateral restraints, as well as for cruciform and asymmetric cross-sections, e.g. channel, L, T, and I- or H- sections with single symmetry.

(2) For symmetric or asymmetric cross-sections, the buckling reduction factor χT for torsional buckling or χTF for torsional-flexural buckling may be determined by using the column buckling formulae and curves of Formula (8.73) and Figure 8.5, with the buckling coefficients for z-z in accordance with Table 8.3. The relative slenderness λT or λTF as defined in 8.3.1.2 should be used forλ.

(3) For doubly symmetric I- and H-section members in compression with continuous or discrete intermediate lateral restraints, failing in torsional or torsional-flexural buckling (see Figure 8.6), the appropriate buckling reduction factor χTF may be more accurately determined from Formula (8.75):

| χTF=1ΦTF+ΦTF2-λTF2 | but χTF ≤ 1,0 | (8.75) |
| --- | --- | --- |

where

where

| ϕTF=0,51+λTFλz2.αTFλz-0,2+λTF2 |  |
| --- | --- |

(8.76)

NOTE 1	For the relative slenderness λTF and λz, see (5).

NOTE 2	For the imperfection factor αTF, see (6).

# Figure 8.6 — Torsional-flexural buckling of laterally braced doubly symmetric sections – Geometrical definitions

(4) For a torsional buckling mode, the buckling reduction factor χT should be used; it should be determined from Formula (8.75) using the relative slenderness λT and the parameter ϕT, instead of λTF and ϕTF.

(5) The relative slenderness λTF and λz in Formula (8.75) should be determined in accordance with 8.3.1.2 using the weak axis (z-z) buckling length Lcr of the unrestrained flange to determine the relative slenderness λz.

(6) The imperfection factor αTF in Formula (8.76) should be determined from Formula (8.77):

| αTF=α A fyip2+dz26,25 GIT | but αTF≤ α | (8.77) |
| --- | --- | --- |

where

| α | is the imperfection factor according to Table 8.3, for buckling about z-z axis, |
| --- | --- |
| ip | is the polar radius of gyration such that: |
| dz | is the distance of the intermediate lateral supports from the shear centre, see Figure 8.6. |

where

ip2=Iy+IzA

(7) Where individual/discrete intermediate lateral supports are provided, a buckling check for weak-axis flexural buckling between the intermediate supports should be carried out.

### Uniform members in bending

#### Buckling resistance

(1) A laterally unrestrained member subject to a major axis bending moment should be verified against lateral torsional buckling. The design value of the bending moment MEd should satisfy the criterion (8.78):

| MEdMb,Rd≤1,0 |  |
| --- | --- |

(8.78)

where

| MEd | is the design value of the moment; |
| --- | --- |
| Mb,Rd | is the design buckling bending resistance. |

where

(2) Verification of the lateral torsional buckling resistance may be neglected for hollow sections and welded box sections or beams with sufficient restraint to the compression flange which are not susceptible to lateral torsional buckling.

(3) Conditions on stiffness of restraint devices of beams in buildings may be taken from Annex D.

(4) The design buckling bending resistance Mb,Rd of a laterally unrestrained beam should be taken from Formula (8.79):

(8.79)

where

| Mb,Rd=χLTMRkγM1χLT |  |  | is the reduction factor for lateral torsional buckling, which should be determined as a function of the relative slenderness of the member, see 8.3.2.3; |
| --- | --- | --- | --- |
| MRk | is the characteristic value of the resistance to bending moment, see 8.2.2.6. |

where

λLT

is the characteristic value of the resistance to bending moment, see 8.2.2.6.

(5) For determining the buckling resistance of beams with tapered sections, second order analysis according to 7.2.2 may be performed.

NOTE	For out-of-plane buckling, see also 8.3.4.

(6) In determining MRk, holes for fasteners at the beam end may be neglected.

#### Slenderness for lateral torsional buckling curves

(1) The relative slenderness for lateral torsional buckling λLT should be taken from Formula (8.80):

| λLT=MRkMcr |  |
| --- | --- |

(8.80)

where

Mcr	    is the elastic critical moment for lateral torsional buckling.

(2) Mcr should be based on gross cross-sectional properties and considers the loading conditions, the actual moment distribution and the lateral restraints.

NOTE	Formulae for the elastic critical moment can be found in the technical report CEN/TR 1993-1-103.

#### Buckling reduction factors χLT for lateral torsional buckling

(1) Verification of lateral torsional buckling resistance may be neglected when the relative slenderness for lateral torsional buckling satisfies λLT≤λLT,0 or when the design value of the bending moment satisfiesMEd≤λLT,02 Mcr:.

NOTE 1	Limitations of validity concerning the beam depth or h/b ratio can be set by the National Annex.

NOTE 2	λLT,0 = 0,4 if end-fork support conditions are assumed for the calculation of Mcr between lateral supports unless the National Annex gives a different value.

(2) In general cases of prismatic members with arbitrary boundary conditions, the buckling reduction factor χLT may be determined by using the buckling formulae and curves of Formula (8.73) and Figure 8.5. The relative slenderness for lateral torsional buckling λLT should be used for the relative slenderness λ, and the selection of buckling curves as specified in Table 8.4 should apply.

# Table 8.4 — Selection of buckling curves for general cases

| Cross-section |  | Limits | Buckling curve |
| --- | --- | --- | --- |
| Welded I-sectionsa |  | h/bmin ≤ 2,0 | c |
|  |  | h/bmin > 2,0 | d |
| Rolled I-sectionsa |  | h/bmin ≤ 2,0 | a |
|  |  | h/bmin > 2,0 | b |
| Other sections (e.g. C-, U-, T-sections) |  | — | d |
| NOTE The selection of the buckling curve is based on the minimum flange width bmin, irrespective of this being the tension or compression flange. |  |  |  |
| a This may also be applied to doubly symmetric sections, where bmin = b. |  |  |  |

(3) For doubly symmetric I- and H- sections and fork boundary conditions at both ends, the buckling reduction factor χLT may be taken as:

(8.81)

where

(8.82)

| χLT=fMΦLT+ΦLT2-fM λLT2 but χLT≤1,0αLT |  |  | is the imperfection factor taken from Table 8.5; |
| --- | --- | --- | --- |
|  | is the relative slenderness for lateral torsional buckling, as defined in 8.3.2.2; |
|  | is the corresponding relative slenderness for weak axis flexural buckling, as defined in 8.3.1.2, with the buckling length Lcr,z, taken as the distance between the discrete lateral restraints; |
| fM | is a factor that accounts for the effect of the bending moment distribution between discrete lateral restraints. It may conservatively be taken as 1,0 in cases that cannot be approximated by the diagrams in Table 8.6. |

| ϕLT=0,51+fMλLTλz2αLTλz-0,2+λLT2 |  |
| --- | --- |

Table 8.5

λLT	is the relative slenderness for lateral torsional buckling, as defined in 8.3.2.2;

λz	is the corresponding relative slenderness for weak axis flexural buckling, as defined in 8.3.1.2, with the buckling length Lcr,z, taken as the distance between the discrete lateral restraints;

is a factor that accounts for the effect of the bending moment distribution between discrete lateral restraints. It may conservatively be taken as 1,0 in cases that cannot be approximated by the diagrams in Table 8.6.

# — Imperfection factor αLT for lateral torsional buckling of doubly symmetric I- and H-sections

| Cross-section |  | Limits |  | αLT |
| --- | --- | --- | --- | --- |
| Rolled I-sections |  | h/b > 1,2 | tf ≤ 40 mm | 0,12Wel,yWel,z but: αLT≤0,34 |
|  |  |  | tf > 40 mm | 0,16Wel,yWel,z but: αLT≤0,49 |
|  |  | h/b ≤ 1,2 | — | 0,16Wel,yWel,z but: αLT≤0,49 |
| Welded I-sections |  | tf ≤ 40 mm |  | 0,21Wel,yWel,z but: αLT≤0,64 |
|  |  | tf > 40 mm |  | 0,25Wel,yWel,z but: αLT≤0,76 |

# Table 8.6 — Factors fM and kc

| Load case | Factor fM | Factor kc |
| --- | --- | --- |
| M = uniform | 1,00 | 1,00 |
| -1 ≤ ψ ≤ +1 | 1,25-0,1 ψ-0,15ψ2 | 11,33-0,33ψ |
|  | 1,05 | 0,94 |
|  | For 0≤M0Mh<2,0: 1,0+1,35M0Mh-0,33M0Mh3 For M0Mh≥2:1,05 | M0Mh<1,0: 1,00 M0Mh≥1,0: 0,90 |
|  | For 0≤M0Mh<1,47: 1,25+0,5M0Mh2-0,275M0Mh4 For M0Mh≥1,47:1,05 | M0Mh<0,5: 0,75 M0Mh≥0,5: 0,91 |
|  | 1,10 | 0,86 |
|  | For 0≤M0Mh<2,0: 1,0+1,25M0Mh-0,30M0Mh3 For M0Mh≥2,0: 1,10 | M0Mh<1,0: 1,00 M0Mh≥1,0: 0,77 |
|  | For 0≤M0Mh<1,5: 1,25+0,325M0Mh2-0,175M0Mh4 For M0Mh≥1,50:1,10 | M0Mh<0,5: 0,75 M0Mh≥0,5: 0,82 |
| M0 may be determined by subtracting the average of the two (hogging) moments at the member ends from the (sagging) moment at mid-span. |  |  |

#### Simplified method for beams with restraints in buildings

(1) As a simplified method for lateral torsional buckling verification according to 8.3.2.1(1) for member with or without lateral restraints, the design value of bending moment MEd should satisfy the criterion (8.83):

| MEdMb,Rd≤1,0 |  |
| --- | --- |

(8.83)

where

| MEd | is the design value of the moment; |
| --- | --- |
| Mb,Rd | is the design buckling bending resistance. |

NOTE	The method assumes end-fork support conditions for the member ends.

(2) The design buckling resistance Mb,Rd should be calculated from Formula (8.84) based on the flexural buckling resistance of the equivalent compression flange:

| Mb,Rd=χc,z Wy fyγM1 |  |
| --- | --- |

(8.84)

where

| χc,z | is the reduction factor for flexural buckling of the equivalent compression flange about the weak axis of the section determined withλc,z,mod; see (3). |
| --- | --- |
| Wy | Wpl,y for Class 1 and 2, and Wel,y with max z for Class 3. |

(3) The buckling reduction factor χc,z should be determined by using the buckling formulae and curves of Formula (8.73) and Figure 8.5. The relative slenderness of the equivalent compression flange λc,z,mod should be used for the relative slenderness λ. The buckling curves to be used in (2) should be taken as follows:

—	Buckling curve c for hot rolled sections;

—	Buckling curve d for welded sections.

(4) The relative slenderness of the equivalent compression flange should be determined as follows:

| λc,z=Ac fyNcr,c,z |  |
| --- | --- |

(8.85)

where

| Ac | is the area of the equivalent compression flange |  |
| --- | --- | --- |
|  | Ac=Af+12∙Aw Af+16∙Aw Af | for load application at compression flange |
|  |  | for load application at shear center |
|  |  | for load application at tension flange |
|  | For other loadings than transverse loads the area of the equivalent compression flange should be taken as Ac=Af+16∙Aw. |  |
| Af | is the area of the compression flange: Af=b tf; |  |
| Aw | is the total web area: Aw=hw tw; |  |
| Ncr,c,z | elastic critical axial force of the equivalent compression flange for weak axis buckling of the section determined with the moment of inertia of the equivalent compression flange for weak axis buckling of the section and the length between restraints. |  |

(5) The modified relative slenderness of the equivalent compression flange should be determined as follows:

(8.86)

where

| λc,z,mod=kc∙βc∙λc,z | but |  | (8.87) |
| --- | --- | --- | --- |

where

| βc=0,06 htf,maxλc,z+tf,maxtf,min |  |  | βc≤2 |  |
| --- | --- | --- | --- | --- |
| kc | is a slenderness correction factor for moment distribution between restraints, see Table 8.6; |  |  |  |  |
| tf,max | is the maximum thickness of the top and bottom flange of the section; |  |  |  |  |
| tf,min | is the minimum thickness of the top and bottom flange of the section. |  |  |  |  |

(6) The verification according to Formulae (8.83) to (8.87) should be applied for all compression flanges within a member.

### Uniform members in bending and axial compression

(1) Unless second order analysis with member bow imperfection is carried out, in accordance with Method M4 in 7.2.2(7) or Method M5 in 7.2.2(8), the stability of members should be verified using the rules given in the following clauses.

(2) The stability of uniform members in bending and axial compression with doubly symmetric cross-sections which are not susceptible to distortional deformations should be checked according to the method described in the following clauses. For mono-symmetric I- , H- and welded box sections, rules given in Annex C, C.1 should be used.

NOTE 1	The method given by the technical specification CEN/TS 1993-1-101 is an alternative. The applicability of CEN/TS 1993-1-101 can be set by the National Annex.

NOTE 2	In case the conditions of application expressed in (2) are not fulfilled, see 8.3.4.

(3) The resistance of the cross-section at each end of the member should satisfy the requirements given in 8.2.

(4) For members of structural systems, the buckling resistance may be verified in isolation of the system by using one of the methods in 7.2.2.

(5) Members which are subjected to combined bending and axial compression should satisfy the criteria (8.88) and (8.89):

(8.88)

(8.89)

where

| NEd, My,Ed and Mz,EdNEdχy NRkγM1 + kyy My,Ed+ΔMy,EdχLTMy,RkγM1+ kyz Mz,Ed+ΔMz,EdMz,RkγM1 ≤ 1,0 |  |  | are the design value of the compression force and the design values of the maximum bending moments about the y-y and z-z axis along the member, respectively; |
| --- | --- | --- | --- |
| NRk, My,Rk and Mz,RkNEdχz NRkγM1 + kzy My,Ed+ΔMy,EdχLTMy,RkγM1 + kzz Mz,Ed+ΔMz,EdMz,RkγM1 ≤1,0 |  |  | are the characteristic values of the cross-sectional resistance to compression axial force and bending moment about the y-y and z-z axes respectively, see Table 8.1; |
| ΔMy,Ed, ΔMz,Ed | are the moments due to the shift of the centroid axis according to 8.2.2.5 for Class 4 sections; |
| χy and χz | are the flexural buckling reduction factors from 8.3.1. For members susceptible to torsional-flexural buckling, see (7); |
| χLT | is the lateral torsional buckling reduction factor from 8.3.2. For members not susceptible to lateral torsional buckling: χLT = 1,0; |
| kyy, kyz, kzy, kzz | are interaction factors, see (6). |

where

NEd, My,Ed and Mz,Ed	are the design value of the compression force and the design values of the maximum bending moments about the y-y and z-z axis along the member, respectively;

NRk, My,Rk and Mz,Rk	are the characteristic values of the cross-sectional resistance to compression axial force and bending moment about the y-y and z-z axes respectively, see Table 8.1;

are the moments due to the shift of the centroid axis according to 8.2.2.5 for Class 4 sections;

are the flexural buckling reduction factors from 8.3.1. For members susceptible to torsional-flexural buckling, see (7);

is the lateral torsional buckling reduction factor from 8.3.2. For members not susceptible to lateral torsional buckling: χLT = 1,0;

are interaction factors, see (6).

NOTE	The criteria (8.88) and (8.89) are based on the modelling of simply supported single span members with end fork conditions with or without continuous lateral restraints, subjected to compression forces, end moments and/or transverse loads.

(6) The interaction factors kyy, kyz, kzy and kzz to be used for the design of members with doubly symmetric cross-sections in the criteria  (8.88) and (8.89) are given in the Table 8.7 and Table 8.8.

# Table 8.7 — Interaction factors kyy and kyz for criterion (8.88)
Instability governed by buckling about y-y axis

| Plastic cross-sectional properties Class 1, Class 2, Class 3 (with Wep according to Annex B) |  | Elastic cross-sectional properties Class 3(with Wel), Class 4 |  |
| --- | --- | --- | --- |
| For λy<1,0: | kyy=Cmy1+λy-0,2 ny | For λy<1,0: | kyy=Cmy1+0,6 λy ny |
| For λy≥1,0: | kyy=Cmy1+0,8 ny | For λy≥1,0: | kyy=Cmy1+0,6 ny |
| kyz = 0,6 kzz, see Table 8.8 |  | kyz = kzz, see Table 8.8 |  |
| NOTE 1 See (9) for ny. NOTE 2 See (10) and Table 8.9 for Cmy. |  |  |  |

# Table 8.8 — Interaction factors kzy and kzz for criteria (8.89) Instability governed by buckling about z-z axis

|  | Type of section | Plastic cross-sectional properties Class 1, Class 2, Class 3 (with Wep according to Annex B) | Elastic cross-sectional properties Class 3(with Wel), Class 4 |
| --- | --- | --- | --- |
| kzy |  | Not susceptible to lateral-torsional buckling |  | kzy = 0,6 kyy See Table 8.7. |  | kzy = 0,8 kyy See Table 8.7. |  |
|  |  | Susceptible to lateral-torsional buckling |  | For λz<1,0: kzy=1-0,1 λz nzCmLT-0,25 but kzy≤0,6+λz for λz<0,4 |  | For λz<1,0: kzy=1-0,05 λz nzCmLT-0,25 |  |
|  |  |  |  | For λz≥1,0: kzy=1-0,1 nzCmLT-0,25 |  | For λz≥1,0: kzy=1-0,05 nzCmLT-0,25 |  |
| kzz |  | I-sections |  | For λz<1,0: kzz=Cmz1+2 λz-0,6 nz |  | For λz<1,0: kzz=Cmz1+0,6 λz nz For λz≥1,0: kzz=Cmz1+0,6 nz |  |
|  |  |  |  | For λz≥1,0: kzz=Cmz1+1,4 nz |  |  |  |
|  |  | Rectangular, circular or elliptical hollow sections |  | For λz<1,0: kzz=Cmz1+λz-0,2 nz |  |  |  |
|  |  | For λz≥1,0: kzz=Cmz1+0,8 nz |  |
| NOTE 1 See (9) for nz. NOTE 2 See (10) and Table 8.9 for Cmy and CmLT. |  |  |  |

(7) For members susceptible to torsional and torsional-flexural buckling, the reduction factor χz above and in the following should be replaced by χTF in accordance with 8.3.1.4(3).

(8) The interaction factor kzy in Table 8.8 distinguishes between members that are susceptible and not susceptible to lateral torsional buckling. The following criteria may be used to assess this susceptibility:

—	Structural hollow sections, welded box sections and open sections with sufficient rotation restraint (see Annex D) or narrowly spaced lateral bracing may generally be regarded as not susceptible to lateral torsional buckling. It may be assumed that open sections are not susceptible to lateral torsional buckling when the relative slenderness λLT fulfils the condition (8.90):

| λLT≤λLT,lim=λLT,01-λz2 χz |  |
| --- | --- |

(8.90)

where λLT,0 is defined in 8.3.2.3(1).

—	In other cases, open sections (I- and H-sections) may be regarded as susceptible to lateral torsional buckling.

(9) The parameters ny and nz used in Table 8.7 and 8.8 should be calculated from Formulae (8.91) and (8.92) respectively:

| ny=NEdχy NRk/γM1 |  |
| --- | --- |
| nz=NEdχz NRk/γM1 |  |

(8.91)

(8.92)

(10) The equivalent moment factors Cm may be determined using the formulae in Table 8.9, for uniformly distributed loads and for a concentrated load applied at mid-span. Ms always represents the sagging moment at mid-span, which does not have to be the maximum sagging moment in the span. As the values in this table were derived for members with buckling lengths corresponding to the member length between supports, factors Cmy, Cmz and CmLT should be obtained by considering the bending moment diagrams between the relevant braced points, as follows:

| Moment factor | Bending axis | Point braced in direction |
| --- | --- | --- |
| Cmy | y-y | z-z |
| Cmz | z-z | y-y |
| CmLT | y-y | y-y |

NOTE	Figure 8.7 shows an example for the determination of the equivalent moment factors for a beam-column loaded by unequal end moments about both axes and braced with different spacing in direction y and z.

(11) Both segments between the member ends and the intermediate lateral restraint (see Figure 8.7) may need to be checked, depending on length of the segment and shape of the bending diagram.

| Example: end moments My and Mz |  |
| --- | --- |
| Bending about y-y | Bending about z-z |
| Considering bending moment diagram |  |

# Figure 8.7 — Example illustrating the applicable bending moment diagrams for the determination of the coefficients Cmy, Cmz and CmLT

# Table 8.9 — Equivalent uniform moment factors Cm

| Moment diagram | Range |  | Cmy and Cmz and CmLT |  |
| --- | --- | --- | --- | --- |
|  | -1≤ψ≤1 |  | 0,6+0,4ψ≥0,4 |  |  |
| Members with transverse loading |  |  | Uniform loading |  | Concentrated load |
|  | 0≤αs≤1 | -1≤ψ≤1 | 0,2+0,8αs≥0,4 | 0,2+0,8αs≥0,4 |  |
|  | -1≤αs<0 | 0≤ψ≤1 | 0,1-0,8αs≥0,4 | -0,8αs≥0,4 |
|  |  | -1≤ψ<0 | 0,11-ψ-0,8αs≥0,4 | -0,2ψ-0,8αs≥0,4 |
|  | 0≤αh≤1 | -1≤ψ≤1 | 0,95+0,05αh | 0,90+0,10αh |
|  | -1≤αh<0 | 0≤ψ≤1 | 0,95+0,05αh | 0,90+0,10αh |
|  |  | -1≤ψ<0 | 0,95+0,05αh(1+2ψ) | 0,90+0,10αh(1+2ψ) |  |

(12) If the global analysis is carried out according to the method EM in 7.2.2(9) and the member (e.g. in an unbraced frame) can fail in a sway buckling mode, the factors Cm should be taken as Cmy = 0,9 or Cmz = 0,9 for any bending moment diagram.

(13) The sign of the hogging moment Mh and the mid-span sagging moment Ms should be considered when calculating αs or αh in Table 8.9. Thereby:

—	αs is relevant if the absolute value of Mh is larger than Ms;

—	αh is relevant if the absolute value of Ms is larger than Mh.

(14) For members subjected to compression and bending about the y-y axis only, some or all of the following simplifications may be considered:

—	The terms containing kzz and kyz are omitted;

—	The factor kyy may be calculated by: kyy=Cmy (1+0,8 ny);

—	The factor kzy may be taken equal to 1,0 for members susceptible to lateral torsional buckling;

—	The equivalent uniform bending moment factors, Cmy and CmLT, may be taken equal to 1,0.

### General method for lateral and lateral torsional buckling of structural components

(1) If the methods given in 8.3.1, 8.3.2 and 8.3.3 do not apply, the following method may be used when dealing with lateral and lateral torsional buckling for structural components such as:

—	structural components with mono symmetric cross-sections, built-up or not, uniform or not, with complex support conditions or not, or;

—	plane frames or subframes composed of such members;

which are subject to compression and/or uni-axial bending in the plane, but which do not contain rotated plastic hinges.

NOTE	The field and limits of application of the method given in 8.3.4 can be set by the National Annex.

(2) For the verification of the out-of-plane buckling resistance, structural components conforming to (1) should satisfy criterion (8.93):

(8.93)

where

| αult,k1χopαult,k/γM1≤1,0 |  |  | is the minimum load amplifier of the design loads to reach the characteristic resistance of the most critical cross-section of the structural component considering its in plane behaviour including instability, i.e. all effects due to in-plane geometrical deformation and imperfections of members, global and local, where relevant but without taking flexural buckling out of plane or lateral torsional buckling into account; |
| --- | --- | --- | --- |
|  | is the reduction factor for the relative slenderness , see (3), to take account of lateral and lateral torsional buckling. |

where

αult,k	is the minimum load amplifier of the design loads to reach the characteristic resistance of the most critical cross-section of the structural component considering its in plane behaviour including instability, i.e. all effects due to in-plane geometrical deformation and imperfections of members, global and local, where relevant but without taking flexural buckling out of plane or lateral torsional buckling into account;

χop	λop

(3) The global relative slenderness λop for the structural component should be determined from:

(8.94)

where

| αult,kλop=αult,kαcr,op |  |  | is defined in (2); |
| --- | --- | --- | --- |
| αcr,op | is the minimum amplifier for the in-plane design loads to reach the elastic critical load of the structural component with regards to lateral or lateral torsional buckling without accounting for in-plane flexural buckling. |

where

αult,k

is the minimum amplifier for the in-plane design loads to reach the elastic critical load of the structural component with regards to lateral or lateral torsional buckling without accounting for in-plane flexural buckling.

(4) In determining αcr,op and αult,k Finite Element analysis may be used (see EN 1993-1-14).

(5) The reduction factor χop should be determined as the minimum value of:

χ	for lateral buckling according to 8.3.1;

χLT	for lateral torsional buckling according to 8.3.2;

each determined for the global relative slenderness λop.

NOTE	For example, where αult,k is determined by the cross-section check 1αult,k=NEdNRk+My,EdMy,Rk this method leads to:

| NEdχopNRkγM1+My,EdχopMy,RkγM1≤1 |  |
| --- | --- |

(8.95)

### Lateral torsional buckling of members with plastic hinges in buildings

#### General

(1)B Building structures may be designed using plastic analysis, provided that lateral torsional buckling in the frame is prevented by the following means:

a)	Inclusion of effective restraint at locations of “rotated” plastic hinges, see 8.3.5.2, and;

b)	Ensuring that the length of the segment between such restraints and other lateral restraints is not greater than the stable length of the segment between them, see 8.3.5.3.

(2)B Where the plastic hinge is “not-rotated” under all ultimate limit state load combinations, restraints may be omitted for such a plastic hinge.

#### Restraints at rotated plastic hinges

(1)B At each rotated plastic hinge location, the cross-section should have an effective lateral and torsional restraint with appropriate resistance to lateral forces and torsion induced by local plastic deformations of the member at that location.

(2)B Effective lateral and torsional restraint should be provided:

—	For members carrying either moment or moment and axial force, by lateral restraint to both flanges. This may be provided by lateral restraint to one flange and a stiff torsional restraint to the cross-section preventing the lateral displacement of the compression flange relative to the tension flange, see Figure 8.8.

# Figure 8.8 — Typical stiff torsional restraint

—	For members carrying either moment alone or moment and axial tension in which the compression flange is in contact with a floor slab, by lateral and torsional restraint to the compression flange (e.g. by connecting it to the slab, see Figure 8.9).

Key

| 1 | compression flange |
| --- | --- |

# Figure 8.9 — Typical lateral and torsional restraint by a slab to the compression flange

—	For cross-sections that are more slender than rolled I- and H-sections, the distortion of the cross-section should be prevented at the plastic hinge location (e.g. by means of a web stiffener also connected to the compression flange with a stiff joint from the compression flange into the slab).

(3)B At each plastic hinge location, the connection (e.g. bolts) of the compression flange to the resisting element at that point (e.g. purlin), and any intermediate element (e.g. diagonal brace) should be designed to resist a local force of at least 2,5 % of Nf,Ed (defined in 8.3.5.2(5)B) transmitted by the flange in its plane and perpendicular to the web plane, without any combination with other loads.

(4)B Restraints should be provided within a distance of the plastic hinge of h/2 along the length of the member, where h is the overall depth of the cross-section at the plastic hinge location.

(5)B In addition to the design requirements of 7.3.5, bracing systems should be designed to resist the effects of local forces Qm applied at each stabilized member at the plastic hinge locations, where:

(8.96)

where

| Nf,EdQm=1,5 αmNf,Ed100 |  |  | is the axial force in the compressed flange of the stabilized member at the plastic hinge location; |
| --- | --- | --- | --- |
| αm | is according to 7.3.2(2). |

where

Nf,Ed	is the axial force in the compressed flange of the stabilized member at the plastic hinge location;

is according to 7.3.2(2).

NOTE B	For combination with external loads, see also 7.3.5.

#### Stable length of segment

(1) The lateral torsional buckling verification of segments between restraints may be performed by checking that the length between restraints is not greater than the stable length.

(2) For uniform beam segments with I- or H- cross-sections with htf≤40ε under linear moment diagram and without significant axial compression, the stable length Lst may be taken from:

| Lst=35 ε iz for 0,625≤ψ≤1 Lst=60-40ψ ε iz for -1≤ψ≤0,625 |  |
| --- | --- |

(8.97)

where

ε	      is the material parameter defined in 5.2.5(2).

| ψ=MEd,minMpl,Rd | = ratio of end moments in the segment. |  |
| --- | --- | --- |

(3) Where a rotated plastic hinge location occurs immediately adjacent to one end of a haunch, the tapered segment need not be treated as a segment adjacent to a plastic hinge location if the following criteria are satisfied:

a)	the restraint at the plastic hinge location is within a distance h/2 along the length of the tapered segment, not the uniform segment;

b)	the compression flange of the haunch remains elastic throughout its length.

## Uniform built-up compression members

### Assumptions and constructional details

#### Assumptions

(1) Uniform built-up compression members with hinged ends that are laterally supported should be designed according to the following model, see Figure 8.10:

a)	The member should be considered as a column with a bow imperfection as defined in 7.3.3.1(1);

b)	The elastic deformations of lacings or battens, see Figures 8.10, should be taken into account by a continuous (smeared) shear stiffness SV of the columns.

NOTE	For other end conditions, appropriate modifications can be performed.

(2) The model of a uniform built-up compression member applies where:

a)	The lacings or battens consist of equal modules with parallel chords;

b)	The minimum number of modules in a member is three.

NOTE	This assumption allows the structure to be regular and smears the discrete structure to a continuum.

(3) The design procedure is applicable to built-up members with lacings in two planes, see Figure 8.11.

(4) The chords may be solid members or may themselves be laced or battened in the perpendicular plane.

| e0 = L/500 |  |  |
| --- | --- | --- |

# Figure 8.10 — Uniform built-up columns with lacings and battens

| Lch = 1,52 dch | Lch = 1,28 dch |
| --- | --- |
| Lch = dch |  |

# Figure 8.11 — Lacings on four sides and buckling length Lch of chords

#### Arrangement of single lacing systems

(1) Single lacing systems in opposite faces of built-up members with two parallel laced planes may be arranged as shown in Figure 8.12(a).

(2) When the single lacing systems in opposite faces of built-up members with two parallel laced planes are mutually opposed in direction, as shown in Figure 8.12(b), the resulting torsional effects in the built-up member should be taken into account.

(3) Tie panels should be provided at the ends of lacing systems, at points where the lacing is interrupted and at joints with other members.

| Lacing on face A | Lacing on face B |  | Lacing on face A | Lacing on face B |
| --- | --- | --- | --- | --- |
| a) Corresponding lacing system (Recommended system) |  |  | b) Mutually opposed lacing system (Not recommended) |  |

Key

| 1 | chord |
| --- | --- |

# Figure 8.12 — Single lacing system on opposite faces of a built-up member with two parallel laced planes

#### Arrangement of battens

(1) Battens should be provided at each end of a member.

(2) Where parallel planes of battens are provided, the battens in each plane should be arranged opposite to each other.

(3) Battens should be provided at intermediate points where loads are applied or lateral restraint is provided.

### Design forces for components

(1) Checks should be performed for chords using the design value of the chord forces Nch,Ed derived from the design value of the compression force NEd and the design value of the bending moment MEd at mid span of the built-up member.

(2) For a member with two identical chords, the design value of the chord force Nch,Ed should be determined from Formula (8.98):

| Nch,Ed=0,5NEd+MEdh0Ach2Ieff |  |
| --- | --- |

(8.98)

where

| MEd=NEde0+MEdI1-NEdNcr,V |  |
| --- | --- |

Ncr,V	(8.99)

is the effective critical force of the built-up member, including the effect of its shear stiffness:

(8.100)

| Ncr,V=1L2π2EIeff+1SvNEd |  |  | is the design value of the compression force to the built-up member; |
| --- | --- | --- | --- |
| MEd | is the design value of the maximum bending moment in the middle of the built-up member considering second order effects; |
|  | is the design value of the maximum bending moment in the middle of the built-up member without second order effects; |
| h0 | is the distance between the centroids of chords; |
| Ach | is the cross-sectional area of one chord; |
| Ieff | is the effective moment of inertia of the built-up member, see 8.4.3 and 8.4.4; |
| Sv | is the shear stiffness of the lacings or battened panel, see 8.4.3 and 8.4.4. |

is the design value of the compression force to the built-up member;

is the design value of the maximum bending moment in the middle of the built-up member considering second order effects;

MEdI	is the design value of the maximum bending moment in the middle of the built-up member without second order effects;

is the distance between the centroids of chords;

is the cross-sectional area of one chord;

is the effective moment of inertia of the built-up member, see 8.4.3 and 8.4.4;

is the shear stiffness of the lacings or battened panel, see 8.4.3 and 8.4.4.

(3) The checks for the lacings of laced built-up members or for the frame moments and shear forces of the battened panels of battened built-up members should be performed for the end panel taking account of the shear force in the built-up member given by Formula (8.101):

| VEd=VEdI+πLMEd-MEdI |  |
| --- | --- |

(8.101)

where

VEdI	    is the design value of the shear force at the end, due to transverse loads, without second order effects.

### Resistance of components of laced compression members

(1) The chords and diagonal lacings subject to compression should be designed for buckling and secondary moments may be neglected.

(2) For chords, the design value of the compression force in the chord at mid-length of the built-up member should satisfy the criterion (8.102):

(8.102)

where

| Nch,EdNch,EdNb,Rd≤1,0 |  |  | is the design compression force in the chord at mid-length of the built-up member according to 8.4.2(2) and |
| --- | --- | --- | --- |
| Nb,Rd | is the design value of the buckling resistance in compression of the chord taking the buckling length Lch from Figure 8.11. |

where

Nch,Ed	is the design compression force in the chord at mid-length of the built-up member according to 8.4.2(2) and

is the design value of the buckling resistance in compression of the chord taking the buckling length Lch from Figure 8.11.

(3) The shear stiffness SV of the lacings should be taken from Figure 8.13.

(4) The effective second order moment of area of laced built-up members may be taken as:

(8.103)

| Ieff=0,5h02AchSystem |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SV |  |  |  |
| np is the number of planes of lacings Ad and Ap refer to the cross-sectional area of the bracings |  |  |  |

|  | npEAddchh022Ld3 | npEAddchh02Ld3 | npEAddchh02Ld31+Adh03ApLd3 |
| --- | --- | --- | --- |

# Figure 8.13 — Shear stiffness of lacings of built-up members

### Resistance of components of battened compression members

(1) The chords and the battens and their joints to the chords should be checked for the actual moments and forces in an end panel and at mid-span as indicated in Figure 8.14.

(2) For simplicity, the maximum chord forces Nch,Ed may be combined with the maximum shear force VEd.

# Figure 8.14 — Moments and forces in an end panel of a battened built-up member

(3) The shear stiffness SV should be taken from Formula (8.104):

| Sv=24EIchdch21+2IchnpIbh0dch≤2π2EIchdch2 |  |
| --- | --- |

(8.104)

(4) The effective moment of inertia of battened built-up members may be taken from Formula (8.105):

(8.105)

where

| Ieff=0,5h02Ach+2μIchIch |  |  |  | in-plane moment of inertia of one chord; |
| --- | --- | --- | --- | --- |
| Ib | in-plane moment of inertia of one batten; |
| μ | efficiency factor from Table 8.10; |
| np | number of planes of battens. |

where

in-plane moment of inertia of one chord;

in-plane moment of inertia of one batten;

Table 8.10

number of planes of battens.

# — Efficiency factor μ

| Criterion |  |  | Efficiency factor μ |
| --- | --- | --- | --- |
| λ≥150 |  |  | 0 |
| 75<λ<150 |  |  | μ=2-λ75 |
| λ≤75 |  |  | 1,0 |
| where |  |  |  |
| λ=Li0; | i0=I12Ach; | I1=0,5h02Ach+2Ich |  |

### Closely spaced built-up members

(1) If the conditions in Table 8.11 are met, built-up compression members with chords in contact or closely spaced and connected through packing plates, see Figure 8.15, or star battened angle members connected by pairs of battens in two perpendicular planes, see Figure 8.16 should be checked for buckling as a single integral member ignoring the effect of shear stiffness (SV=∞).

(2) If the conditions in Table 8.11 are not met, closely spaced built-up compression members should be checked by taking into account the effect of shear stiffness in accordance with 8.4.2 and 8.4.4 or any other appropriate method.

# Figure 8.15 — Closely spaced built-up members

# Table 8.11 — Maximum spacing for interconnections in closely spaced built-up or star battened angle members

| Type of built-up member | Maximum spacing between interconnectionsa |
| --- | --- |
| Members according to Figure 8.15 connected by bolts or welds | 15 imin |
| Members according to Figure 8.16 connected by pair of battens | 70 imin |
| imin is the minimu$mlhjmpolkhioggikjftghnjdsghbfzsqzrfdm radius of gyration of one chord or one angle. |  |
| a Centre-to-centre distance of interconnections. |  |

(3) The shear forces to be transmitted by the battens should be determined in accordance with 8.4.4(1).

(4) In the case of unequal-leg angles, see Figure 8.16, buckling about the y-y axis should be verified using a radius of gyration about the y-y axis iy from Formula (8.106):

| iy=i01,15 |  |
| --- | --- |

(8.106)

where i0 is the minimum radius of gyration of the built-up member calculated with reference to the 0-0 axis (axis parallel to the longer leg of the angle section).

# Figure 8.16 — Star-battened angle members

# Serviceability limit states

## General

(1)P A steel structure shall be designed and constructed such that all relevant serviceability criteria are satisfied.

(2)P The basic requirements for serviceability limit states given in EN 1990:—), 5.4  shall be followed.

(3) Any serviceability limit states and the associated loading and analysis models should be as specified by the relevant authority or, where not specified, agreed for a specific project by the relevant parties.

(4) Where plastic global analysis is used for the ultimate limit state, the effects of plastic redistribution of forces and moments at the serviceability limit state should be considered.

## Deformations and dynamic effects for buildings

(1)B With reference to EN 1990, the limits for deformations for buildings should be as specified by the relevant authority or, where not specified, agreed for a specific project by the relevant parties.

(2)B With reference to EN 1990, the vibrations of building structures on which the public can walk should be limited to avoid significant discomfort to users, and limits should be as specified by the relevant authority or, where not specified, agreed for a specific project by the relevant parties.

NOTE B	Limits for deformation and vibration of floors can be set by the National Annex.

(3)B  Deformations and dynamic effects may be calculated considering the restraint, damping and stiffness of non-structural elements.

# Fatigue

(1)P Fatigue verification according to EN 1993-1-9 shall be carried out for structures exposed to variable actions, except in the cases given in (2) and (3).

(2) Fatigue verification may be omitted for structures subjected to static and quasi-static actions only.

NOTE 1	Such actions are for example:

a)	Imposed loads for buildings according to EN 1991-1-1;

b)	Snow action according to EN 1991-1-3;

c)	Thermal action according to EN 1991-1-5.

NOTE 2	Wind action on buildings does not normally lead to fatigue, for details see EN 1991-1-4.

(3) For members without constructional details subjected to secondary stresses, the fatigue verification may be omitted if either condition (10.1) or condition(10.2) is fulfilled:

(10.1)

(10.2)

where

| Δσd≤ΔσDγMfN | is the expected number of stress cycles during the design service life; |
| --- | --- |
| N≤5×106ΔσD/γMf Δσd3 | is the partial factor accounting for no inspections and high failure consequences: |

| Δσd | is the stress range determined according to elastic theory in N/mm2 caused by variable design loads at ultimate limit state, excluding the actions mentioned in (2): |
| --- | --- |

| and | are the maximum and the minimum stresses, respectively. |
| --- | --- |

where

is the expected number of stress cycles during the design service life;

γMf	γMf=1,35

ΔσD=26 N/mm2

Δσd=σmax-σmin

σmaxσmin

NOTE	The conditions refer to a verification for the most unfavourable detail category 36 according to EN 1993-1-9 with constant amplitude fatigue limit ΔσD under constant stress spectrum Δσd. Since the design stresses at ultimate limit state are used in contrast to the rules of EN 1993-1-9, the conditions are safe-sided unless secondary stresses occur that are generally neglected at ultimate limit state, such as stresses due to secondary bending moments in truss joints or local stresses due to wheel load. Where change of load direction occurs, the sign of the stresses σmax and σmin is relevant.

(normative)

Selection of Execution Class

Use of this Annex

(1) This normative Annex contains additional provisions to 4.1.2 for the selection of an appropriate execution class.

Scope and field of application

(1) This normative Annex covers the selection process of an appropriate execution class for steel structures executed to EN 1090-2 and EN 1090-4.

Execution Class

(1) Execution Class (EXC) is defined as a classified set of requirements specified for the execution of the works as a whole, of an individual component or of a detail of a component.

(2) In order to specify requirements for the execution of steel structures to EN 1090-2 and EN 1090-4, the execution Class, EXC1, EXC2, EXC3 or EXC4, should be specified prior to the commencement of execution. The execution requirements are progressively more demanding from EXC1 up to EXC4.

NOTE	EN 1993 is based on the assumption that it is used in conjunction with EN 1090-2 and EN 1090-4. EN 1993-1-9, EN 1993-2, EN 1993-3 give supplementary requirements to EN 1090-2 for the execution of structures or components or details subject to fatigue actions. In addition to EN 1090-2, EN 1993-5 refers to other European Standards for the execution of piling works.

(3) Execution class EXC2 should be applied unless the selection process gives another class.

Selection process

(1) The selection of the execution Class should be based on the following three factors:

—	the required reliability;

—	the type of loading for which the structure, component or detail is designed;

—	the type of structure, component or detail.

(2) In terms of reliability management, the selection of execution Class should be based on either the required consequences Class (CC) or the reliability Class (RC) or both.

NOTE 1	The concepts of reliability Class and consequences Class are defined in EN 1990.

NOTE 2	The National Annex can set whether the selection of execution classes is based on reliability classes or consequences classes or both, and can set the choice in terms of the type of the structure.

NOTE 3	Designs to EN 1993-4-1 and EN 1993-4-2 depend on the choice of consequence Class. Designs to EN 1993-3 on the choice of reliability Class.

(3) In terms of the type of loading applied to a steel structure or component or detail, the selection of execution Class should be based on whether the structure or component or detail is designed for static actions, quasi-static actions, fatigue actions or seismic actions according to EN 1998-1.

NOTE	The selection of execution Class (EXC) based on type of loading is as given in Table A.1 unless the National Annex specifies differently.

# Table A.1 — Selection of execution Class based on the type of loading (EXC)

| Reliability Class (RC) or Consequence Class (CC) | Type of loading |  |
| --- | --- | --- |
|  | Static, quasi-static or seismic DC1a | Fatigueb or seismic DC2 or DC3a |
| RC3 or CC3 | EXC3c | EXC3c |
| RC2 or CC2 | EXC2 | EXC3 |
| RC1 or CC1 | EXC1 | EXC2 |
| a Seismic ductility classes are defined in EN 1998-1: Low = DC1; Medium = DC2; High = DC3. b See EN 1993-1-9. c EXC4 may be specified for structures with extreme consequences of structural failure. |  |  |

(4) If the required execution Class for particular components and/or details is different from that applicable to the structure in general, then these components and/or details should be clearly identified.

(5) If EXC1 is selected for a structure, then EXC2 should apply to the following types of component:

a)	welded components manufactured from steel products of grade S355 and above;

b)	welded components essential for structural integrity that are assembled by welding on the construction site;

c)	welded components of CHS lattice girders requiring end profile cuts;

d)	components with hot forming during manufacturing or receiving thermic treatment during manufacturing.

NOTE	The National Annex can give different choices of execution Class for types of components or details.

Execution class and partial factors

(1) Specification of a higher execution Class for the execution of a structure or component or detail should not be used to justify the use of lower partial factors for resistance in the design of that structure or component or detail.

(normative)

Design of semi-compact sections

Scope and field of application

(1) This Annex provides additional rules for the design of semi-compact (Class 3) doubly symmetric I- or H-sections, rectangular hollow sections, doubly symmetric box sections, circular hollow sections and elliptical hollow sections against mono- and bi-axial bending and axial force.

Elasto-plastic section modulus

(1) The elasto-plastic section modulus Wep for doubly symmetric cross-sections should be determined from an interpolation between the plastic section modulus and the elastic section modulus about one principal axis of a cross-section as follows:

| Wep,y=Wpl,y-Wpl,y-Wel,y βep,y |  |
| --- | --- |
| Wep,z=Wpl,z-Wpl,z-Wel,z βep,z |  |

(B.1)

(B.2)

where the values of βep,y and βep,z depend on the material parameter ε and the width-to-thickness ratios as defined in Table 7.3. They should be taken as:

—	For I- or H- sections, rolled or welded:

| βep,y=Maxctf-10ε4ε ; ctw-83ε38ε;0 | But βep,y ≤ 1,0 | (B.3) |
| --- | --- | --- |
| βep,z=Maxctf-10ε6ε ;0 | But βep,z ≤ 1,0 | (B.4) |

—	For rectangular hollow sections or doubly symmetric welded box sections:

| βep,y=Maxctf-34ε4ε ; ctw-83ε38ε;0 | But βep,y ≤ 1,0 | (B.5) |
| --- | --- | --- |
| βep,z=Maxctw-34ε4ε;0 | But βep,z ≤ 1,0 | (B.6) |

NOTE	tf = tw = t for rectangular hollow sections.

—	For circular or elliptical hollow sections:

| βep,y=βep,z=Maxdet-70ε270ε2;0 | But βep,y = βep,z ≤ 1,0 | (B.7) |
| --- | --- | --- |

where

de	     is the equivalent diameter according to Table 7.3, sheet 3 of 3.

Resistance of cross-sections

(1) In the combined presence of bending moment and axial force, the design value of the bending moment MEd at each cross-section should satisfy criterion (B.8):

| MEdMN,ep,Rd≤1,0 |  |
| --- | --- |

(B.8)

where

MN,ep,Rd	     is the design elasto-plastic bending moment resistance reduced due to the axial force.

(2) The design reduced elasto-plastic bending moment resistance MN,ep,Rd should be taken as:

—	For doubly symmetric I- or H-sections, rolled or welded:

| MN,ep,y,Rd=Mep,y,Rd1-n |  |
| --- | --- |
| MN,ep,z,Rd=Mep,z,Rd1-n2 |  |

(B.9)

(B.10)

—	For rectangular hollow sections, doubly symmetric welded box sections, circular hollow sections or elliptical hollow sections:

| MN,ep,y,Rd=Mep,y,Rd1-n |  |
| --- | --- |
| MN,ep,z,Rd=Mep,z,Rd1-n |  |

(B.11)

(B.12)

where

| Mep,y,Rd=Wep,y fyγM0 |  |
| --- | --- |
| Mep,z,Rd=Wep,z fyγM0 |  |
| n=NEdNpl,Rd |  |

(B.13)

(B.14)

(B.15)

(3) For bi-axial bending, the following criterion should be satisfied:

(B.16)

In which  and  should be taken as:

—	For doubly symmetric I- or H-sections, rolled or welded:

but

—	For rectangular hollow sections and doubly symmetric welded box sections:

| My,EdMN,ep,y,Rdαy+Mz,EdMN,ep,z,Rdαz≤1,0 |  |  | when n ≤ 0,8 |
| --- | --- | --- | --- |
|  | when n > 0,8 |

αybut:

and αz

αy= 2;  αz=5 n	αz≥1,0

| αy=αz=1,661-1,13n2 |  |
| --- | --- |
| αy=αz=6,0 |  |

αy=αz≤2+41-Maxβep,y; βep,z4

αyαz may conservatively be taken as 1,0.

—	For circular hollow sections:

αy = 2; αz = 2

—	For elliptical hollow sections:

αy = 2; αz = 1,7

Buckling resistance of members

(1) The stability of members in bending or bending and axial force should be verified using the rules of 8.3.2 or 8.3.3, respectively. Thereby, the elasto-plastic section modulus Wep as well as the interaction factors kyy, kyz, kzz and kzy from 8.3.3 for plastic design may be used.

(normative)

Additional rules for uniform members with mono-symmetric cross-sections and for members in bending, axial compression and torsion

Additional rules for uniform members with mono-symmetric cross-section

(1) This Clause gives additional rules for the application of the criteria (8.88) and(8.89) in 8.3.3 to the design against buckling of members with mono-symmetric I-, H- and welded box sections, which have flanges of different size and are symmetric about the z-z axis.

(2) This section applies to members in bending and axial compression with Class 1, 2, 3 and 4 cross-sections.

(3) The elastic critical moment Mcr, the relative slenderness λLT for lateral torsional buckling and the corresponding reduction factor χLT relate to the compression flange due to bending about y-y axis, which can be either the smaller or the larger flange, see Figure C.1. In members with bending moment diagrams of changing sign along the member length, two separate sets of values of Mcr, λLT and χLT should be determined for each maximum absolute value of the bending moment My,Ed along the member. In this case, Mcr may be determined by multiplying the respective value of My,Ed,i with the critical load amplifier αcr for lateral torsional buckling in the member.

| a) Compression in the smaller flange | b) Compression in the larger flange | c) moment diagrams with changing sign |
| --- | --- | --- |

# Figure C.1 — Direction of bending with respect to the section shape in mono-symmetric sections

(4) For elastic resistance, the characteristic moment resistance My,Rk should be determined for the compression flange.

(5) Irrespective of the susceptibility to lateral torsional buckling of the member, criterion (8.88) in 8.3.3 should be applied using the modified factor kyy defined in Table C.1.

# Table C.1 — Modified interaction factors kyy in criterion (8.88) for mono-symmetric sections

| Plastic cross-sectional properties Class 1, Class 2 |  | Elastic cross-sectional properties Class 3, Class 4 |  |
| --- | --- | --- | --- |
| For λy<1,0: | kyy=Cmy1+2λy-0,2 ny | For λy<1,0: | kyy=Cmy1+ λy ny |
| For λy≥1,0: | kyy=Cmy1+1,6ny | For λy≥1,0: | kyy=Cmy1+ny |

(6) In cases with bending moment diagrams for My,Ed of changing sign along the member length, see Figure C.1 c), the criteria (8.88) and (8.89) should be evaluated for both maximum absolute values of My,Ed. The equivalent moment factors Cmy and CmLT of Table 8.9 should be calculated by setting negative values of ψ, αh resp. αs to 0,0 and disregarding the portion of opposite sign of the moment diagram. Alternatively, Cmy and CmLT may conservatively be set equal to 1,0.

(7) For members which are not susceptible to lateral torsional buckling, χLT should be set equal to 1,0 in  the criteria (8.88) and (8.89). The factor χTF for torsional-flexural buckling should be used instead of χz in criterion (8.89) if the moment of inertia Iz,fl about z-z of both flanges differs by more than 50%. Iz,fl should be calculated by considering the flanges as isolated plates or sections.

(8) For members which are susceptible to lateral torsional buckling, the buckling factor χz should be replaced by χTF for torsional-flexural buckling in criterion (8.89) when the bending moment My,Ed causes compression in the smaller flange. The factor χz for flexural buckling about z-z axis should be used in criterion (8.89) when the bending moment My,Ed causes compression in the larger flange. In this case, the resistance to torsional-flexural buckling should be verified by an additional condition, using χTF in criterion (8.89) and omitting the term with My,Ed.

Additional rules for uniform members in bending, axial compression and torsion

(1) This Clause should be used to check the buckling resistance of a simply supported, uniform I-section member in bending, axial compression and torsion, with equal flanges or with unequal flanges provided that the ratio of the moments of inertia about z-z axis of the flanges is higher or equal to 0,2 and smaller or equal to 5,0. It is intended to be used in combination with the rules in 8.3 and C.1.

(2) Members with Class 1, 2 and 3 cross-sections and a ratio of the maximum bimoment along the member BEd/BRk smaller or equal to 0,3 are covered by the rules given in C.2, where BEd and BRk are defined in (3).

(3) Unless second order analysis is carried out using imperfections, the stability of uniform members with Class 1, 2 and 3 cross-sections that are subjected to combined axial compression, bending and torsion should be checked according to the criteria (C.1) and (C.2):

(C.1)

(C.2)

where

| NEd, My,Ed, Mz,EdNEdχy NRkγM1 + kyy My,EdχLTMy,RkγM1 + kyz Mz,EdMz,RkγM1+ kwkzwkαBEdBRkγM1 ≤ 1,0 |  |  | are the design values of the compression axial force and the maximum moments about the y-y and z-z axis along the member, respectively; |
| --- | --- | --- | --- |
| NRk, My,Rk, Mz,RkNEdχz NRkγM1 + kzy My,EdχLTMy,RkγM1 + kzz Mz,EdMz,RkγM1 + kwkzwkαBEdBRkγM1≤ 1,0 |  |  | are the characteristic values of the cross-sectional resistance to compression axial force and bending moment about its y-y and z-z axis respectively; |
| BEd | is the maximum design value of the bimoment along the member; |
| BRk | is the characteristic value of the bimoment resistance; |
| χy and χz | are the flexural buckling reduction factors according to 8.3.1. The reduction factor χz should be replaced by χTF taken from 8.3.1.4 whenever torsional-flexural buckling is relevant; |
| χLT | is the reduction factor for lateral torsional buckling according to 8.3.2; |
| kyy, kyz, kzy and kzz | are the interaction factors according to 8.3.3. For mono-symmetric I-sections, the additional rules of C.1 should be applied; |

(C.3)

(C.4)

where

NEd, My,Ed, Mz,Ed	are the design values of the compression axial force and the maximum moments about the y-y and z-z axis along the member, respectively;

NRk, My,Rk, Mz,Rk	are the characteristic values of the cross-sectional resistance to compression axial force and bending moment about its y-y and z-z axis respectively;

is the maximum design value of the bimoment along the member;

is the characteristic value of the bimoment resistance;

are the flexural buckling reduction factors according to 8.3.1. The reduction factor χz should be replaced by χTF taken from 8.3.1.4 whenever torsional-flexural buckling is relevant;

is the reduction factor for lateral torsional buckling according to 8.3.2;

are the interaction factors according to 8.3.3. For mono-symmetric I-sections, the additional rules of C.1 should be applied;

| kw=0,7-0,2 BEdBRkγM1 |  |  |
| --- | --- | --- |
| kzw=1,0-Mz,EdMz,RkγM1 |  |  |
| kα=11-My,EdMcr | but kα≤2,0 |  | (C.5) |

Mcr	     is the elastic critical moment about the y-y-axis.

(4) For Class 3 cross-sections with unequal flanges, the characteristic moment resistance Mz,Rk and the bimoment resistance BRk should be determined for the smaller flange.

(5) In cases with bending moment diagrams for My,Ed and Mz,Ed of changing sign along the member length, see Figure C.1 c), the criteria (C.1) and (C.2) should be calculated for both maximum absolute values of My,Ed and Mz,Ed. The equivalent moment factors Cm may be determined using the formulae in Table 8.9.

(6) The additional term for warping moments may be disregarded for the interaction criteria (C1) and (C2) if the following condition (C.6) is fulfilled:

(C.6)

| kαBEdBRk/γM1≤0,07 |  |  |
| --- | --- | --- |
| Or conservatively, | BEdBRk/γM1≤0,035 |  | (C.7) |

(7) In addition, the resistance of the cross-section of the member should satisfy the requirements given in 8.2.

NOTE	As simplification, the linear plastic interaction expressed in criterion (C.8) can be used for members with Class 1 and 2 cross-sections:

| NEdNRd+My,EdMy,Rd+Mz,EdMz,Rd+BEdBRd≤1,0 |  |
| --- | --- |

(C.8)

where

| BRd=WB,pl fy γM0 |  |
| --- | --- |

(C.9)

WB,pl	     is the plastic section modulus for the plastic resistance to bimoment, see 8.2.7(7).

(8) For cross-sections of class 3, Annex B may be considered.

(normative)

Continuous restraint of beams in buildings

Scope and field of application

(1)B This Annex provides conditions on stiffness of restraint devices of beams in buildings. Two cases are considered: continuous lateral restraint by diaphragm effect (see D.2) or continuous torsional restraint (see D.3).

Continuous lateral restraints

(1)B In buildings, if trapezoidal sheeting according to EN 1993-1-3 is connected to a beam and the condition expressed by condition (D.1) is met, the beam at the connection may be regarded as being laterally restrained in the plane of the sheeting.

(D.1)

where

| Sv≥EIwπ2L2+GIT+EIzπ2L20,25h270h2Sv |  |  | is the shear stiffness (per unit of beam length) provided by the sheeting to the beam, regarding its deformation in the plane of the sheeting to be connected to the beam at the bottom at each rib; |
| --- | --- | --- | --- |
| Iw | is the warping constant; |
| IT | is the torsion constant; |
| Iz | is the moment of inertia of the cross-section about the minor axis of the cross-section; |
| L | is the beam length; |
| h | is the depth of the beam. |

where

is the shear stiffness (per unit of beam length) provided by the sheeting to the beam, regarding its deformation in the plane of the sheeting to be connected to the beam at the bottom at each rib;

is the warping constant;

is the torsion constant;

is the moment of inertia of the cross-section about the minor axis of the cross-section;

is the beam length;

is the depth of the beam.

If the sheeting is connected to a beam at every second rib only, Sv should be substituted by 0,20 Sv.

(2)B Condition (D.1) may also be used to determine the lateral stability of beam flanges used in combination with other types of cladding than trapezoidal sheeting, provided that the connections are of suitable design.

Continuous torsional restraints

(1)B A beam may be considered as sufficiently restrained from torsional deformations if condition (D.2) is satisfied:

(D.2)

where

| CD>Mpl,Rk2EIzKθKvCD |  |  | rotational stiffness (per unit of beam length) provided to the beam by the stabilizing continuum (e.g. roof structure) and the connections; |
| --- | --- | --- | --- |
| Kv | = 0,35 for elastic resistance of the cross-section; |
| Kv | = 1,00 for plastic resistance of the cross-section; |
| Kθ | factor for considering the moment distribution, depending on the type of restraint, the type of section and the ratio of the height h to the width b of the cross-section, according to Table D.1; |
| Mpl,Rk | characteristic value of the plastic moment resistance of the beam. |

Table D.1where

rotational stiffness (per unit of beam length) provided to the beam by the stabilizing continuum (e.g. roof structure) and the connections;

= 0,35 for elastic resistance of the cross-section;

= 1,00 for plastic resistance of the cross-section;

factor for considering the moment distribution, depending on the type of restraint, the type of section and the ratio of the height h to the width b of the cross-section, according to Table D.1;

characteristic value of the plastic moment resistance of the beam.

# — Factor Kθ for considering the moment distribution and the type of restraint

| Case | Moment distribution | Type of section | Without lateral restraint |  | With lateral restraint |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | h/b ≤ 2,0 | h/b > 2,0 | h/b ≤ 2,0 | h/b > 2,0 |
| 1 |  | Rolled | 11,0 | 21,4 | 0 | 0 |
|  |  | Welded | 36,0 | 60,5 | 0 | 0 |
| 2 |  | Rolled | 8,8 | 15,5 | 0,073 | 0,16 |
|  |  | Welded | 29,9 | 51,7 | 0,23 | 0,63 |
| 3 |  | Rolled | 8,0 | 17,4 | 0,085 | 0,19 |
|  |  | Welded | 27,8 | 48,6 | 0,28 | 0,74 |
| 4 |  | Rolled | 3,2 | 7,7 | 0 | 0 |
|  |  | Welded | 9,7 | 19,3 | 0 | 0 |
| 5 |  | Rolled | 0,73 | 1,4 | 0,60 | 0,75 |
|  |  | Welded | 1,5 | 2,7 | 1,0 | 1,8 |
| 6 |  | Rolled | 0,44 | 0,77 | 0,35 | 0,49 |
|  |  | Welded | 0,87 | 1,5 | 0,56 | 0,99 |

(2)B The rotational stiffness provided by the stabilizing continuum to the beam may be determined from:

(D.3)

where

| CD,C1CD=1CD,C+1CD,B+1CD,A |  |  | rotational stiffness (per unit of the beam length) provided by the stabilizing continuum to the beam assuming a stiff connection to the member; |
| --- | --- | --- | --- |
| CD,B | rotational stiffness (per unit of the beam length) deduced from an analysis of the distortional deformations of the beam cross-sections, where the flange in compression is the free one; where the compression flange is the connected one or where distortional deformations of the cross-sections may be neglected (e.g. for usual rolled profiles) CD,B = ∞; |
| CD,A | rotational stiffness (per unit of the beam length) of the connection between the beam and the stabilizing continuum. |

where

CD,C	rotational stiffness (per unit of the beam length) provided by the stabilizing continuum to the beam assuming a stiff connection to the member;

rotational stiffness (per unit of the beam length) deduced from an analysis of the distortional deformations of the beam cross-sections, where the flange in compression is the free one; where the compression flange is the connected one or where distortional deformations of the cross-sections may be neglected (e.g. for usual rolled profiles) CD,B = ∞;

NOTE B	For more information on the determination of the rotational stiffness, see EN 1993-1-3.

(informative)

Basis for the calibration of partial factors

Use of this informative annex

(1) This Annex provides additional information to that given in 8.1 on the basis for the calibration of the partial factors γMi for buildings. The information in this Annex is not meant for direct use in design.

NOTE National choice on the application of this Informative Annex is given in the National Annex. If the National Annex contains no information, this annex does not apply.

Scope and field of application

(1) This Informative Annex provides statistical data of material properties and dimensional parameters as used for the calibration of the partial factors γMi for buildings.

Calibration

(1) The values of the partial factors for buildings in 8.1 are calibrated considering a reliability index taken equal to 3,8, for a reference period of 50 years for variable actions and material properties and a resistance-side weighting factor of αR=0,8.

(2) The design values of resistances Rd in EN 1993-1-1 are defined as the ratio between the nominal resistance and the partial factor γMi. The nominal resistance is evaluated by using nominal values for all basic variables, see Formula E.1.

| Rd=RkγMi=RXnγMi |  |
| --- | --- |

(E.1)

(3) EN 1990:—), Annex D – “Design assisted by testing” is applied for the calibration of the partial factors γMi for buildings. The assumed scatter bands (mean values, coefficients of variation) for material properties and dimensional parameters are given in Table E.1 and Table E.2 respectively. For dimensional parameters not specifically mentioned in Table E.2, it is assumed that the mean values are equal to the nominal values and the standard deviations are equal to half of the interval between the nominal value and the lower bound of the applicable tolerance interval in EN 1090-2 or other relevant product standards.

(4) Scatter bands of parameter values X from production may generally be assumed to be in line with the assumptions made for the calibration of γMi values for buildings, if the characteristic value Xk and the design value Xd determined from the production statistics both match or exceed the corresponding reference values X5% and X0,12% in Table E.1 and Table E.2. The values Xk and Xd for the production statistics may be determined by the procedures given in EN 1990:—5), Annex D. They refer to non-exceedance probabilities of 5 % and 0,12 % respectively.

NOTE	The values in Table E.1 and Table E.2 represent the materials and products currently available on the European market satisfying the relevant European product standards.

# Table E.1 — Assumed variability of material properties

| Parameter | Steel grade | Mean value | Coefficient of variation | Upper reference value | Lower reference value |
| --- | --- | --- | --- | --- | --- |
|  |  | Xm |  | X5% | X0,12% |
| Yield strength, fy | S235, S275 | 1,25 ReH,mina | 5,5 % | 1,14 ReH,mina | 1,06 ReH,mina |
|  | S355, S420 | 1,20 ReH,ma | 5,0 % | 1,11 ReH,mina | 1,03 ReH,mina |
|  | S460 | 1,15 ReH,mina | 4,5 % | 1,07 ReH,mina | 1,00 ReH,mina |
|  | Above S460 | 1,10 ReH,mina | 3,5 % | 1,04 ReH,mina | 1,00 ReH,mina |
| Ultimate tensile strength, fu | S235, S275 | 1,20 Rm,mina | 5,0 % | 1,11 Rm,mina | 1,03 Rm,mina |
|  | S355, S420 | 1,15 Rm,mina | 4,0 % | 1,08 Rm,mina | 1,02 Rm,mina |
|  | S460 and above | 1,10 Rm,mina | 3,5 % | 1,04 Rm,mina | 1,00 Rm,mina |
| Modulus of elasticity, E | All steel grades | 210 000 N/mm2 | 3,0 % | 200 000 N/mm2 | 192 000 N/mm2 |
| a ReH,min and Rm,min are the minimum yield strength ReH and the lower bound of the ultimate tensile strength Rm, according to the applicable product standard, e.g. of the EN 10025 series. |  |  |  |  |  |

# Table E.2 — Assumed variability of dimensional parameters

| Dimension type | Parameter | Mean value | Coefficient of variation | Upper reference value | Lower reference value |
| --- | --- | --- | --- | --- | --- |
|  |  | Xm |  | X5% | X0,12% |
| Outer dimensions of cross-section | Depth h | 1,0 hnoma | 0,9 % | 0,98 hnoma | 0,97 hnoma |
|  | Width b | 1,0 bnoma | 0,9 % | 0,98 bnoma | 0,97 bnoma |
|  | Outer diameter d of circular hollow section | 1,0 dnoma | 0,5 % | 0,99 dnoma | 0,98 dnoma |
| Thickness | Rolled and welded I- and H-sections: flange thickness tf | 0,98 tf,noma | 2,5 % | 0,95 tf,noma | 0,91 tf,noma |
|  | Rolled and welded I- and H-sections: web thickness tw | 1,0 tw,noma | 2,5 % | 0,96 tw,noma | 0,93 tw,noma |
|  | Hot rolled (seamless) or welded structural hollow sections (acc. to EN 10210): wall thickness t | 0,99 tnoma | 2,5 % | 0,95 tnoma | 0,92 tnoma |
|  | Cold-formed sections made from coils or plates (acc. to EN 10219): wall thickness t | 0,99 tnoma | 2,5 % | 0,95 tnoma | 0,92 tnoma |
|  | All other welded sections made from heavy plates: thickness t | 0,99 tnoma | 2,5 % | 0,95 tnoma | 0,92 tnoma |
| a Nominal dimensions according to the applicable product standard or specification. |  |  |  |  |  |

Bibliography

References contained in recommendations (i.e. through “should” clauses)

The following documents are referred to in the text in such a way that some or all of their content, although not requirements strictly to be followed, constitutes highly recommended choices or course of action of this document. Subject to national regulation and/or any relevant contractual provisions, alternative standards could be used/adopted where technically justified. For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments) applies.

EN 1993 (all parts), Design of Steel Structures

EN 1998 (all parts), Eurocode 8 — Design of structures for earthquake resistance

EN 10025 (all parts), Hot rolled products of structural steels

EN 10149 (all parts), Hot rolled flat products made of high yield strength steels for cold forming

EN 10164, Steel products with improved deformation properties perpendicular to the surface of the product - Technical delivery conditions

EN 10210-1, Hot finished structural hollow sections of non-alloy and fine grain steels - Part 1: Technical delivery conditions

EN 10210-2, Hot finished steel structural hollow sections - Part 2: Tolerances, dimensions and sectional properties

EN 10219-1, Cold formed welded structural hollow sections of non-alloy and fine grain steels - Part 1: Technical delivery conditions

EN 10219-2, Cold formed welded steel structural hollow sections - Part 2: Tolerances, dimensions and sectional properties

References contained in permissions (i.e. through “may” clauses)

The following documents are referred to in the text in such a way that some or all of their content, although not requirements strictly to be followed, expresses a course of action permissible within the limits of the Eurocodes.  For dated references, only the edition cited applies. For undated references, the latest edition of the referenced document (including any amendments) applies.

EN 10365, Hot rolled steel channels, I and H sections - Dimensions and masses

Other references

The following documents are those not included in the above categories but are cited informatively in the document, for example in notes.

EN ISO 1461, Hot dip galvanized coatings on fabricated iron and steel articles - Specifications and test methods (ISO 1461)

EN ISO 12944 (all parts), Paints and varnishes — Corrosion protection of steel structures by protective paint systems

CEN/TS 1993-1-101), Eurocode 3 — Design of steel structures — Part 1-101: Alternative interaction method for members in bending and compression

CEN/TR 1993-1-1036), Eurocode 3 — Design of steel structures — Part 1-103: Elastic critical buckling of members

) Under preparation. Current stage: prEN 1990:2020.

) Under preparation. Current stage: prEN 1990:2020.

) Under preparation. Current stage: prEN 1990:2020.

) Under preparation. Current stage: prEN 1990:2020.

) Under preparation. Current stage: prEN 1990:2020.

) Under preparation.