NATIONAL ANNEX

TO

CYS EN 1991-1-4:2005 Including AC:2010 A1:2010 Eurocode 1: Actions on structures

Part 1-4: General Actions – Wind actions

INTRODUCTION

This National Annex has been prepared by the CYS/TC18 Committee of the Cyprus Organization of Standardisation. (CYS)

# SCOPE

This National Annex is to be used together with CYS EN 1991-1-4:2005 including AC:2010 and A1:2010. Any reference in the rest of this text to CYS EN 1991-1-4:2005 means the above document.

This National Annex gives:

Nationally determined parameters for the following clauses of CYS EN 1991-1-4:2005 including AC:2010 and A1:2010 where National choice is allowed (see Section NA 2)

1.5 (2)

4.1 (1)

4.2 (1)P Note 2

4.2 (2)P Notes 1, 2, 3 and 5

4.3.1 (1) Notes 1 and 2

4.3.2 (1)

4.3.2 (2)

4.3.3 (1)

4.3.4 (1)

4.3.5 (1)

4.4 (1) Note 2

4.5 (1) Notes 1 and 2

5.3 (5)

6.1 (1)

6.3.1 (1) Note 3

6.3.2 (1)

7.1.2 (2)

7.1.3 (1)

7.2.1 (1) Note 2

7.2.2 (1)

7.2.2 (2) Note 1

7.2.3 (2)

7.2.3 (4)

7.2.4 (1)

7.2.4 (3)

7.2.5 (1)

7.2.5 (3)

7.2.6 (1)

7.2.6 (3)

7.2.7

7.2.8 (1)

7.2.9 (2)

7.2.10 (3) Notes 1 and 2

7.3 (6)

7.4.1 (1)

7.4.3 (2)

7.6 (1) Note 1

7.7 (1) Note 1

7.8 (1)

7.9.2 (2)

7.10 (1) Note 1

7.11 (1) Note 2

7.13 (1)

7.13 (2)

Table 7.14

8.1 (1) Notes 1 and 2

8.1 (4)

8.1 (5)

8.2 (1) Note 1

8.3 (1)

8.3.1 (2)

8.3.2 (1)

8.3.3 (1) Note 1

8.3.4 (1)

8.4.2 (1) Note 1

A.2 (1)

E.1.3.3 (1)

E.1.5.1 (1) Notes 1 and 2

E.1.5.1 (3)

E.1.5.2.6 (1) Note 1

E.1.5.3 (2) Note 1

E.1.5.3 (4)

E.1.5.3 (6)

E.3 (2)

Decisions on the use of the Informative Annexes A, B, C, D, E and F (see Section NA 3)

References to non-contradictory complementary information to assist the user to apply CYS EN 1991-1-4:2005 (see Section NA 4).

# NATIONALLY DETERMINED PARAMETERS

## Clause 1.5 (2) Design Assisted by testing and measurements

No guidance is given on design assisted by testing and measurements.

## Clause 4.1 Basis for calculation

This information is provided as non contradictory complementary information (see NA 4).

## Clause 4.2 Basic values

(1)P	Note 2 The isotach contours for the fundamental value of the basic wind velocity vb,0 are given in Figure 1

(2)P	Note 1 No correction for the altitude is needed

Note 2 The value of the directional factor, cdir, is specified equal to 1.0

Note 3 The value of the season factor, cseason, is specified equal to 1.0

Note 5 The value defined for K is 0.2 and that for n is 0,5

Figure 1: Isotach contours of the fundamental value of the basic wind velocity vb,0

## Clause 4.3.1 (1) – Mean wind – Variation with height

Note 1	The orography factor, co(z), is taken as 1,0 unless otherwise specified in 4.3.3

Note 2	Design charts or tables for vm(z) are not provided

## Clause 4.3.2(2) – Mean wind – Terrain roughness

(1)	The roughness factor, cr(z), is determined by equation (4.4) of CYS EN 1991-1-4

(2)	The value of the angular sector is defined as the 30º angular sector within ±15º from the wind direction. The upstream distance is obtained from Annex A.2

## Clause 4.3.3 (1) – Mean wind – Terrain orography

The orography factor, co, is determined using the procedure of Annex A.3

## Clause 4.3.4 (1) – Mean wind – Large and considerably higher neighbouring structures

The effect of large and considerably higher neighbouring structures on the wind speed may be taken into account using the procedure of Annex A.4

## Clause 4.3.5 (1) – Mean wind – Closely spaced buildings and obstacles

The effect of closely spaced buildings and other obstacles on the wind speed may be taken into account using the procedure of Annex A.5.

## Clause 4.4 (1) –Wind turbulence

The value of the turbulence factor kI is specified as 1,0

## Clause 4.5 (1) –Peak velocity pressure

Note 1	: The peak velocity pressure qp(z) at height z, is determined using the equation 4.8 of CYS EN 1991-1-4:2005

Note 2	: The air density, ρ, is specified as 1,25 kg/m3

## Clause 5.3 (5) – Wind forces

The lack of correlation of wind pressures between windward and leeward sides is considered only for walls (see 7.2.2 (3))

## Clause 6.1 (1) – Structural factor cscd - General

The structural factor cscd should be separated for cases that the conditions of paragraph 6.3.1(2) of CYS EN 1991-1-4are not satisfied, for buildings outside the scope of the code and for components of structures.

## Clause 6.3.1 (1) – Detailed procedure - Structural factor cscd

Either of the procedures described in Annexes B or C may be used for the determination of kp, B and R.

## Clause 6.3.2 (1) – Detailed procedure – Serviceability assessments

Either of the procedures described in Annexes B or C may be used for the determination of the along-wind displacement and the standard deviation of the along-wind acceleration.

## Clause 7.1.2 (2) – Pressure and force coefficients – General – Asymmetric and counteracting pressures and forces

For structures other than free-standing canopies and signboards the procedures a and b described in paragraph 7.1.2(2) shall be used.

## Clause 7.1.3 (1) – Pressure and force coefficients – General – Effects of ice and snow

No further information is provided.

## Clause 7.2.1 (1) – Pressure coefficients for buildings – General

Note 2: The external pressure coefficient cpe, shall be calculated from the Fig. 7.2 of CYS EN 1991-1-4for loaded areas up to 10 m2

## Clause 7.2.2 – Pressure coefficients for buildings – Vertical walls of rectangular plan buildings

(1)	In the determination of the velocity pressure distribution for leeward wall and sidewalls, the reference height is taken as the height of the building.

(2)	The values for cpe,1 and cpe,10 are given in Table 7.1 of CYS EN 1991-1-4

## Clause 7.2.3 – Pressure coefficients for buildings – Flat Roofs

(2)	The roof zones are given by the Fig. 7.6 of CYS EN 1991-1-4

(4)	The values of pressure coefficients for each zone are given in the Table 7.2 of CYS EN 1991-1-4

## Clause 7.2.4 – Pressure coefficients for buildings – Monopitch roofs

(1)	The roof zones are given in the Fig. 7.7 of CYS EN 1991-1-4.

(3)	The values of pressure coefficients for each zone are given in the Tables 7.3a and 7.3b of CYS EN 1991-1-4:2005.

## Clause 7.2.5 – Pressure coefficients for buildings – Duopitch roofs

(1)	The roof zones are given in Fig. 7.8 of CYS EN 1991-1-4:2005.

(3)	The values of pressure coefficients for each zone are given in the Tables 7.4a and 7.4b of CYS EN 1991-1-4:2005.

## Clause 7.2.6 – Pressure coefficients for buildings – Hipped roofs

(1)	The roof zones are given in the Fig. 7.9 of CYS EN 1991-1-4.

(3)	The values of pressure coefficients for each zone are given in the Table 7.5 of CYS EN 1991-1-4.

## Clause 7.2.7 –Multispan roofs

No additional Information is provided.

## Clause 7.2.8(1) – Pressure coefficients for buildings – Vaulted roofs and domes

The values for cpe,10 are given in Tables 7.11 and 7.12 of CYS EN 1991-1-4The reference height should be taken as h + f

## Clause 7.2.9(2) – Pressure coefficients for buildings – Internal pressure

No additional information is provided.

## Clause 7.2.10(3) – Pressure coefficients for buildings – Pressure on walls or roofs with more than one skin

Note 1	: The wind pressure on the most rigid skin should be taken as the difference between the internal and the external pressures

Note 2:	For the cases where the extremities of the layer between the skins are air tight (Figure 7.14(a)) and where the free distance between the skins is less than 100 mm, the rules of NOTE 2 of Clause 7.2.10(3) shall be applied.

## Clause 7.3 (6) Canopy roofs

The location shall be taken from Figure 7.16 of CYS EN 1991-1-4:2005.

## Clause 7.4.1(1) – Free-standing walls, parapets, fences and signboards – Free-standing walls and parapets

The values of the pressure coefficients cp,net for free-standing walls and parapets are given in Table 7.9 of CYS EN 1991-1-4

## Clause 7.4.3(2) – Free-standing walls, parapets, fences and signboards – Signboards

The value of the horizontal eccentricity e is specified as equal to ± 0,25b

## Clause 7.6(1) – Structural elements with rectangular sections

The values of the reduction factor for square sections with rounded corners, ψr, are specified in Figure 7.24 of CYS EN 1991-1-4:2005

## Clause 7.7(1) – Structural elements with sharp edged section

The value of cf,0 is specified as equal to 2,0 for all elements without free-end flow.

## Clause 7.8(1) – Structural elements with regular polygonal section

The value of force coefficient cf,0 is specified in Table 7.11 of CYS EN 1991-1-4

## Clause 7.9.2(2) – Cylindrical cylinders – Force coefficients

No additional information is provided.

## Clause 7.10(1) – Spheres

The values of cf,x are specified in Figure 7.30 of CYS EN 1991-1-4

## Clause 7.11(1) – Lattice structures and scaffoldings

The reduction factor for scaffolding without air tightness devices and affected by solid building obstruction are specified in EN 12811.

## Clause 7.13 – Effective slenderness λ and end-effect factor ψλ

(1)	No values for the force coefficients are specified that take into account the effect of turbulence.

(2)	The values for λ and ψλ are specified in Table 7.16 and Figure 7.36 of CYS EN 1991-1-4, respectively.

## Clause 8.1 – Wind actions on bridges - General

(1)	Note 1	Wind actions for other types of bridges are not specified.

Note 2	The angle of the wind direction to the deck axis in the vertical and horizontal planes is not specified

(4)	The value of v*b,0 is specified equal to 23 m/s

(5)	The value of v**b,0 is specified equal to 25 m/s

## Clause 8.2(1) – Wind actions on bridges – Choice of the response calculation procedure

No criteria or procedures are specified.

## Clause 8.3(1) – Wind actions on bridges – Force coefficients

The force coefficients for parapets and gantries on bridges are specified in clause 7.4 of CYS EN 1991-1-4:2005.

## Clause 8.3.1(2) – Wind actions on bridges – Force coefficients – Force coefficients in x-direction (general method)

No further specification is made

## Clause 8.3.2(1) – Wind actions on bridges – Force coefficients – Force in x-direction simplified method

The C-values are defined in Table 8.2 of CYS EN 1991-1-4:2005

## Clause 8.3.3(1) – Wind actions on bridges – Force coefficients – Wind forces on bridge decks in z-direction

The force coefficient cf,z  is specified as equal to ±0,9

## Clause 8.3.4(1) – Wind actions on bridges – Force coefficients – Wind forces on bridge decks in y-direction

The wind forces in y-direction should be taken as 25% of the wind forces in the x-direction for plated bridges and 50% of the wind forces in the x-direction for truss bridges.

## Clause 8.4.2(1) – Wind actions on bridges – Bridge piers – Wind effects on piers

No simplified rules are specified. For asymmetric loading the procedure of CYS EN 1991-1-4:2005 to be used.

## Clause A.2(1) – Terrain effects – Transition between roughness categories 0, I, II, III and IV

## In calculating qp and cscd the transition between different roughness categories should follow procedure 1 of A.2 of CYS EN 1991-1-4:2005

## Clause E.1.3.3 (1) -Vortex shedding and aeroelastic instabilities-Basic parameters for vortex shedding-Scruton Sc

# The air density ρ is specified as 1,25 kg/m3

## Clause E.1.5.1 – Vortex shedding and aeroelastic instabilities – Calculation of the cross-wind amplitude – General

(1)	Note 1: Both of the approaches specified in E.1.5.2 and E.1.5.3 may be used of the calculation of the vortex excited cross-wind amplitudes. The selection of the appropriate procedure shall be based on the recommendations and explanations given in E.1.5.1 (2) and (3).

Note 2:  No additional information is provided

(3)	No additional information is provided

## Clause E.1.5.2.6(1) – Vortex shedding and aeroelastic instabilities – Calculation of the cross-wind amplitude – Approach 1 – No of load cycles

The minimum value of the number of cycles N that shall be considered is 104

## Clause E.1.5.3 – Vortex shedding and aeroelastic instabilities – Calculation of the cross-wind amplitude – Approach 2

(2)	The air density ρ is specified as 1,25 kg/m3

(4)	No additional information is provided

(6)	The peak factor kp shall be calculated using equation E.17 of CYS EN 1991-1-4:2005

## Clause E.3(2) – Vortex shedding and aeroelastic instabilities – Interface galloping of two or more free standing cylinders

No additional guidance is provided

# DECISION ON USE OF THE INFORMATIVE ANNEXES A, B, C, D AND E

## Annex A

Annex A may be used

## Annex B

Annex B may be used

## Annex C

Annex C may be used

## Annex D

Annex D may be used

## Annex E

Annex E may be used

## Annex F

Annex F may be used

# REFERENCES TO NON-CONTRADICTORY COMPLEMENTARY INFORMATION

None