NATIONAL ANNEX

TO

CYS EN 1993 -1-5:2023

Eurocode 3: Design of steel structures

Part 1-5: Plated structural elements

PUBLIC ENQUIRY STAGE

17 February 2026

Prepared by: CYS TC 18 EUROCODES

Cyprus Organisation for Standardisation (CYS)

INTRODUCTION

This National Annex has been prepared by the CYS TC 18: Eurocodes National Standardisation Technical Committee of Cyprus Organisation for Standardisation. (CYS)

# SCOPE

This National Annex is to be used together with CYS EN 1993-1-5:2023

This National Annex gives:

Nationally determined parameters for the following clauses of CYS EN 1993-1-5:2023 where National choice is allowed (see Section NA 2)

4.6(2)

6.4.1(10)

7.1(2)

Decisions on the use of Informative Annexes A and B (see Section NA 3)

References to non-contradictory complementary information to assist the user to apply CYS EN 1993-1-5:2023. In this National Annex such information is provided for the following clauses in CYS EN 1993-1-5:2023 (see Section NA 4)

# NATIONALLY DETERMINED PARAMETERS

## Clause 4.6 (2) Design assisted by finite element analysis

The value of the maximum acceptable plastic strain is εmpp = 5 %.

## Clause 6.4.1 (10) Plate buckling behaviour

No additional situations identified as non-restrained are specified.

## Clause 7.1 (2) Resistance to shear - General

The value of η is 1,20 for steel grades up to S460 and 1,00 for steel grades higher than S460.

# DECISION ON THE USE OF THE INFORMATIVE ANNEXES A AND B

## ANNEX A

Annex A may be used.

## ANNEX B

Annex B may be used.

# REFERENCES TO NON-CONTRADICTORY COMPLEMENTARY INFORMATION

None